## Experiment
Right VL53L0X
Curve definition | Minimum / mean / maximum of separate accepted capture means
schema | 2
created_utc | 2026-10-11T14:48:02.531804+00:00
sensor | laser
sensor_description | Right VL53L0X
simulated | FALSE
collection_mode | open_ended
repeats | 3
samples_per_capture | 10
period_ms | 500
settle_ms | 500
distance_origin | sensor_face
adc_reference_v | 5
adc_reference_source | nominal
firmware_config | {"US_SCALE": "1.015350", "US_OFFSET_CM": "0.709100", "US_TIMEOUT_US": "30000", "US_CALIBRATION_RANGE_CM": "15:150", "IR_PIN": "A6", "IR_MODEL": "GP2Y0A21YK0F", "ADC_REFERENCE": "AVCC", "LASER_PROFILE": "long_range_33ms_single_shot", "DISTANCE_ORIGIN": "sensor_face"}
firmware_version | 1.2.0
setup_notes

## Samples
point_index | target_cm | actual_cm | repeat | capture_id | included | decision | superseded_point | sequence | timestamp_ms | raw | valid | status | device_status | raw_cm | calibrated_cm | voltage
1 | 170 | 170 | 1 | 1 | TRUE | accepted | FALSE | 0 | 58801 | 1742 | TRUE | OK | 11 | 174.2 | 174.2
1 | 170 | 170 | 1 | 1 | TRUE | accepted | FALSE | 1 | 59301 | 1758 | TRUE | OK | 11 | 175.8 | 175.8
1 | 170 | 170 | 1 | 1 | TRUE | accepted | FALSE | 2 | 59801 | 1758 | TRUE | OK | 11 | 175.8 | 175.8
1 | 170 | 170 | 1 | 1 | TRUE | accepted | FALSE | 3 | 60301 | 1753 | TRUE | OK | 11 | 175.3 | 175.3
1 | 170 | 170 | 1 | 1 | TRUE | accepted | FALSE | 4 | 60801 | 1737 | TRUE | OK | 11 | 173.7 | 173.7
1 | 170 | 170 | 1 | 1 | TRUE | accepted | FALSE | 5 | 61301 | 1748 | TRUE | OK | 11 | 174.8 | 174.8
1 | 170 | 170 | 1 | 1 | TRUE | accepted | FALSE | 6 | 61801 | 1794 | TRUE | OK | 11 | 179.4 | 179.4
1 | 170 | 170 | 1 | 1 | TRUE | accepted | FALSE | 7 | 62301 | 1766 | TRUE | OK | 11 | 176.6 | 176.6
1 | 170 | 170 | 1 | 1 | TRUE | accepted | FALSE | 8 | 62801 | 1754 | TRUE | OK | 11 | 175.4 | 175.4
1 | 170 | 170 | 1 | 1 | TRUE | accepted | FALSE | 9 | 63301 | 1800 | TRUE | OK | 11 | 180 | 180
1 | 170 | 170 | 2 | 2 | TRUE | accepted | FALSE | 0 | 66944 | 1769 | TRUE | OK | 11 | 176.9 | 176.9
1 | 170 | 170 | 2 | 2 | TRUE | accepted | FALSE | 1 | 67444 | 1777 | TRUE | OK | 11 | 177.7 | 177.7
1 | 170 | 170 | 2 | 2 | TRUE | accepted | FALSE | 2 | 67944 | 1772 | TRUE | OK | 11 | 177.2 | 177.2
1 | 170 | 170 | 2 | 2 | TRUE | accepted | FALSE | 3 | 68444 | 1775 | TRUE | OK | 11 | 177.5 | 177.5
1 | 170 | 170 | 2 | 2 | TRUE | accepted | FALSE | 4 | 68944 | 1770 | TRUE | OK | 11 | 177 | 177
1 | 170 | 170 | 2 | 2 | TRUE | accepted | FALSE | 5 | 69444 | 1808 | TRUE | OK | 11 | 180.8 | 180.8
1 | 170 | 170 | 2 | 2 | TRUE | accepted | FALSE | 6 | 69944 | 1764 | TRUE | OK | 11 | 176.4 | 176.4
1 | 170 | 170 | 2 | 2 | TRUE | accepted | FALSE | 7 | 70444 | 1775 | TRUE | OK | 11 | 177.5 | 177.5
1 | 170 | 170 | 2 | 2 | TRUE | accepted | FALSE | 8 | 70944 | 1775 | TRUE | OK | 11 | 177.5 | 177.5
1 | 170 | 170 | 2 | 2 | TRUE | accepted | FALSE | 9 | 71444 | 1766 | TRUE | OK | 11 | 176.6 | 176.6
1 | 170 | 170 | 3 | 3 | TRUE | accepted | FALSE | 0 | 74902 | 1771 | TRUE | OK | 11 | 177.1 | 177.1
1 | 170 | 170 | 3 | 3 | TRUE | accepted | FALSE | 1 | 75402 | 1749 | TRUE | OK | 11 | 174.9 | 174.9
1 | 170 | 170 | 3 | 3 | TRUE | accepted | FALSE | 2 | 75902 | 1769 | TRUE | OK | 11 | 176.9 | 176.9
1 | 170 | 170 | 3 | 3 | TRUE | accepted | FALSE | 3 | 76402 | 1751 | TRUE | OK | 11 | 175.1 | 175.1
1 | 170 | 170 | 3 | 3 | TRUE | accepted | FALSE | 4 | 76902 | 1762 | TRUE | OK | 11 | 176.2 | 176.2
1 | 170 | 170 | 3 | 3 | TRUE | accepted | FALSE | 5 | 77402 | 1751 | TRUE | OK | 11 | 175.1 | 175.1
1 | 170 | 170 | 3 | 3 | TRUE | accepted | FALSE | 6 | 77902 | 1752 | TRUE | OK | 11 | 175.2 | 175.2
1 | 170 | 170 | 3 | 3 | TRUE | accepted | FALSE | 7 | 78402 | 1776 | TRUE | OK | 11 | 177.6 | 177.6
1 | 170 | 170 | 3 | 3 | TRUE | accepted | FALSE | 8 | 78902 | 1764 | TRUE | OK | 11 | 176.4 | 176.4
1 | 170 | 170 | 3 | 3 | TRUE | accepted | FALSE | 9 | 79403 | 1763 | TRUE | OK | 11 | 176.3 | 176.3
2 | 160 | 160 | 1 | 4 | TRUE | accepted | FALSE | 0 | 118091 | 1659 | TRUE | OK | 11 | 165.9 | 165.9
2 | 160 | 160 | 1 | 4 | TRUE | accepted | FALSE | 1 | 118591 | 1660 | TRUE | OK | 11 | 166 | 166
2 | 160 | 160 | 1 | 4 | TRUE | accepted | FALSE | 2 | 119091 | 1685 | TRUE | OK | 11 | 168.5 | 168.5
2 | 160 | 160 | 1 | 4 | TRUE | accepted | FALSE | 3 | 119591 | 1668 | TRUE | OK | 11 | 166.8 | 166.8
2 | 160 | 160 | 1 | 4 | TRUE | accepted | FALSE | 4 | 120091 | 1646 | TRUE | OK | 11 | 164.6 | 164.6
2 | 160 | 160 | 1 | 4 | TRUE | accepted | FALSE | 5 | 120591 | 1672 | TRUE | OK | 11 | 167.2 | 167.2
2 | 160 | 160 | 1 | 4 | TRUE | accepted | FALSE | 6 | 121091 | 1686 | TRUE | OK | 11 | 168.6 | 168.6
2 | 160 | 160 | 1 | 4 | TRUE | accepted | FALSE | 7 | 121591 | 1642 | TRUE | OK | 11 | 164.2 | 164.2
2 | 160 | 160 | 1 | 4 | TRUE | accepted | FALSE | 8 | 122091 | 1634 | TRUE | OK | 11 | 163.4 | 163.4
2 | 160 | 160 | 1 | 4 | TRUE | accepted | FALSE | 9 | 122591 | 1642 | TRUE | OK | 11 | 164.2 | 164.2
2 | 160 | 160 | 2 | 5 | TRUE | accepted | FALSE | 0 | 304263 | 1659 | TRUE | OK | 11 | 165.9 | 165.9
2 | 160 | 160 | 2 | 5 | TRUE | accepted | FALSE | 1 | 304763 | 1661 | TRUE | OK | 11 | 166.1 | 166.1
2 | 160 | 160 | 2 | 5 | TRUE | accepted | FALSE | 2 | 305263 | 1667 | TRUE | OK | 11 | 166.7 | 166.7
2 | 160 | 160 | 2 | 5 | TRUE | accepted | FALSE | 3 | 305763 | 1658 | TRUE | OK | 11 | 165.8 | 165.8
2 | 160 | 160 | 2 | 5 | TRUE | accepted | FALSE | 4 | 306263 | 1665 | TRUE | OK | 11 | 166.5 | 166.5
2 | 160 | 160 | 2 | 5 | TRUE | accepted | FALSE | 5 | 306763 | 1671 | TRUE | OK | 11 | 167.1 | 167.1
2 | 160 | 160 | 2 | 5 | TRUE | accepted | FALSE | 6 | 307263 | 1668 | TRUE | OK | 11 | 166.8 | 166.8
2 | 160 | 160 | 2 | 5 | TRUE | accepted | FALSE | 7 | 307763 | 1661 | TRUE | OK | 11 | 166.1 | 166.1
2 | 160 | 160 | 2 | 5 | TRUE | accepted | FALSE | 8 | 308263 | 1635 | TRUE | OK | 11 | 163.5 | 163.5
2 | 160 | 160 | 2 | 5 | TRUE | accepted | FALSE | 9 | 308763 | 1653 | TRUE | OK | 11 | 165.3 | 165.3
2 | 160 | 160 | 3 | 6 | TRUE | accepted | FALSE | 0 | 316203 | 1663 | TRUE | OK | 11 | 166.3 | 166.3
2 | 160 | 160 | 3 | 6 | TRUE | accepted | FALSE | 1 | 316703 | 1662 | TRUE | OK | 11 | 166.2 | 166.2
2 | 160 | 160 | 3 | 6 | TRUE | accepted | FALSE | 2 | 317203 | 1670 | TRUE | OK | 11 | 167 | 167
2 | 160 | 160 | 3 | 6 | TRUE | accepted | FALSE | 3 | 317703 | 1655 | TRUE | OK | 11 | 165.5 | 165.5
2 | 160 | 160 | 3 | 6 | TRUE | accepted | FALSE | 4 | 318203 | 1674 | TRUE | OK | 11 | 167.4 | 167.4
2 | 160 | 160 | 3 | 6 | TRUE | accepted | FALSE | 5 | 318703 | 1660 | TRUE | OK | 11 | 166 | 166
2 | 160 | 160 | 3 | 6 | TRUE | accepted | FALSE | 6 | 319203 | 1663 | TRUE | OK | 11 | 166.3 | 166.3
2 | 160 | 160 | 3 | 6 | TRUE | accepted | FALSE | 7 | 319703 | 1648 | TRUE | OK | 11 | 164.8 | 164.8
2 | 160 | 160 | 3 | 6 | TRUE | accepted | FALSE | 8 | 320203 | 1668 | TRUE | OK | 11 | 166.8 | 166.8
2 | 160 | 160 | 3 | 6 | TRUE | accepted | FALSE | 9 | 320703 | 1641 | TRUE | OK | 11 | 164.1 | 164.1
3 | 150 | 150 | 1 | 7 | TRUE | accepted | FALSE | 0 | 344126 | 1571 | TRUE | OK | 11 | 157.1 | 157.1
3 | 150 | 150 | 1 | 7 | TRUE | accepted | FALSE | 1 | 344626 | 1539 | TRUE | OK | 11 | 153.9 | 153.9
3 | 150 | 150 | 1 | 7 | TRUE | accepted | FALSE | 2 | 345126 | 1561 | TRUE | OK | 11 | 156.1 | 156.1
3 | 150 | 150 | 1 | 7 | TRUE | accepted | FALSE | 3 | 345626 | 1549 | TRUE | OK | 11 | 154.9 | 154.9
3 | 150 | 150 | 1 | 7 | TRUE | accepted | FALSE | 4 | 346126 | 1541 | TRUE | OK | 11 | 154.1 | 154.1
3 | 150 | 150 | 1 | 7 | TRUE | accepted | FALSE | 5 | 346626 | 1551 | TRUE | OK | 11 | 155.1 | 155.1
3 | 150 | 150 | 1 | 7 | TRUE | accepted | FALSE | 6 | 347126 | 1555 | TRUE | OK | 11 | 155.5 | 155.5
3 | 150 | 150 | 1 | 7 | TRUE | accepted | FALSE | 7 | 347626 | 1568 | TRUE | OK | 11 | 156.8 | 156.8
3 | 150 | 150 | 1 | 7 | TRUE | accepted | FALSE | 8 | 348126 | 1550 | TRUE | OK | 11 | 155 | 155
3 | 150 | 150 | 1 | 7 | TRUE | accepted | FALSE | 9 | 348626 | 1552 | TRUE | OK | 11 | 155.2 | 155.2
3 | 150 | 150 | 2 | 8 | TRUE | accepted | FALSE | 0 | 353352 | 1571 | TRUE | OK | 11 | 157.1 | 157.1
3 | 150 | 150 | 2 | 8 | TRUE | accepted | FALSE | 1 | 353852 | 1553 | TRUE | OK | 11 | 155.3 | 155.3
3 | 150 | 150 | 2 | 8 | TRUE | accepted | FALSE | 2 | 354352 | 1534 | TRUE | OK | 11 | 153.4 | 153.4
3 | 150 | 150 | 2 | 8 | TRUE | accepted | FALSE | 3 | 354852 | 1554 | TRUE | OK | 11 | 155.4 | 155.4
3 | 150 | 150 | 2 | 8 | TRUE | accepted | FALSE | 4 | 355352 | 1589 | TRUE | OK | 11 | 158.9 | 158.9
3 | 150 | 150 | 2 | 8 | TRUE | accepted | FALSE | 5 | 355852 | 1552 | TRUE | OK | 11 | 155.2 | 155.2
3 | 150 | 150 | 2 | 8 | TRUE | accepted | FALSE | 6 | 356352 | 1559 | TRUE | OK | 11 | 155.9 | 155.9
3 | 150 | 150 | 2 | 8 | TRUE | accepted | FALSE | 7 | 356852 | 1549 | TRUE | OK | 11 | 154.9 | 154.9
3 | 150 | 150 | 2 | 8 | TRUE | accepted | FALSE | 8 | 357352 | 1550 | TRUE | OK | 11 | 155 | 155
3 | 150 | 150 | 2 | 8 | TRUE | accepted | FALSE | 9 | 357852 | 1578 | TRUE | OK | 11 | 157.8 | 157.8
3 | 150 | 150 | 3 | 9 | TRUE | accepted | FALSE | 0 | 360993 | 1543 | TRUE | OK | 11 | 154.3 | 154.3
3 | 150 | 150 | 3 | 9 | TRUE | accepted | FALSE | 1 | 361493 | 1560 | TRUE | OK | 11 | 156 | 156
3 | 150 | 150 | 3 | 9 | TRUE | accepted | FALSE | 2 | 361993 | 1577 | TRUE | OK | 11 | 157.7 | 157.7
3 | 150 | 150 | 3 | 9 | TRUE | accepted | FALSE | 3 | 362493 | 1571 | TRUE | OK | 11 | 157.1 | 157.1
3 | 150 | 150 | 3 | 9 | TRUE | accepted | FALSE | 4 | 362993 | 1565 | TRUE | OK | 11 | 156.5 | 156.5
3 | 150 | 150 | 3 | 9 | TRUE | accepted | FALSE | 5 | 363493 | 1535 | TRUE | OK | 11 | 153.5 | 153.5
3 | 150 | 150 | 3 | 9 | TRUE | accepted | FALSE | 6 | 363993 | 1529 | TRUE | OK | 11 | 152.9 | 152.9
3 | 150 | 150 | 3 | 9 | TRUE | accepted | FALSE | 7 | 364493 | 1549 | TRUE | OK | 11 | 154.9 | 154.9
3 | 150 | 150 | 3 | 9 | TRUE | accepted | FALSE | 8 | 364993 | 1531 | TRUE | OK | 11 | 153.1 | 153.1
3 | 150 | 150 | 3 | 9 | TRUE | accepted | FALSE | 9 | 365493 | 1566 | TRUE | OK | 11 | 156.6 | 156.6
4 | 140 | 140 | 1 | 10 | TRUE | accepted | FALSE | 0 | 421816 | 1462 | TRUE | OK | 11 | 146.2 | 146.2
4 | 140 | 140 | 1 | 10 | TRUE | accepted | FALSE | 1 | 422316 | 1467 | TRUE | OK | 11 | 146.7 | 146.7
4 | 140 | 140 | 1 | 10 | TRUE | accepted | FALSE | 2 | 422816 | 1452 | TRUE | OK | 11 | 145.2 | 145.2
4 | 140 | 140 | 1 | 10 | TRUE | accepted | FALSE | 3 | 423316 | 1440 | TRUE | OK | 11 | 144 | 144
4 | 140 | 140 | 1 | 10 | TRUE | accepted | FALSE | 4 | 423816 | 1447 | TRUE | OK | 11 | 144.7 | 144.7
4 | 140 | 140 | 1 | 10 | TRUE | accepted | FALSE | 5 | 424316 | 1445 | TRUE | OK | 11 | 144.5 | 144.5
4 | 140 | 140 | 1 | 10 | TRUE | accepted | FALSE | 6 | 424816 | 1485 | TRUE | OK | 11 | 148.5 | 148.5
4 | 140 | 140 | 1 | 10 | TRUE | accepted | FALSE | 7 | 425316 | 1454 | TRUE | OK | 11 | 145.4 | 145.4
4 | 140 | 140 | 1 | 10 | TRUE | accepted | FALSE | 8 | 425816 | 1457 | TRUE | OK | 11 | 145.7 | 145.7
4 | 140 | 140 | 1 | 10 | TRUE | accepted | FALSE | 9 | 426316 | 1479 | TRUE | OK | 11 | 147.9 | 147.9
4 | 140 | 140 | 2 | 11 | TRUE | accepted | FALSE | 0 | 430567 | 1474 | TRUE | OK | 11 | 147.4 | 147.4
4 | 140 | 140 | 2 | 11 | TRUE | accepted | FALSE | 1 | 431067 | 1475 | TRUE | OK | 11 | 147.5 | 147.5
4 | 140 | 140 | 2 | 11 | TRUE | accepted | FALSE | 2 | 431567 | 1430 | TRUE | OK | 11 | 143 | 143
4 | 140 | 140 | 2 | 11 | TRUE | accepted | FALSE | 3 | 432067 | 1461 | TRUE | OK | 11 | 146.1 | 146.1
4 | 140 | 140 | 2 | 11 | TRUE | accepted | FALSE | 4 | 432567 | 1455 | TRUE | OK | 11 | 145.5 | 145.5
4 | 140 | 140 | 2 | 11 | TRUE | accepted | FALSE | 5 | 433067 | 1445 | TRUE | OK | 11 | 144.5 | 144.5
4 | 140 | 140 | 2 | 11 | TRUE | accepted | FALSE | 6 | 433567 | 1475 | TRUE | OK | 11 | 147.5 | 147.5
4 | 140 | 140 | 2 | 11 | TRUE | accepted | FALSE | 7 | 434067 | 1448 | TRUE | OK | 11 | 144.8 | 144.8
4 | 140 | 140 | 2 | 11 | TRUE | accepted | FALSE | 8 | 434567 | 1448 | TRUE | OK | 11 | 144.8 | 144.8
4 | 140 | 140 | 2 | 11 | TRUE | accepted | FALSE | 9 | 435067 | 1443 | TRUE | OK | 11 | 144.3 | 144.3
4 | 140 | 140 | 3 | 12 | TRUE | accepted | FALSE | 0 | 439465 | 1449 | TRUE | OK | 11 | 144.9 | 144.9
4 | 140 | 140 | 3 | 12 | TRUE | accepted | FALSE | 1 | 439965 | 1446 | TRUE | OK | 11 | 144.6 | 144.6
4 | 140 | 140 | 3 | 12 | TRUE | accepted | FALSE | 2 | 440465 | 1444 | TRUE | OK | 11 | 144.4 | 144.4
4 | 140 | 140 | 3 | 12 | TRUE | accepted | FALSE | 3 | 440965 | 1451 | TRUE | OK | 11 | 145.1 | 145.1
4 | 140 | 140 | 3 | 12 | TRUE | accepted | FALSE | 4 | 441465 | 1452 | TRUE | OK | 11 | 145.2 | 145.2
4 | 140 | 140 | 3 | 12 | TRUE | accepted | FALSE | 5 | 441965 | 1460 | TRUE | OK | 11 | 146 | 146
4 | 140 | 140 | 3 | 12 | TRUE | accepted | FALSE | 6 | 442465 | 1441 | TRUE | OK | 11 | 144.1 | 144.1
4 | 140 | 140 | 3 | 12 | TRUE | accepted | FALSE | 7 | 442966 | 1484 | TRUE | OK | 11 | 148.4 | 148.4
4 | 140 | 140 | 3 | 12 | TRUE | accepted | FALSE | 8 | 443466 | 1433 | TRUE | OK | 11 | 143.3 | 143.3
4 | 140 | 140 | 3 | 12 | TRUE | accepted | FALSE | 9 | 443966 | 1470 | TRUE | OK | 11 | 147 | 147
5 | 130 | 130 | 1 | 13 | TRUE | accepted | FALSE | 0 | 466544 | 1342 | TRUE | OK | 11 | 134.2 | 134.2
5 | 130 | 130 | 1 | 13 | TRUE | accepted | FALSE | 1 | 467044 | 1343 | TRUE | OK | 11 | 134.3 | 134.3
5 | 130 | 130 | 1 | 13 | TRUE | accepted | FALSE | 2 | 467544 | 1346 | TRUE | OK | 11 | 134.6 | 134.6
5 | 130 | 130 | 1 | 13 | TRUE | accepted | FALSE | 3 | 468044 | 1328 | TRUE | OK | 11 | 132.8 | 132.8
5 | 130 | 130 | 1 | 13 | TRUE | accepted | FALSE | 4 | 468544 | 1351 | TRUE | OK | 11 | 135.1 | 135.1
5 | 130 | 130 | 1 | 13 | TRUE | accepted | FALSE | 5 | 469044 | 1370 | TRUE | OK | 11 | 137 | 137
5 | 130 | 130 | 1 | 13 | TRUE | accepted | FALSE | 6 | 469544 | 1351 | TRUE | OK | 11 | 135.1 | 135.1
5 | 130 | 130 | 1 | 13 | TRUE | accepted | FALSE | 7 | 470044 | 1352 | TRUE | OK | 11 | 135.2 | 135.2
5 | 130 | 130 | 1 | 13 | TRUE | accepted | FALSE | 8 | 470544 | 1350 | TRUE | OK | 11 | 135 | 135
5 | 130 | 130 | 1 | 13 | TRUE | accepted | FALSE | 9 | 471044 | 1346 | TRUE | OK | 11 | 134.6 | 134.6
5 | 130 | 130 | 2 | 14 | TRUE | accepted | FALSE | 0 | 476268 | 1348 | TRUE | OK | 11 | 134.8 | 134.8
5 | 130 | 130 | 2 | 14 | TRUE | accepted | FALSE | 1 | 476768 | 1323 | TRUE | OK | 11 | 132.3 | 132.3
5 | 130 | 130 | 2 | 14 | TRUE | accepted | FALSE | 2 | 477268 | 1352 | TRUE | OK | 11 | 135.2 | 135.2
5 | 130 | 130 | 2 | 14 | TRUE | accepted | FALSE | 3 | 477768 | 1340 | TRUE | OK | 11 | 134 | 134
5 | 130 | 130 | 2 | 14 | TRUE | accepted | FALSE | 4 | 478268 | 1354 | TRUE | OK | 11 | 135.4 | 135.4
5 | 130 | 130 | 2 | 14 | TRUE | accepted | FALSE | 5 | 478768 | 1358 | TRUE | OK | 11 | 135.8 | 135.8
5 | 130 | 130 | 2 | 14 | TRUE | accepted | FALSE | 6 | 479268 | 1340 | TRUE | OK | 11 | 134 | 134
5 | 130 | 130 | 2 | 14 | TRUE | accepted | FALSE | 7 | 479768 | 1336 | TRUE | OK | 11 | 133.6 | 133.6
5 | 130 | 130 | 2 | 14 | TRUE | accepted | FALSE | 8 | 480268 | 1338 | TRUE | OK | 11 | 133.8 | 133.8
5 | 130 | 130 | 2 | 14 | TRUE | accepted | FALSE | 9 | 480768 | 1345 | TRUE | OK | 11 | 134.5 | 134.5
5 | 130 | 130 | 3 | 15 | TRUE | accepted | FALSE | 0 | 485844 | 1347 | TRUE | OK | 11 | 134.7 | 134.7
5 | 130 | 130 | 3 | 15 | TRUE | accepted | FALSE | 1 | 486344 | 1345 | TRUE | OK | 11 | 134.5 | 134.5
5 | 130 | 130 | 3 | 15 | TRUE | accepted | FALSE | 2 | 486844 | 1342 | TRUE | OK | 11 | 134.2 | 134.2
5 | 130 | 130 | 3 | 15 | TRUE | accepted | FALSE | 3 | 487344 | 1350 | TRUE | OK | 11 | 135 | 135
5 | 130 | 130 | 3 | 15 | TRUE | accepted | FALSE | 4 | 487844 | 1348 | TRUE | OK | 11 | 134.8 | 134.8
5 | 130 | 130 | 3 | 15 | TRUE | accepted | FALSE | 5 | 488344 | 1367 | TRUE | OK | 11 | 136.7 | 136.7
5 | 130 | 130 | 3 | 15 | TRUE | accepted | FALSE | 6 | 488844 | 1334 | TRUE | OK | 11 | 133.4 | 133.4
5 | 130 | 130 | 3 | 15 | TRUE | accepted | FALSE | 7 | 489344 | 1337 | TRUE | OK | 11 | 133.7 | 133.7
5 | 130 | 130 | 3 | 15 | TRUE | accepted | FALSE | 8 | 489844 | 1334 | TRUE | OK | 11 | 133.4 | 133.4
5 | 130 | 130 | 3 | 15 | TRUE | accepted | FALSE | 9 | 490344 | 1338 | TRUE | OK | 11 | 133.8 | 133.8
6 | 120 | 120 | 1 | 16 | TRUE | accepted | FALSE | 0 | 508588 | 1242 | TRUE | OK | 11 | 124.2 | 124.2
6 | 120 | 120 | 1 | 16 | TRUE | accepted | FALSE | 1 | 509088 | 1231 | TRUE | OK | 11 | 123.1 | 123.1
6 | 120 | 120 | 1 | 16 | TRUE | accepted | FALSE | 2 | 509588 | 1266 | TRUE | OK | 11 | 126.6 | 126.6
6 | 120 | 120 | 1 | 16 | TRUE | accepted | FALSE | 3 | 510088 | 1260 | TRUE | OK | 11 | 126 | 126
6 | 120 | 120 | 1 | 16 | TRUE | accepted | FALSE | 4 | 510588 | 1246 | TRUE | OK | 11 | 124.6 | 124.6
6 | 120 | 120 | 1 | 16 | TRUE | accepted | FALSE | 5 | 511088 | 1249 | TRUE | OK | 11 | 124.9 | 124.9
6 | 120 | 120 | 1 | 16 | TRUE | accepted | FALSE | 6 | 511588 | 1236 | TRUE | OK | 11 | 123.6 | 123.6
6 | 120 | 120 | 1 | 16 | TRUE | accepted | FALSE | 7 | 512088 | 1251 | TRUE | OK | 11 | 125.1 | 125.1
6 | 120 | 120 | 1 | 16 | TRUE | accepted | FALSE | 8 | 512588 | 1243 | TRUE | OK | 11 | 124.3 | 124.3
6 | 120 | 120 | 1 | 16 | TRUE | accepted | FALSE | 9 | 513088 | 1229 | TRUE | OK | 11 | 122.9 | 122.9
6 | 120 | 120 | 2 | 17 | TRUE | accepted | FALSE | 0 | 538712 | 1236 | TRUE | OK | 11 | 123.6 | 123.6
6 | 120 | 120 | 2 | 17 | TRUE | accepted | FALSE | 1 | 539212 | 1240 | TRUE | OK | 11 | 124 | 124
6 | 120 | 120 | 2 | 17 | TRUE | accepted | FALSE | 2 | 539712 | 1230 | TRUE | OK | 11 | 123 | 123
6 | 120 | 120 | 2 | 17 | TRUE | accepted | FALSE | 3 | 540212 | 1242 | TRUE | OK | 11 | 124.2 | 124.2
6 | 120 | 120 | 2 | 17 | TRUE | accepted | FALSE | 4 | 540712 | 1246 | TRUE | OK | 11 | 124.6 | 124.6
6 | 120 | 120 | 2 | 17 | TRUE | accepted | FALSE | 5 | 541212 | 1244 | TRUE | OK | 11 | 124.4 | 124.4
6 | 120 | 120 | 2 | 17 | TRUE | accepted | FALSE | 6 | 541712 | 1253 | TRUE | OK | 11 | 125.3 | 125.3
6 | 120 | 120 | 2 | 17 | TRUE | accepted | FALSE | 7 | 542212 | 1241 | TRUE | OK | 11 | 124.1 | 124.1
6 | 120 | 120 | 2 | 17 | TRUE | accepted | FALSE | 8 | 542712 | 1238 | TRUE | OK | 11 | 123.8 | 123.8
6 | 120 | 120 | 2 | 17 | TRUE | accepted | FALSE | 9 | 543212 | 1267 | TRUE | OK | 11 | 126.7 | 126.7
6 | 120 | 120 | 3 | 18 | TRUE | accepted | FALSE | 0 | 548954 | 1237 | TRUE | OK | 11 | 123.7 | 123.7
6 | 120 | 120 | 3 | 18 | TRUE | accepted | FALSE | 1 | 549454 | 1236 | TRUE | OK | 11 | 123.6 | 123.6
6 | 120 | 120 | 3 | 18 | TRUE | accepted | FALSE | 2 | 549954 | 1249 | TRUE | OK | 11 | 124.9 | 124.9
6 | 120 | 120 | 3 | 18 | TRUE | accepted | FALSE | 3 | 550454 | 1270 | TRUE | OK | 11 | 127 | 127
6 | 120 | 120 | 3 | 18 | TRUE | accepted | FALSE | 4 | 550955 | 1244 | TRUE | OK | 11 | 124.4 | 124.4
6 | 120 | 120 | 3 | 18 | TRUE | accepted | FALSE | 5 | 551455 | 1254 | TRUE | OK | 11 | 125.4 | 125.4
6 | 120 | 120 | 3 | 18 | TRUE | accepted | FALSE | 6 | 551955 | 1232 | TRUE | OK | 11 | 123.2 | 123.2
6 | 120 | 120 | 3 | 18 | TRUE | accepted | FALSE | 7 | 552455 | 1242 | TRUE | OK | 11 | 124.2 | 124.2
6 | 120 | 120 | 3 | 18 | TRUE | accepted | FALSE | 8 | 552955 | 1234 | TRUE | OK | 11 | 123.4 | 123.4
6 | 120 | 120 | 3 | 18 | TRUE | accepted | FALSE | 9 | 553455 | 1247 | TRUE | OK | 11 | 124.7 | 124.7
7 | 110 | 110 | 1 | 19 | TRUE | accepted | FALSE | 0 | 574264 | 1128 | TRUE | OK | 11 | 112.8 | 112.8
7 | 110 | 110 | 1 | 19 | TRUE | accepted | FALSE | 1 | 574764 | 1137 | TRUE | OK | 11 | 113.7 | 113.7
7 | 110 | 110 | 1 | 19 | TRUE | accepted | FALSE | 2 | 575264 | 1133 | TRUE | OK | 11 | 113.3 | 113.3
7 | 110 | 110 | 1 | 19 | TRUE | accepted | FALSE | 3 | 575764 | 1127 | TRUE | OK | 11 | 112.7 | 112.7
7 | 110 | 110 | 1 | 19 | TRUE | accepted | FALSE | 4 | 576264 | 1124 | TRUE | OK | 11 | 112.4 | 112.4
7 | 110 | 110 | 1 | 19 | TRUE | accepted | FALSE | 5 | 576764 | 1135 | TRUE | OK | 11 | 113.5 | 113.5
7 | 110 | 110 | 1 | 19 | TRUE | accepted | FALSE | 6 | 577264 | 1136 | TRUE | OK | 11 | 113.6 | 113.6
7 | 110 | 110 | 1 | 19 | TRUE | accepted | FALSE | 7 | 577764 | 1133 | TRUE | OK | 11 | 113.3 | 113.3
7 | 110 | 110 | 1 | 19 | TRUE | accepted | FALSE | 8 | 578264 | 1138 | TRUE | OK | 11 | 113.8 | 113.8
7 | 110 | 110 | 1 | 19 | TRUE | accepted | FALSE | 9 | 578764 | 1135 | TRUE | OK | 11 | 113.5 | 113.5
7 | 110 | 110 | 2 | 20 | TRUE | accepted | FALSE | 0 | 588841 | 1126 | TRUE | OK | 11 | 112.6 | 112.6
7 | 110 | 110 | 2 | 20 | TRUE | accepted | FALSE | 1 | 589341 | 1133 | TRUE | OK | 11 | 113.3 | 113.3
7 | 110 | 110 | 2 | 20 | TRUE | accepted | FALSE | 2 | 589841 | 1153 | TRUE | OK | 11 | 115.3 | 115.3
7 | 110 | 110 | 2 | 20 | TRUE | accepted | FALSE | 3 | 590341 | 1129 | TRUE | OK | 11 | 112.9 | 112.9
7 | 110 | 110 | 2 | 20 | TRUE | accepted | FALSE | 4 | 590841 | 1135 | TRUE | OK | 11 | 113.5 | 113.5
7 | 110 | 110 | 2 | 20 | TRUE | accepted | FALSE | 5 | 591341 | 1131 | TRUE | OK | 11 | 113.1 | 113.1
7 | 110 | 110 | 2 | 20 | TRUE | accepted | FALSE | 6 | 591841 | 1125 | TRUE | OK | 11 | 112.5 | 112.5
7 | 110 | 110 | 2 | 20 | TRUE | accepted | FALSE | 7 | 592342 | 1143 | TRUE | OK | 11 | 114.3 | 114.3
7 | 110 | 110 | 2 | 20 | TRUE | accepted | FALSE | 8 | 592842 | 1140 | TRUE | OK | 11 | 114 | 114
7 | 110 | 110 | 2 | 20 | TRUE | accepted | FALSE | 9 | 593342 | 1127 | TRUE | OK | 11 | 112.7 | 112.7
7 | 110 | 110 | 3 | 21 | TRUE | accepted | FALSE | 0 | 598177 | 1125 | TRUE | OK | 11 | 112.5 | 112.5
7 | 110 | 110 | 3 | 21 | TRUE | accepted | FALSE | 1 | 598677 | 1128 | TRUE | OK | 11 | 112.8 | 112.8
7 | 110 | 110 | 3 | 21 | TRUE | accepted | FALSE | 2 | 599177 | 1135 | TRUE | OK | 11 | 113.5 | 113.5
7 | 110 | 110 | 3 | 21 | TRUE | accepted | FALSE | 3 | 599677 | 1143 | TRUE | OK | 11 | 114.3 | 114.3
7 | 110 | 110 | 3 | 21 | TRUE | accepted | FALSE | 4 | 600177 | 1134 | TRUE | OK | 11 | 113.4 | 113.4
7 | 110 | 110 | 3 | 21 | TRUE | accepted | FALSE | 5 | 600677 | 1129 | TRUE | OK | 11 | 112.9 | 112.9
7 | 110 | 110 | 3 | 21 | TRUE | accepted | FALSE | 6 | 601177 | 1127 | TRUE | OK | 11 | 112.7 | 112.7
7 | 110 | 110 | 3 | 21 | TRUE | accepted | FALSE | 7 | 601677 | 1133 | TRUE | OK | 11 | 113.3 | 113.3
7 | 110 | 110 | 3 | 21 | TRUE | accepted | FALSE | 8 | 602177 | 1122 | TRUE | OK | 11 | 112.2 | 112.2
7 | 110 | 110 | 3 | 21 | TRUE | accepted | FALSE | 9 | 602677 | 1135 | TRUE | OK | 11 | 113.5 | 113.5
8 | 100 | 100 | 1 | 22 | TRUE | accepted | FALSE | 0 | 628253 | 1037 | TRUE | OK | 11 | 103.7 | 103.7
8 | 100 | 100 | 1 | 22 | TRUE | accepted | FALSE | 1 | 628753 | 1045 | TRUE | OK | 11 | 104.5 | 104.5
8 | 100 | 100 | 1 | 22 | TRUE | accepted | FALSE | 2 | 629253 | 1048 | TRUE | OK | 11 | 104.8 | 104.8
8 | 100 | 100 | 1 | 22 | TRUE | accepted | FALSE | 3 | 629753 | 1030 | TRUE | OK | 11 | 103 | 103
8 | 100 | 100 | 1 | 22 | TRUE | accepted | FALSE | 4 | 630253 | 1046 | TRUE | OK | 11 | 104.6 | 104.6
8 | 100 | 100 | 1 | 22 | TRUE | accepted | FALSE | 5 | 630753 | 1032 | TRUE | OK | 11 | 103.2 | 103.2
8 | 100 | 100 | 1 | 22 | TRUE | accepted | FALSE | 6 | 631254 | 1048 | TRUE | OK | 11 | 104.8 | 104.8
8 | 100 | 100 | 1 | 22 | TRUE | accepted | FALSE | 7 | 631754 | 1037 | TRUE | OK | 11 | 103.7 | 103.7
8 | 100 | 100 | 1 | 22 | TRUE | accepted | FALSE | 8 | 632254 | 1041 | TRUE | OK | 11 | 104.1 | 104.1
8 | 100 | 100 | 1 | 22 | TRUE | accepted | FALSE | 9 | 632754 | 1045 | TRUE | OK | 11 | 104.5 | 104.5
8 | 100 | 100 | 2 | 23 | TRUE | accepted | FALSE | 0 | 637771 | 1042 | TRUE | OK | 11 | 104.2 | 104.2
8 | 100 | 100 | 2 | 23 | TRUE | accepted | FALSE | 1 | 638271 | 1042 | TRUE | OK | 11 | 104.2 | 104.2
8 | 100 | 100 | 2 | 23 | TRUE | accepted | FALSE | 2 | 638771 | 1038 | TRUE | OK | 11 | 103.8 | 103.8
8 | 100 | 100 | 2 | 23 | TRUE | accepted | FALSE | 3 | 639271 | 1038 | TRUE | OK | 11 | 103.8 | 103.8
8 | 100 | 100 | 2 | 23 | TRUE | accepted | FALSE | 4 | 639771 | 1042 | TRUE | OK | 11 | 104.2 | 104.2
8 | 100 | 100 | 2 | 23 | TRUE | accepted | FALSE | 5 | 640271 | 1044 | TRUE | OK | 11 | 104.4 | 104.4
8 | 100 | 100 | 2 | 23 | TRUE | accepted | FALSE | 6 | 640771 | 1032 | TRUE | OK | 11 | 103.2 | 103.2
8 | 100 | 100 | 2 | 23 | TRUE | accepted | FALSE | 7 | 641271 | 1047 | TRUE | OK | 11 | 104.7 | 104.7
8 | 100 | 100 | 2 | 23 | TRUE | accepted | FALSE | 8 | 641771 | 1033 | TRUE | OK | 11 | 103.3 | 103.3
8 | 100 | 100 | 2 | 23 | TRUE | accepted | FALSE | 9 | 642271 | 1049 | TRUE | OK | 11 | 104.9 | 104.9
8 | 100 | 100 | 3 | 24 | TRUE | accepted | FALSE | 0 | 646349 | 1044 | TRUE | OK | 11 | 104.4 | 104.4
8 | 100 | 100 | 3 | 24 | TRUE | accepted | FALSE | 1 | 646849 | 1043 | TRUE | OK | 11 | 104.3 | 104.3
8 | 100 | 100 | 3 | 24 | TRUE | accepted | FALSE | 2 | 647349 | 1038 | TRUE | OK | 11 | 103.8 | 103.8
8 | 100 | 100 | 3 | 24 | TRUE | accepted | FALSE | 3 | 647849 | 1030 | TRUE | OK | 11 | 103 | 103
8 | 100 | 100 | 3 | 24 | TRUE | accepted | FALSE | 4 | 648349 | 1045 | TRUE | OK | 11 | 104.5 | 104.5
8 | 100 | 100 | 3 | 24 | TRUE | accepted | FALSE | 5 | 648849 | 1038 | TRUE | OK | 11 | 103.8 | 103.8
8 | 100 | 100 | 3 | 24 | TRUE | accepted | FALSE | 6 | 649349 | 1034 | TRUE | OK | 11 | 103.4 | 103.4
8 | 100 | 100 | 3 | 24 | TRUE | accepted | FALSE | 7 | 649849 | 1038 | TRUE | OK | 11 | 103.8 | 103.8
8 | 100 | 100 | 3 | 24 | TRUE | accepted | FALSE | 8 | 650349 | 1052 | TRUE | OK | 11 | 105.2 | 105.2
8 | 100 | 100 | 3 | 24 | TRUE | accepted | FALSE | 9 | 650849 | 1037 | TRUE | OK | 11 | 103.7 | 103.7
9 | 90 | 90 | 1 | 25 | TRUE | accepted | FALSE | 0 | 668097 | 933 | TRUE | OK | 11 | 93.3 | 93.3
9 | 90 | 90 | 1 | 25 | TRUE | accepted | FALSE | 1 | 668597 | 938 | TRUE | OK | 11 | 93.8 | 93.8
9 | 90 | 90 | 1 | 25 | TRUE | accepted | FALSE | 2 | 669097 | 940 | TRUE | OK | 11 | 94 | 94
9 | 90 | 90 | 1 | 25 | TRUE | accepted | FALSE | 3 | 669597 | 934 | TRUE | OK | 11 | 93.4 | 93.4
9 | 90 | 90 | 1 | 25 | TRUE | accepted | FALSE | 4 | 670097 | 946 | TRUE | OK | 11 | 94.6 | 94.6
9 | 90 | 90 | 1 | 25 | TRUE | accepted | FALSE | 5 | 670597 | 948 | TRUE | OK | 11 | 94.8 | 94.8
9 | 90 | 90 | 1 | 25 | TRUE | accepted | FALSE | 6 | 671097 | 940 | TRUE | OK | 11 | 94 | 94
9 | 90 | 90 | 1 | 25 | TRUE | accepted | FALSE | 7 | 671597 | 931 | TRUE | OK | 11 | 93.1 | 93.1
9 | 90 | 90 | 1 | 25 | TRUE | accepted | FALSE | 8 | 672097 | 948 | TRUE | OK | 11 | 94.8 | 94.8
9 | 90 | 90 | 1 | 25 | TRUE | accepted | FALSE | 9 | 672598 | 937 | TRUE | OK | 11 | 93.7 | 93.7
9 | 90 | 90 | 2 | 26 | TRUE | accepted | FALSE | 0 | 676460 | 944 | TRUE | OK | 11 | 94.4 | 94.4
9 | 90 | 90 | 2 | 26 | TRUE | accepted | FALSE | 1 | 676960 | 960 | TRUE | OK | 11 | 96 | 96
9 | 90 | 90 | 2 | 26 | TRUE | accepted | FALSE | 2 | 677460 | 941 | TRUE | OK | 11 | 94.1 | 94.1
9 | 90 | 90 | 2 | 26 | TRUE | accepted | FALSE | 3 | 677960 | 941 | TRUE | OK | 11 | 94.1 | 94.1
9 | 90 | 90 | 2 | 26 | TRUE | accepted | FALSE | 4 | 678460 | 947 | TRUE | OK | 11 | 94.7 | 94.7
9 | 90 | 90 | 2 | 26 | TRUE | accepted | FALSE | 5 | 678960 | 942 | TRUE | OK | 11 | 94.2 | 94.2
9 | 90 | 90 | 2 | 26 | TRUE | accepted | FALSE | 6 | 679460 | 943 | TRUE | OK | 11 | 94.3 | 94.3
9 | 90 | 90 | 2 | 26 | TRUE | accepted | FALSE | 7 | 679960 | 947 | TRUE | OK | 11 | 94.7 | 94.7
9 | 90 | 90 | 2 | 26 | TRUE | accepted | FALSE | 8 | 680460 | 935 | TRUE | OK | 11 | 93.5 | 93.5
9 | 90 | 90 | 2 | 26 | TRUE | accepted | FALSE | 9 | 680960 | 938 | TRUE | OK | 11 | 93.8 | 93.8
9 | 90 | 90 | 3 | 27 | TRUE | accepted | FALSE | 0 | 685096 | 935 | TRUE | OK | 11 | 93.5 | 93.5
9 | 90 | 90 | 3 | 27 | TRUE | accepted | FALSE | 1 | 685596 | 944 | TRUE | OK | 11 | 94.4 | 94.4
9 | 90 | 90 | 3 | 27 | TRUE | accepted | FALSE | 2 | 686096 | 941 | TRUE | OK | 11 | 94.1 | 94.1
9 | 90 | 90 | 3 | 27 | TRUE | accepted | FALSE | 3 | 686596 | 937 | TRUE | OK | 11 | 93.7 | 93.7
9 | 90 | 90 | 3 | 27 | TRUE | accepted | FALSE | 4 | 687096 | 939 | TRUE | OK | 11 | 93.9 | 93.9
9 | 90 | 90 | 3 | 27 | TRUE | accepted | FALSE | 5 | 687596 | 944 | TRUE | OK | 11 | 94.4 | 94.4
9 | 90 | 90 | 3 | 27 | TRUE | accepted | FALSE | 6 | 688096 | 935 | TRUE | OK | 11 | 93.5 | 93.5
9 | 90 | 90 | 3 | 27 | TRUE | accepted | FALSE | 7 | 688596 | 945 | TRUE | OK | 11 | 94.5 | 94.5
9 | 90 | 90 | 3 | 27 | TRUE | accepted | FALSE | 8 | 689096 | 949 | TRUE | OK | 11 | 94.9 | 94.9
9 | 90 | 90 | 3 | 27 | TRUE | accepted | FALSE | 9 | 689596 | 940 | TRUE | OK | 11 | 94 | 94
10 | 80 | 80 | 1 | 28 | TRUE | accepted | FALSE | 0 | 707917 | 838 | TRUE | OK | 11 | 83.8 | 83.8
10 | 80 | 80 | 1 | 28 | TRUE | accepted | FALSE | 1 | 708417 | 828 | TRUE | OK | 11 | 82.8 | 82.8
10 | 80 | 80 | 1 | 28 | TRUE | accepted | FALSE | 2 | 708917 | 824 | TRUE | OK | 11 | 82.4 | 82.4
10 | 80 | 80 | 1 | 28 | TRUE | accepted | FALSE | 3 | 709417 | 823 | TRUE | OK | 11 | 82.3 | 82.3
10 | 80 | 80 | 1 | 28 | TRUE | accepted | FALSE | 4 | 709917 | 842 | TRUE | OK | 11 | 84.2 | 84.2
10 | 80 | 80 | 1 | 28 | TRUE | accepted | FALSE | 5 | 710417 | 846 | TRUE | OK | 11 | 84.6 | 84.6
10 | 80 | 80 | 1 | 28 | TRUE | accepted | FALSE | 6 | 710917 | 831 | TRUE | OK | 11 | 83.1 | 83.1
10 | 80 | 80 | 1 | 28 | TRUE | accepted | FALSE | 7 | 711417 | 832 | TRUE | OK | 11 | 83.2 | 83.2
10 | 80 | 80 | 1 | 28 | TRUE | accepted | FALSE | 8 | 711917 | 834 | TRUE | OK | 11 | 83.4 | 83.4
10 | 80 | 80 | 1 | 28 | TRUE | accepted | FALSE | 9 | 712417 | 834 | TRUE | OK | 11 | 83.4 | 83.4
10 | 80 | 80 | 2 | 29 | TRUE | accepted | FALSE | 0 | 719015 | 846 | TRUE | OK | 11 | 84.6 | 84.6
10 | 80 | 80 | 2 | 29 | TRUE | accepted | FALSE | 1 | 719515 | 835 | TRUE | OK | 11 | 83.5 | 83.5
10 | 80 | 80 | 2 | 29 | TRUE | accepted | FALSE | 2 | 720015 | 836 | TRUE | OK | 11 | 83.6 | 83.6
10 | 80 | 80 | 2 | 29 | TRUE | accepted | FALSE | 3 | 720515 | 844 | TRUE | OK | 11 | 84.4 | 84.4
10 | 80 | 80 | 2 | 29 | TRUE | accepted | FALSE | 4 | 721015 | 840 | TRUE | OK | 11 | 84 | 84
10 | 80 | 80 | 2 | 29 | TRUE | accepted | FALSE | 5 | 721515 | 839 | TRUE | OK | 11 | 83.9 | 83.9
10 | 80 | 80 | 2 | 29 | TRUE | accepted | FALSE | 6 | 722015 | 834 | TRUE | OK | 11 | 83.4 | 83.4
10 | 80 | 80 | 2 | 29 | TRUE | accepted | FALSE | 7 | 722515 | 827 | TRUE | OK | 11 | 82.7 | 82.7
10 | 80 | 80 | 2 | 29 | TRUE | accepted | FALSE | 8 | 723015 | 833 | TRUE | OK | 11 | 83.3 | 83.3
10 | 80 | 80 | 2 | 29 | TRUE | accepted | FALSE | 9 | 723515 | 831 | TRUE | OK | 11 | 83.1 | 83.1
10 | 80 | 80 | 3 | 30 | TRUE | accepted | FALSE | 0 | 728891 | 838 | TRUE | OK | 11 | 83.8 | 83.8
10 | 80 | 80 | 3 | 30 | TRUE | accepted | FALSE | 1 | 729391 | 830 | TRUE | OK | 11 | 83 | 83
10 | 80 | 80 | 3 | 30 | TRUE | accepted | FALSE | 2 | 729891 | 840 | TRUE | OK | 11 | 84 | 84
10 | 80 | 80 | 3 | 30 | TRUE | accepted | FALSE | 3 | 730391 | 828 | TRUE | OK | 11 | 82.8 | 82.8
10 | 80 | 80 | 3 | 30 | TRUE | accepted | FALSE | 4 | 730891 | 832 | TRUE | OK | 11 | 83.2 | 83.2
10 | 80 | 80 | 3 | 30 | TRUE | accepted | FALSE | 5 | 731392 | 847 | TRUE | OK | 11 | 84.7 | 84.7
10 | 80 | 80 | 3 | 30 | TRUE | accepted | FALSE | 6 | 731892 | 833 | TRUE | OK | 11 | 83.3 | 83.3
10 | 80 | 80 | 3 | 30 | TRUE | accepted | FALSE | 7 | 732392 | 839 | TRUE | OK | 11 | 83.9 | 83.9
10 | 80 | 80 | 3 | 30 | TRUE | accepted | FALSE | 8 | 732892 | 836 | TRUE | OK | 11 | 83.6 | 83.6
10 | 80 | 80 | 3 | 30 | TRUE | accepted | FALSE | 9 | 733392 | 846 | TRUE | OK | 11 | 84.6 | 84.6
11 | 70 | 70 | 1 | 31 | TRUE | accepted | FALSE | 0 | 752971 | 713 | TRUE | OK | 11 | 71.3 | 71.3
11 | 70 | 70 | 1 | 31 | TRUE | accepted | FALSE | 1 | 753471 | 719 | TRUE | OK | 11 | 71.9 | 71.9
11 | 70 | 70 | 1 | 31 | TRUE | accepted | FALSE | 2 | 753971 | 718 | TRUE | OK | 11 | 71.8 | 71.8
11 | 70 | 70 | 1 | 31 | TRUE | accepted | FALSE | 3 | 754471 | 720 | TRUE | OK | 11 | 72 | 72
11 | 70 | 70 | 1 | 31 | TRUE | accepted | FALSE | 4 | 754971 | 712 | TRUE | OK | 11 | 71.2 | 71.2
11 | 70 | 70 | 1 | 31 | TRUE | accepted | FALSE | 5 | 755471 | 728 | TRUE | OK | 11 | 72.8 | 72.8
11 | 70 | 70 | 1 | 31 | TRUE | accepted | FALSE | 6 | 755971 | 728 | TRUE | OK | 11 | 72.8 | 72.8
11 | 70 | 70 | 1 | 31 | TRUE | accepted | FALSE | 7 | 756471 | 714 | TRUE | OK | 11 | 71.4 | 71.4
11 | 70 | 70 | 1 | 31 | TRUE | accepted | FALSE | 8 | 756971 | 715 | TRUE | OK | 11 | 71.5 | 71.5
11 | 70 | 70 | 1 | 31 | TRUE | accepted | FALSE | 9 | 757471 | 722 | TRUE | OK | 11 | 72.2 | 72.2
11 | 70 | 70 | 2 | 32 | TRUE | accepted | FALSE | 0 | 759967 | 716 | TRUE | OK | 11 | 71.6 | 71.6
11 | 70 | 70 | 2 | 32 | TRUE | accepted | FALSE | 1 | 760467 | 718 | TRUE | OK | 11 | 71.8 | 71.8
11 | 70 | 70 | 2 | 32 | TRUE | accepted | FALSE | 2 | 760967 | 723 | TRUE | OK | 11 | 72.3 | 72.3
11 | 70 | 70 | 2 | 32 | TRUE | accepted | FALSE | 3 | 761467 | 723 | TRUE | OK | 11 | 72.3 | 72.3
11 | 70 | 70 | 2 | 32 | TRUE | accepted | FALSE | 4 | 761967 | 720 | TRUE | OK | 11 | 72 | 72
11 | 70 | 70 | 2 | 32 | TRUE | accepted | FALSE | 5 | 762467 | 718 | TRUE | OK | 11 | 71.8 | 71.8
11 | 70 | 70 | 2 | 32 | TRUE | accepted | FALSE | 6 | 762967 | 719 | TRUE | OK | 11 | 71.9 | 71.9
11 | 70 | 70 | 2 | 32 | TRUE | accepted | FALSE | 7 | 763467 | 728 | TRUE | OK | 11 | 72.8 | 72.8
11 | 70 | 70 | 2 | 32 | TRUE | accepted | FALSE | 8 | 763967 | 718 | TRUE | OK | 11 | 71.8 | 71.8
11 | 70 | 70 | 2 | 32 | TRUE | accepted | FALSE | 9 | 764467 | 717 | TRUE | OK | 11 | 71.7 | 71.7
11 | 70 | 70 | 3 | 33 | TRUE | accepted | FALSE | 0 | 766577 | 722 | TRUE | OK | 11 | 72.2 | 72.2
11 | 70 | 70 | 3 | 33 | TRUE | accepted | FALSE | 1 | 767077 | 721 | TRUE | OK | 11 | 72.1 | 72.1
11 | 70 | 70 | 3 | 33 | TRUE | accepted | FALSE | 2 | 767577 | 728 | TRUE | OK | 11 | 72.8 | 72.8
11 | 70 | 70 | 3 | 33 | TRUE | accepted | FALSE | 3 | 768077 | 716 | TRUE | OK | 11 | 71.6 | 71.6
11 | 70 | 70 | 3 | 33 | TRUE | accepted | FALSE | 4 | 768577 | 718 | TRUE | OK | 11 | 71.8 | 71.8
11 | 70 | 70 | 3 | 33 | TRUE | accepted | FALSE | 5 | 769077 | 710 | TRUE | OK | 11 | 71 | 71
11 | 70 | 70 | 3 | 33 | TRUE | accepted | FALSE | 6 | 769577 | 716 | TRUE | OK | 11 | 71.6 | 71.6
11 | 70 | 70 | 3 | 33 | TRUE | accepted | FALSE | 7 | 770077 | 717 | TRUE | OK | 11 | 71.7 | 71.7
11 | 70 | 70 | 3 | 33 | TRUE | accepted | FALSE | 8 | 770577 | 716 | TRUE | OK | 11 | 71.6 | 71.6
11 | 70 | 70 | 3 | 33 | TRUE | accepted | FALSE | 9 | 771077 | 717 | TRUE | OK | 11 | 71.7 | 71.7
12 | 60 | 60 | 1 | 34 | TRUE | accepted | FALSE | 0 | 804162 | 623 | TRUE | OK | 11 | 62.3 | 62.3
12 | 60 | 60 | 1 | 34 | TRUE | accepted | FALSE | 1 | 804662 | 625 | TRUE | OK | 11 | 62.5 | 62.5
12 | 60 | 60 | 1 | 34 | TRUE | accepted | FALSE | 2 | 805163 | 630 | TRUE | OK | 11 | 63 | 63
12 | 60 | 60 | 1 | 34 | TRUE | accepted | FALSE | 3 | 805663 | 619 | TRUE | OK | 11 | 61.9 | 61.9
12 | 60 | 60 | 1 | 34 | TRUE | accepted | FALSE | 4 | 806163 | 618 | TRUE | OK | 11 | 61.8 | 61.8
12 | 60 | 60 | 1 | 34 | TRUE | accepted | FALSE | 5 | 806663 | 621 | TRUE | OK | 11 | 62.1 | 62.1
12 | 60 | 60 | 1 | 34 | TRUE | accepted | FALSE | 6 | 807163 | 628 | TRUE | OK | 11 | 62.8 | 62.8
12 | 60 | 60 | 1 | 34 | TRUE | accepted | FALSE | 7 | 807663 | 623 | TRUE | OK | 11 | 62.3 | 62.3
12 | 60 | 60 | 1 | 34 | TRUE | accepted | FALSE | 8 | 808163 | 622 | TRUE | OK | 11 | 62.2 | 62.2
12 | 60 | 60 | 1 | 34 | TRUE | accepted | FALSE | 9 | 808663 | 621 | TRUE | OK | 11 | 62.1 | 62.1
12 | 60 | 60 | 2 | 35 | TRUE | accepted | FALSE | 0 | 815865 | 629 | TRUE | OK | 11 | 62.9 | 62.9
12 | 60 | 60 | 2 | 35 | TRUE | accepted | FALSE | 1 | 816365 | 620 | TRUE | OK | 11 | 62 | 62
12 | 60 | 60 | 2 | 35 | TRUE | accepted | FALSE | 2 | 816865 | 617 | TRUE | OK | 11 | 61.7 | 61.7
12 | 60 | 60 | 2 | 35 | TRUE | accepted | FALSE | 3 | 817366 | 620 | TRUE | OK | 11 | 62 | 62
12 | 60 | 60 | 2 | 35 | TRUE | accepted | FALSE | 4 | 817866 | 625 | TRUE | OK | 11 | 62.5 | 62.5
12 | 60 | 60 | 2 | 35 | TRUE | accepted | FALSE | 5 | 818366 | 621 | TRUE | OK | 11 | 62.1 | 62.1
12 | 60 | 60 | 2 | 35 | TRUE | accepted | FALSE | 6 | 818866 | 622 | TRUE | OK | 11 | 62.2 | 62.2
12 | 60 | 60 | 2 | 35 | TRUE | accepted | FALSE | 7 | 819366 | 622 | TRUE | OK | 11 | 62.2 | 62.2
12 | 60 | 60 | 2 | 35 | TRUE | accepted | FALSE | 8 | 819866 | 618 | TRUE | OK | 11 | 61.8 | 61.8
12 | 60 | 60 | 2 | 35 | TRUE | accepted | FALSE | 9 | 820366 | 632 | TRUE | OK | 11 | 63.2 | 63.2
12 | 60 | 60 | 3 | 36 | TRUE | accepted | FALSE | 0 | 834785 | 623 | TRUE | OK | 11 | 62.3 | 62.3
12 | 60 | 60 | 3 | 36 | TRUE | accepted | FALSE | 1 | 835286 | 620 | TRUE | OK | 11 | 62 | 62
12 | 60 | 60 | 3 | 36 | TRUE | accepted | FALSE | 2 | 835786 | 621 | TRUE | OK | 11 | 62.1 | 62.1
12 | 60 | 60 | 3 | 36 | TRUE | accepted | FALSE | 3 | 836286 | 622 | TRUE | OK | 11 | 62.2 | 62.2
12 | 60 | 60 | 3 | 36 | TRUE | accepted | FALSE | 4 | 836786 | 623 | TRUE | OK | 11 | 62.3 | 62.3
12 | 60 | 60 | 3 | 36 | TRUE | accepted | FALSE | 5 | 837286 | 622 | TRUE | OK | 11 | 62.2 | 62.2
12 | 60 | 60 | 3 | 36 | TRUE | accepted | FALSE | 6 | 837786 | 625 | TRUE | OK | 11 | 62.5 | 62.5
12 | 60 | 60 | 3 | 36 | TRUE | accepted | FALSE | 7 | 838286 | 632 | TRUE | OK | 11 | 63.2 | 63.2
12 | 60 | 60 | 3 | 36 | TRUE | accepted | FALSE | 8 | 838786 | 625 | TRUE | OK | 11 | 62.5 | 62.5
12 | 60 | 60 | 3 | 36 | TRUE | accepted | FALSE | 9 | 839286 | 620 | TRUE | OK | 11 | 62 | 62
13 | 50 | 50 | 1 | 37 | TRUE | accepted | FALSE | 0 | 864294 | 515 | TRUE | OK | 11 | 51.5 | 51.5
13 | 50 | 50 | 1 | 37 | TRUE | accepted | FALSE | 1 | 864794 | 512 | TRUE | OK | 11 | 51.2 | 51.2
13 | 50 | 50 | 1 | 37 | TRUE | accepted | FALSE | 2 | 865294 | 516 | TRUE | OK | 11 | 51.6 | 51.6
13 | 50 | 50 | 1 | 37 | TRUE | accepted | FALSE | 3 | 865794 | 512 | TRUE | OK | 11 | 51.2 | 51.2
13 | 50 | 50 | 1 | 37 | TRUE | accepted | FALSE | 4 | 866294 | 516 | TRUE | OK | 11 | 51.6 | 51.6
13 | 50 | 50 | 1 | 37 | TRUE | accepted | FALSE | 5 | 866794 | 510 | TRUE | OK | 11 | 51 | 51
13 | 50 | 50 | 1 | 37 | TRUE | accepted | FALSE | 6 | 867294 | 513 | TRUE | OK | 11 | 51.3 | 51.3
13 | 50 | 50 | 1 | 37 | TRUE | accepted | FALSE | 7 | 867794 | 512 | TRUE | OK | 11 | 51.2 | 51.2
13 | 50 | 50 | 1 | 37 | TRUE | accepted | FALSE | 8 | 868294 | 510 | TRUE | OK | 11 | 51 | 51
13 | 50 | 50 | 1 | 37 | TRUE | accepted | FALSE | 9 | 868794 | 509 | TRUE | OK | 11 | 50.9 | 50.9
13 | 50 | 50 | 2 | 38 | TRUE | accepted | FALSE | 0 | 887373 | 518 | TRUE | OK | 11 | 51.8 | 51.8
13 | 50 | 50 | 2 | 38 | TRUE | accepted | FALSE | 1 | 887873 | 524 | TRUE | OK | 11 | 52.4 | 52.4
13 | 50 | 50 | 2 | 38 | TRUE | accepted | FALSE | 2 | 888373 | 517 | TRUE | OK | 11 | 51.7 | 51.7
13 | 50 | 50 | 2 | 38 | TRUE | accepted | FALSE | 3 | 888873 | 520 | TRUE | OK | 11 | 52 | 52
13 | 50 | 50 | 2 | 38 | TRUE | accepted | FALSE | 4 | 889373 | 514 | TRUE | OK | 11 | 51.4 | 51.4
13 | 50 | 50 | 2 | 38 | TRUE | accepted | FALSE | 5 | 889873 | 520 | TRUE | OK | 11 | 52 | 52
13 | 50 | 50 | 2 | 38 | TRUE | accepted | FALSE | 6 | 890373 | 514 | TRUE | OK | 11 | 51.4 | 51.4
13 | 50 | 50 | 2 | 38 | TRUE | accepted | FALSE | 7 | 890873 | 515 | TRUE | OK | 11 | 51.5 | 51.5
13 | 50 | 50 | 2 | 38 | TRUE | accepted | FALSE | 8 | 891373 | 515 | TRUE | OK | 11 | 51.5 | 51.5
13 | 50 | 50 | 2 | 38 | TRUE | accepted | FALSE | 9 | 891873 | 508 | TRUE | OK | 11 | 50.8 | 50.8
13 | 50 | 50 | 3 | 39 | TRUE | accepted | FALSE | 0 | 905812 | 510 | TRUE | OK | 11 | 51 | 51
13 | 50 | 50 | 3 | 39 | TRUE | accepted | FALSE | 1 | 906312 | 512 | TRUE | OK | 11 | 51.2 | 51.2
13 | 50 | 50 | 3 | 39 | TRUE | accepted | FALSE | 2 | 906812 | 511 | TRUE | OK | 11 | 51.1 | 51.1
13 | 50 | 50 | 3 | 39 | TRUE | accepted | FALSE | 3 | 907312 | 516 | TRUE | OK | 11 | 51.6 | 51.6
13 | 50 | 50 | 3 | 39 | TRUE | accepted | FALSE | 4 | 907812 | 513 | TRUE | OK | 11 | 51.3 | 51.3
13 | 50 | 50 | 3 | 39 | TRUE | accepted | FALSE | 5 | 908312 | 514 | TRUE | OK | 11 | 51.4 | 51.4
13 | 50 | 50 | 3 | 39 | TRUE | accepted | FALSE | 6 | 908812 | 517 | TRUE | OK | 11 | 51.7 | 51.7
13 | 50 | 50 | 3 | 39 | TRUE | accepted | FALSE | 7 | 909312 | 509 | TRUE | OK | 11 | 50.9 | 50.9
13 | 50 | 50 | 3 | 39 | TRUE | accepted | FALSE | 8 | 909812 | 513 | TRUE | OK | 11 | 51.3 | 51.3
13 | 50 | 50 | 3 | 39 | TRUE | accepted | FALSE | 9 | 910312 | 517 | TRUE | OK | 11 | 51.7 | 51.7
14 | 40 | 40 | 1 | 40 | TRUE | accepted | FALSE | 0 | 933568 | 421 | TRUE | OK | 11 | 42.1 | 42.1
14 | 40 | 40 | 1 | 40 | TRUE | accepted | FALSE | 1 | 934068 | 414 | TRUE | OK | 11 | 41.4 | 41.4
14 | 40 | 40 | 1 | 40 | TRUE | accepted | FALSE | 2 | 934568 | 419 | TRUE | OK | 11 | 41.9 | 41.9
14 | 40 | 40 | 1 | 40 | TRUE | accepted | FALSE | 3 | 935068 | 414 | TRUE | OK | 11 | 41.4 | 41.4
14 | 40 | 40 | 1 | 40 | TRUE | accepted | FALSE | 4 | 935568 | 420 | TRUE | OK | 11 | 42 | 42
14 | 40 | 40 | 1 | 40 | TRUE | accepted | FALSE | 5 | 936068 | 419 | TRUE | OK | 11 | 41.9 | 41.9
14 | 40 | 40 | 1 | 40 | TRUE | accepted | FALSE | 6 | 936568 | 421 | TRUE | OK | 11 | 42.1 | 42.1
14 | 40 | 40 | 1 | 40 | TRUE | accepted | FALSE | 7 | 937068 | 420 | TRUE | OK | 11 | 42 | 42
14 | 40 | 40 | 1 | 40 | TRUE | accepted | FALSE | 8 | 937568 | 417 | TRUE | OK | 11 | 41.7 | 41.7
14 | 40 | 40 | 1 | 40 | TRUE | accepted | FALSE | 9 | 938068 | 423 | TRUE | OK | 11 | 42.3 | 42.3
14 | 40 | 40 | 2 | 41 | TRUE | accepted | FALSE | 0 | 943861 | 420 | TRUE | OK | 11 | 42 | 42
14 | 40 | 40 | 2 | 41 | TRUE | accepted | FALSE | 1 | 944361 | 421 | TRUE | OK | 11 | 42.1 | 42.1
14 | 40 | 40 | 2 | 41 | TRUE | accepted | FALSE | 2 | 944861 | 421 | TRUE | OK | 11 | 42.1 | 42.1
14 | 40 | 40 | 2 | 41 | TRUE | accepted | FALSE | 3 | 945361 | 417 | TRUE | OK | 11 | 41.7 | 41.7
14 | 40 | 40 | 2 | 41 | TRUE | accepted | FALSE | 4 | 945861 | 419 | TRUE | OK | 11 | 41.9 | 41.9
14 | 40 | 40 | 2 | 41 | TRUE | accepted | FALSE | 5 | 946361 | 420 | TRUE | OK | 11 | 42 | 42
14 | 40 | 40 | 2 | 41 | TRUE | accepted | FALSE | 6 | 946861 | 419 | TRUE | OK | 11 | 41.9 | 41.9
14 | 40 | 40 | 2 | 41 | TRUE | accepted | FALSE | 7 | 947361 | 420 | TRUE | OK | 11 | 42 | 42
14 | 40 | 40 | 2 | 41 | TRUE | accepted | FALSE | 8 | 947861 | 423 | TRUE | OK | 11 | 42.3 | 42.3
14 | 40 | 40 | 2 | 41 | TRUE | accepted | FALSE | 9 | 948361 | 419 | TRUE | OK | 11 | 41.9 | 41.9
14 | 40 | 40 | 3 | 42 | TRUE | accepted | FALSE | 0 | 952278 | 419 | TRUE | OK | 11 | 41.9 | 41.9
14 | 40 | 40 | 3 | 42 | TRUE | accepted | FALSE | 1 | 952778 | 414 | TRUE | OK | 11 | 41.4 | 41.4
14 | 40 | 40 | 3 | 42 | TRUE | accepted | FALSE | 2 | 953278 | 420 | TRUE | OK | 11 | 42 | 42
14 | 40 | 40 | 3 | 42 | TRUE | accepted | FALSE | 3 | 953778 | 419 | TRUE | OK | 11 | 41.9 | 41.9
14 | 40 | 40 | 3 | 42 | TRUE | accepted | FALSE | 4 | 954278 | 418 | TRUE | OK | 11 | 41.8 | 41.8
14 | 40 | 40 | 3 | 42 | TRUE | accepted | FALSE | 5 | 954778 | 419 | TRUE | OK | 11 | 41.9 | 41.9
14 | 40 | 40 | 3 | 42 | TRUE | accepted | FALSE | 6 | 955278 | 415 | TRUE | OK | 11 | 41.5 | 41.5
14 | 40 | 40 | 3 | 42 | TRUE | accepted | FALSE | 7 | 955778 | 416 | TRUE | OK | 11 | 41.6 | 41.6
14 | 40 | 40 | 3 | 42 | TRUE | accepted | FALSE | 8 | 956278 | 416 | TRUE | OK | 11 | 41.6 | 41.6
14 | 40 | 40 | 3 | 42 | TRUE | accepted | FALSE | 9 | 956778 | 426 | TRUE | OK | 11 | 42.6 | 42.6
15 | 30 | 30 | 1 | 43 | TRUE | accepted | FALSE | 0 | 981419 | 316 | TRUE | OK | 11 | 31.6 | 31.6
15 | 30 | 30 | 1 | 43 | TRUE | accepted | FALSE | 1 | 981919 | 321 | TRUE | OK | 11 | 32.1 | 32.1
15 | 30 | 30 | 1 | 43 | TRUE | accepted | FALSE | 2 | 982419 | 321 | TRUE | OK | 11 | 32.1 | 32.1
15 | 30 | 30 | 1 | 43 | TRUE | accepted | FALSE | 3 | 982919 | 322 | TRUE | OK | 11 | 32.2 | 32.2
15 | 30 | 30 | 1 | 43 | TRUE | accepted | FALSE | 4 | 983419 | 321 | TRUE | OK | 11 | 32.1 | 32.1
15 | 30 | 30 | 1 | 43 | TRUE | accepted | FALSE | 5 | 983919 | 319 | TRUE | OK | 11 | 31.9 | 31.9
15 | 30 | 30 | 1 | 43 | TRUE | accepted | FALSE | 6 | 984419 | 318 | TRUE | OK | 11 | 31.8 | 31.8
15 | 30 | 30 | 1 | 43 | TRUE | accepted | FALSE | 7 | 984919 | 319 | TRUE | OK | 11 | 31.9 | 31.9
15 | 30 | 30 | 1 | 43 | TRUE | accepted | FALSE | 8 | 985419 | 323 | TRUE | OK | 11 | 32.3 | 32.3
15 | 30 | 30 | 1 | 43 | TRUE | accepted | FALSE | 9 | 985919 | 320 | TRUE | OK | 11 | 32 | 32
15 | 30 | 30 | 2 | 44 | TRUE | accepted | FALSE | 0 | 989707 | 323 | TRUE | OK | 11 | 32.3 | 32.3
15 | 30 | 30 | 2 | 44 | TRUE | accepted | FALSE | 1 | 990208 | 319 | TRUE | OK | 11 | 31.9 | 31.9
15 | 30 | 30 | 2 | 44 | TRUE | accepted | FALSE | 2 | 990708 | 323 | TRUE | OK | 11 | 32.3 | 32.3
15 | 30 | 30 | 2 | 44 | TRUE | accepted | FALSE | 3 | 991208 | 320 | TRUE | OK | 11 | 32 | 32
15 | 30 | 30 | 2 | 44 | TRUE | accepted | FALSE | 4 | 991708 | 320 | TRUE | OK | 11 | 32 | 32
15 | 30 | 30 | 2 | 44 | TRUE | accepted | FALSE | 5 | 992208 | 322 | TRUE | OK | 11 | 32.2 | 32.2
15 | 30 | 30 | 2 | 44 | TRUE | accepted | FALSE | 6 | 992708 | 316 | TRUE | OK | 11 | 31.6 | 31.6
15 | 30 | 30 | 2 | 44 | TRUE | accepted | FALSE | 7 | 993208 | 320 | TRUE | OK | 11 | 32 | 32
15 | 30 | 30 | 2 | 44 | TRUE | accepted | FALSE | 8 | 993708 | 320 | TRUE | OK | 11 | 32 | 32
15 | 30 | 30 | 2 | 44 | TRUE | accepted | FALSE | 9 | 994208 | 321 | TRUE | OK | 11 | 32.1 | 32.1
15 | 30 | 30 | 3 | 45 | TRUE | accepted | FALSE | 0 | 998847 | 317 | TRUE | OK | 11 | 31.7 | 31.7
15 | 30 | 30 | 3 | 45 | TRUE | accepted | FALSE | 1 | 999347 | 322 | TRUE | OK | 11 | 32.2 | 32.2
15 | 30 | 30 | 3 | 45 | TRUE | accepted | FALSE | 2 | 999847 | 321 | TRUE | OK | 11 | 32.1 | 32.1
15 | 30 | 30 | 3 | 45 | TRUE | accepted | FALSE | 3 | 1000347 | 324 | TRUE | OK | 11 | 32.4 | 32.4
15 | 30 | 30 | 3 | 45 | TRUE | accepted | FALSE | 4 | 1000847 | 320 | TRUE | OK | 11 | 32 | 32
15 | 30 | 30 | 3 | 45 | TRUE | accepted | FALSE | 5 | 1001347 | 317 | TRUE | OK | 11 | 31.7 | 31.7
15 | 30 | 30 | 3 | 45 | TRUE | accepted | FALSE | 6 | 1001847 | 320 | TRUE | OK | 11 | 32 | 32
15 | 30 | 30 | 3 | 45 | TRUE | accepted | FALSE | 7 | 1002347 | 316 | TRUE | OK | 11 | 31.6 | 31.6
15 | 30 | 30 | 3 | 45 | TRUE | accepted | FALSE | 8 | 1002847 | 320 | TRUE | OK | 11 | 32 | 32
15 | 30 | 30 | 3 | 45 | TRUE | accepted | FALSE | 9 | 1003347 | 323 | TRUE | OK | 11 | 32.3 | 32.3
16 | 20 | 20 | 1 | 46 | TRUE | accepted | FALSE | 0 | 1039880 | 228 | TRUE | OK | 11 | 22.8 | 22.8
16 | 20 | 20 | 1 | 46 | TRUE | accepted | FALSE | 1 | 1040380 | 226 | TRUE | OK | 11 | 22.6 | 22.6
16 | 20 | 20 | 1 | 46 | TRUE | accepted | FALSE | 2 | 1040880 | 227 | TRUE | OK | 11 | 22.7 | 22.7
16 | 20 | 20 | 1 | 46 | TRUE | accepted | FALSE | 3 | 1041380 | 224 | TRUE | OK | 11 | 22.4 | 22.4
16 | 20 | 20 | 1 | 46 | TRUE | accepted | FALSE | 4 | 1041880 | 228 | TRUE | OK | 11 | 22.8 | 22.8
16 | 20 | 20 | 1 | 46 | TRUE | accepted | FALSE | 5 | 1042380 | 230 | TRUE | OK | 11 | 23 | 23
16 | 20 | 20 | 1 | 46 | TRUE | accepted | FALSE | 6 | 1042880 | 232 | TRUE | OK | 11 | 23.2 | 23.2
16 | 20 | 20 | 1 | 46 | TRUE | accepted | FALSE | 7 | 1043380 | 228 | TRUE | OK | 11 | 22.8 | 22.8
16 | 20 | 20 | 1 | 46 | TRUE | accepted | FALSE | 8 | 1043880 | 227 | TRUE | OK | 11 | 22.7 | 22.7
16 | 20 | 20 | 1 | 46 | TRUE | accepted | FALSE | 9 | 1044380 | 227 | TRUE | OK | 11 | 22.7 | 22.7
16 | 20 | 20 | 2 | 47 | TRUE | accepted | FALSE | 0 | 1049900 | 227 | TRUE | OK | 11 | 22.7 | 22.7
16 | 20 | 20 | 2 | 47 | TRUE | accepted | FALSE | 1 | 1050400 | 228 | TRUE | OK | 11 | 22.8 | 22.8
16 | 20 | 20 | 2 | 47 | TRUE | accepted | FALSE | 2 | 1050900 | 228 | TRUE | OK | 11 | 22.8 | 22.8
16 | 20 | 20 | 2 | 47 | TRUE | accepted | FALSE | 3 | 1051400 | 227 | TRUE | OK | 11 | 22.7 | 22.7
16 | 20 | 20 | 2 | 47 | TRUE | accepted | FALSE | 4 | 1051900 | 225 | TRUE | OK | 11 | 22.5 | 22.5
16 | 20 | 20 | 2 | 47 | TRUE | accepted | FALSE | 5 | 1052400 | 227 | TRUE | OK | 11 | 22.7 | 22.7
16 | 20 | 20 | 2 | 47 | TRUE | accepted | FALSE | 6 | 1052900 | 225 | TRUE | OK | 11 | 22.5 | 22.5
16 | 20 | 20 | 2 | 47 | TRUE | accepted | FALSE | 7 | 1053400 | 227 | TRUE | OK | 11 | 22.7 | 22.7
16 | 20 | 20 | 2 | 47 | TRUE | accepted | FALSE | 8 | 1053900 | 224 | TRUE | OK | 11 | 22.4 | 22.4
16 | 20 | 20 | 2 | 47 | TRUE | accepted | FALSE | 9 | 1054400 | 228 | TRUE | OK | 11 | 22.8 | 22.8
16 | 20 | 20 | 3 | 48 | TRUE | accepted | FALSE | 0 | 1059379 | 228 | TRUE | OK | 11 | 22.8 | 22.8
16 | 20 | 20 | 3 | 48 | TRUE | accepted | FALSE | 1 | 1059879 | 228 | TRUE | OK | 11 | 22.8 | 22.8
16 | 20 | 20 | 3 | 48 | TRUE | accepted | FALSE | 2 | 1060379 | 226 | TRUE | OK | 11 | 22.6 | 22.6
16 | 20 | 20 | 3 | 48 | TRUE | accepted | FALSE | 3 | 1060879 | 223 | TRUE | OK | 11 | 22.3 | 22.3
16 | 20 | 20 | 3 | 48 | TRUE | accepted | FALSE | 4 | 1061379 | 225 | TRUE | OK | 11 | 22.5 | 22.5
16 | 20 | 20 | 3 | 48 | TRUE | accepted | FALSE | 5 | 1061879 | 226 | TRUE | OK | 11 | 22.6 | 22.6
16 | 20 | 20 | 3 | 48 | TRUE | accepted | FALSE | 6 | 1062379 | 226 | TRUE | OK | 11 | 22.6 | 22.6
16 | 20 | 20 | 3 | 48 | TRUE | accepted | FALSE | 7 | 1062879 | 224 | TRUE | OK | 11 | 22.4 | 22.4
16 | 20 | 20 | 3 | 48 | TRUE | accepted | FALSE | 8 | 1063379 | 224 | TRUE | OK | 11 | 22.4 | 22.4
16 | 20 | 20 | 3 | 48 | TRUE | accepted | FALSE | 9 | 1063879 | 226 | TRUE | OK | 11 | 22.6 | 22.6

## Captures
point_index | point_id | target_cm | actual_cm | repeat | capture_id | decision | included | complete | samples | valid_samples | requested_samples | period_ms | settle_ms | raw_min | raw_mean | raw_max | raw_std | raw_cm_min | raw_cm_mean | raw_cm_max | raw_cm_std | calibrated_cm_min | calibrated_cm_mean | calibrated_cm_max | calibrated_cm_std | voltage_min | voltage_mean | voltage_max | voltage_std
1 | 955a29c8fc8f48d6ac156793464ac0b9 | 170 | 170 | 1 | 1 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1737 | 1761 | 1800 | 20.7418 | 173.7 | 176.1 | 180 | 2.0742 | 173.7 | 176.1 | 180 | 2.0742
1 | 955a29c8fc8f48d6ac156793464ac0b9 | 170 | 170 | 2 | 2 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1764 | 1775.1 | 1808 | 12.3149 | 176.4 | 177.51 | 180.8 | 1.2315 | 176.4 | 177.51 | 180.8 | 1.2315
1 | 955a29c8fc8f48d6ac156793464ac0b9 | 170 | 170 | 3 | 3 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1749 | 1760.8 | 1776 | 9.5893 | 174.9 | 176.08 | 177.6 | 0.95893 | 174.9 | 176.08 | 177.6 | 0.95893
2 | 273da2de441242679464f48a2a942363 | 160 | 160 | 1 | 4 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1634 | 1659.4 | 1686 | 18.3376 | 163.4 | 165.94 | 168.6 | 1.8338 | 163.4 | 165.94 | 168.6 | 1.8338
2 | 273da2de441242679464f48a2a942363 | 160 | 160 | 2 | 5 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1635 | 1659.8 | 1671 | 10.2176 | 163.5 | 165.98 | 167.1 | 1.0218 | 163.5 | 165.98 | 167.1 | 1.0218
2 | 273da2de441242679464f48a2a942363 | 160 | 160 | 3 | 6 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1641 | 1660.4 | 1674 | 10.0576 | 164.1 | 166.04 | 167.4 | 1.0058 | 164.1 | 166.04 | 167.4 | 1.0058
3 | ce2a433f4f2b45568c532248fadc8ac5 | 150 | 150 | 1 | 7 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1539 | 1553.7 | 1571 | 10.4462 | 153.9 | 155.37 | 157.1 | 1.0446 | 153.9 | 155.37 | 157.1 | 1.0446
3 | ce2a433f4f2b45568c532248fadc8ac5 | 150 | 150 | 2 | 8 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1534 | 1558.9 | 1589 | 16.0586 | 153.4 | 155.89 | 158.9 | 1.6059 | 153.4 | 155.89 | 158.9 | 1.6059
3 | ce2a433f4f2b45568c532248fadc8ac5 | 150 | 150 | 3 | 9 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1529 | 1552.6 | 1577 | 17.5132 | 152.9 | 155.26 | 157.7 | 1.7513 | 152.9 | 155.26 | 157.7 | 1.7513
4 | 2a5d6b27fb94417692a620b764e55603 | 140 | 140 | 1 | 10 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1440 | 1458.8 | 1485 | 14.6348 | 144 | 145.88 | 148.5 | 1.4635 | 144 | 145.88 | 148.5 | 1.4635
4 | 2a5d6b27fb94417692a620b764e55603 | 140 | 140 | 2 | 11 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1430 | 1455.4 | 1475 | 15.5005 | 143 | 145.54 | 147.5 | 1.5501 | 143 | 145.54 | 147.5 | 1.5501
4 | 2a5d6b27fb94417692a620b764e55603 | 140 | 140 | 3 | 12 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1433 | 1453 | 1484 | 14.8847 | 143.3 | 145.3 | 148.4 | 1.4885 | 143.3 | 145.3 | 148.4 | 1.4885
5 | 53a54709c443466985a4de8c6ca44395 | 130 | 130 | 1 | 13 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1328 | 1347.9 | 1370 | 10.4929 | 132.8 | 134.79 | 137 | 1.0493 | 132.8 | 134.79 | 137 | 1.0493
5 | 53a54709c443466985a4de8c6ca44395 | 130 | 130 | 2 | 14 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1323 | 1343.4 | 1358 | 10.2545 | 132.3 | 134.34 | 135.8 | 1.0255 | 132.3 | 134.34 | 135.8 | 1.0255
5 | 53a54709c443466985a4de8c6ca44395 | 130 | 130 | 3 | 15 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1334 | 1344.2 | 1367 | 9.886 | 133.4 | 134.42 | 136.7 | 0.9886 | 133.4 | 134.42 | 136.7 | 0.9886
6 | 4fba6eb0bda24fa8a801d535fc9e7df0 | 120 | 120 | 1 | 16 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1229 | 1245.3 | 1266 | 11.8514 | 122.9 | 124.53 | 126.6 | 1.1851 | 122.9 | 124.53 | 126.6 | 1.1851
6 | 4fba6eb0bda24fa8a801d535fc9e7df0 | 120 | 120 | 2 | 17 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1230 | 1243.7 | 1267 | 10.2095 | 123 | 124.37 | 126.7 | 1.0209 | 123 | 124.37 | 126.7 | 1.0209
6 | 4fba6eb0bda24fa8a801d535fc9e7df0 | 120 | 120 | 3 | 18 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1232 | 1244.5 | 1270 | 11.3944 | 123.2 | 124.45 | 127 | 1.1394 | 123.2 | 124.45 | 127 | 1.1394
7 | 95ff2e281a244495ac4f16fbd216c46c | 110 | 110 | 1 | 19 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1124 | 1132.6 | 1138 | 4.6952 | 112.4 | 113.26 | 113.8 | 0.46952 | 112.4 | 113.26 | 113.8 | 0.46952
7 | 95ff2e281a244495ac4f16fbd216c46c | 110 | 110 | 2 | 20 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1125 | 1134.2 | 1153 | 8.8669 | 112.5 | 113.42 | 115.3 | 0.88669 | 112.5 | 113.42 | 115.3 | 0.88669
7 | 95ff2e281a244495ac4f16fbd216c46c | 110 | 110 | 3 | 21 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1122 | 1131.1 | 1143 | 6.1001 | 112.2 | 113.11 | 114.3 | 0.61001 | 112.2 | 113.11 | 114.3 | 0.61001
8 | 829bc3e43b244bd5b7cca393f216ee62 | 100 | 100 | 1 | 22 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1030 | 1040.9 | 1048 | 6.5735 | 103 | 104.09 | 104.8 | 0.65735 | 103 | 104.09 | 104.8 | 0.65735
8 | 829bc3e43b244bd5b7cca393f216ee62 | 100 | 100 | 2 | 23 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1032 | 1040.7 | 1049 | 5.5187 | 103.2 | 104.07 | 104.9 | 0.55187 | 103.2 | 104.07 | 104.9 | 0.55187
8 | 829bc3e43b244bd5b7cca393f216ee62 | 100 | 100 | 3 | 24 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 1030 | 1039.9 | 1052 | 6.2441 | 103 | 103.99 | 105.2 | 0.62441 | 103 | 103.99 | 105.2 | 0.62441
9 | 85a58dcba60f454cb985f39d6ec3c8eb | 90 | 90 | 1 | 25 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 931 | 939.5 | 948 | 6.1509 | 93.1 | 93.95 | 94.8 | 0.61509 | 93.1 | 93.95 | 94.8 | 0.61509
9 | 85a58dcba60f454cb985f39d6ec3c8eb | 90 | 90 | 2 | 26 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 935 | 943.8 | 960 | 6.7791 | 93.5 | 94.38 | 96 | 0.67791 | 93.5 | 94.38 | 96 | 0.67791
9 | 85a58dcba60f454cb985f39d6ec3c8eb | 90 | 90 | 3 | 27 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 935 | 940.9 | 949 | 4.6056 | 93.5 | 94.09 | 94.9 | 0.46056 | 93.5 | 94.09 | 94.9 | 0.46056
10 | 6be49ac1ea79445a890de4be01f6dfcb | 80 | 80 | 1 | 28 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 823 | 833.2 | 846 | 7.3606 | 82.3 | 83.32 | 84.6 | 0.73606 | 82.3 | 83.32 | 84.6 | 0.73606
10 | 6be49ac1ea79445a890de4be01f6dfcb | 80 | 80 | 2 | 29 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 827 | 836.5 | 846 | 5.8357 | 82.7 | 83.65 | 84.6 | 0.58357 | 82.7 | 83.65 | 84.6 | 0.58357
10 | 6be49ac1ea79445a890de4be01f6dfcb | 80 | 80 | 3 | 30 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 828 | 836.9 | 847 | 6.3849 | 82.8 | 83.69 | 84.7 | 0.63849 | 82.8 | 83.69 | 84.7 | 0.63849
11 | f54c9fa4e5734cb39b1462bcbc347087 | 70 | 70 | 1 | 31 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 712 | 718.9 | 728 | 5.7629 | 71.2 | 71.89 | 72.8 | 0.57629 | 71.2 | 71.89 | 72.8 | 0.57629
11 | f54c9fa4e5734cb39b1462bcbc347087 | 70 | 70 | 2 | 32 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 716 | 720 | 728 | 3.6515 | 71.6 | 72 | 72.8 | 0.36515 | 71.6 | 72 | 72.8 | 0.36515
11 | f54c9fa4e5734cb39b1462bcbc347087 | 70 | 70 | 3 | 33 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 710 | 718.1 | 728 | 4.7481 | 71 | 71.81 | 72.8 | 0.47481 | 71 | 71.81 | 72.8 | 0.47481
12 | c60f2728d3c74f4c8e2e83da38db9f4b | 60 | 60 | 1 | 34 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 618 | 623 | 630 | 3.7712 | 61.8 | 62.3 | 63 | 0.37712 | 61.8 | 62.3 | 63 | 0.37712
12 | c60f2728d3c74f4c8e2e83da38db9f4b | 60 | 60 | 2 | 35 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 617 | 622.6 | 632 | 4.7656 | 61.7 | 62.26 | 63.2 | 0.47656 | 61.7 | 62.26 | 63.2 | 0.47656
12 | c60f2728d3c74f4c8e2e83da38db9f4b | 60 | 60 | 3 | 36 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 620 | 623.3 | 632 | 3.5292 | 62 | 62.33 | 63.2 | 0.35292 | 62 | 62.33 | 63.2 | 0.35292
13 | f22475dc092d43a1927ccaebd23fb48e | 50 | 50 | 1 | 37 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 509 | 512.5 | 516 | 2.5055 | 50.9 | 51.25 | 51.6 | 0.25055 | 50.9 | 51.25 | 51.6 | 0.25055
13 | f22475dc092d43a1927ccaebd23fb48e | 50 | 50 | 2 | 38 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 508 | 516.5 | 524 | 4.378 | 50.8 | 51.65 | 52.4 | 0.4378 | 50.8 | 51.65 | 52.4 | 0.4378
13 | f22475dc092d43a1927ccaebd23fb48e | 50 | 50 | 3 | 39 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 509 | 513.2 | 517 | 2.8206 | 50.9 | 51.32 | 51.7 | 0.28206 | 50.9 | 51.32 | 51.7 | 0.28206
14 | 2fcb5a09bd4b43b18cb8b92efe9a865a | 40 | 40 | 1 | 40 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 414 | 418.8 | 423 | 2.974 | 41.4 | 41.88 | 42.3 | 0.2974 | 41.4 | 41.88 | 42.3 | 0.2974
14 | 2fcb5a09bd4b43b18cb8b92efe9a865a | 40 | 40 | 2 | 41 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 417 | 419.9 | 423 | 1.5951 | 41.7 | 41.99 | 42.3 | 0.15951 | 41.7 | 41.99 | 42.3 | 0.15951
14 | 2fcb5a09bd4b43b18cb8b92efe9a865a | 40 | 40 | 3 | 42 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 414 | 418.2 | 426 | 3.3928 | 41.4 | 41.82 | 42.6 | 0.33928 | 41.4 | 41.82 | 42.6 | 0.33928
15 | 5244c7cb6bc64949b240a39e9422813d | 30 | 30 | 1 | 43 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 316 | 320 | 323 | 2.0548 | 31.6 | 32 | 32.3 | 0.20548 | 31.6 | 32 | 32.3 | 0.20548
15 | 5244c7cb6bc64949b240a39e9422813d | 30 | 30 | 2 | 44 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 316 | 320.4 | 323 | 2.0656 | 31.6 | 32.04 | 32.3 | 0.20656 | 31.6 | 32.04 | 32.3 | 0.20656
15 | 5244c7cb6bc64949b240a39e9422813d | 30 | 30 | 3 | 45 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 316 | 320 | 324 | 2.6667 | 31.6 | 32 | 32.4 | 0.26667 | 31.6 | 32 | 32.4 | 0.26667
16 | 043e00378208417a8c188a5145a80781 | 20 | 20 | 1 | 46 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 224 | 227.7 | 232 | 2.1628 | 22.4 | 22.77 | 23.2 | 0.21628 | 22.4 | 22.77 | 23.2 | 0.21628
16 | 043e00378208417a8c188a5145a80781 | 20 | 20 | 2 | 47 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 224 | 226.6 | 228 | 1.4298 | 22.4 | 22.66 | 22.8 | 0.14298 | 22.4 | 22.66 | 22.8 | 0.14298
16 | 043e00378208417a8c188a5145a80781 | 20 | 20 | 3 | 48 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 223 | 225.6 | 228 | 1.6465 | 22.3 | 22.56 | 22.8 | 0.16465 | 22.3 | 22.56 | 22.8 | 0.16465

## Summary
point_index | target_cm | actual_cm | completed | accepted_captures | usable_captures | valid_samples | total_samples | within_nominal_range | within_us_calibration_range | three_usable_repeats | raw_min | raw_mean | raw_max | raw_std | raw_cm_min | raw_cm_mean | raw_cm_max | raw_cm_std | calibrated_cm_min | calibrated_cm_mean | calibrated_cm_max | calibrated_cm_std | voltage_min | voltage_mean | voltage_max | voltage_std | error_cm
16 | 20 | 20 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 225.6 | 226.6333 | 227.7 | 1.0504 | 22.56 | 22.6633 | 22.77 | 0.10504 | 22.56 | 22.6633 | 22.77 | 0.10504 |  |  |  |  | 2.6633
15 | 30 | 30 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 320 | 320.1333 | 320.4 | 0.23094 | 32 | 32.0133 | 32.04 | 0.023094 | 32 | 32.0133 | 32.04 | 0.023094 |  |  |  |  | 2.0133
14 | 40 | 40 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 418.2 | 418.9667 | 419.9 | 0.86217 | 41.82 | 41.8967 | 41.99 | 0.086217 | 41.82 | 41.8967 | 41.99 | 0.086217 |  |  |  |  | 1.8967
13 | 50 | 50 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 512.5 | 514.0667 | 516.5 | 2.1362 | 51.25 | 51.4067 | 51.65 | 0.21362 | 51.25 | 51.4067 | 51.65 | 0.21362 |  |  |  |  | 1.4067
12 | 60 | 60 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 622.6 | 622.9667 | 623.3 | 0.35119 | 62.26 | 62.2967 | 62.33 | 0.035119 | 62.26 | 62.2967 | 62.33 | 0.035119 |  |  |  |  | 2.2967
11 | 70 | 70 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 718.1 | 719 | 720 | 0.95394 | 71.81 | 71.9 | 72 | 0.095394 | 71.81 | 71.9 | 72 | 0.095394 |  |  |  |  | 1.9
10 | 80 | 80 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 833.2 | 835.5333 | 836.9 | 2.0306 | 83.32 | 83.5533 | 83.69 | 0.20306 | 83.32 | 83.5533 | 83.69 | 0.20306 |  |  |  |  | 3.5533
9 | 90 | 90 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 939.5 | 941.4 | 943.8 | 2.1932 | 93.95 | 94.14 | 94.38 | 0.21932 | 93.95 | 94.14 | 94.38 | 0.21932 |  |  |  |  | 4.14
8 | 100 | 100 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 1039.9 | 1040.5 | 1040.9 | 0.52915 | 103.99 | 104.05 | 104.09 | 0.052915 | 103.99 | 104.05 | 104.09 | 0.052915 |  |  |  |  | 4.05
7 | 110 | 110 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 1131.1 | 1132.6333 | 1134.2 | 1.5503 | 113.11 | 113.2633 | 113.42 | 0.15503 | 113.11 | 113.2633 | 113.42 | 0.15503 |  |  |  |  | 3.2633
6 | 120 | 120 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 1243.7 | 1244.5 | 1245.3 | 0.8 | 124.37 | 124.45 | 124.53 | 0.08 | 124.37 | 124.45 | 124.53 | 0.08 |  |  |  |  | 4.45
5 | 130 | 130 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 1343.4 | 1345.1667 | 1347.9 | 2.4007 | 134.34 | 134.5167 | 134.79 | 0.24007 | 134.34 | 134.5167 | 134.79 | 0.24007 |  |  |  |  | 4.5167
4 | 140 | 140 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 1453 | 1455.7333 | 1458.8 | 2.9143 | 145.3 | 145.5733 | 145.88 | 0.29143 | 145.3 | 145.5733 | 145.88 | 0.29143 |  |  |  |  | 5.5733
3 | 150 | 150 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 1552.6 | 1555.0667 | 1558.9 | 3.365 | 155.26 | 155.5067 | 155.89 | 0.3365 | 155.26 | 155.5067 | 155.89 | 0.3365 |  |  |  |  | 5.5067
2 | 160 | 160 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 1659.4 | 1659.8667 | 1660.4 | 0.50332 | 165.94 | 165.9867 | 166.04 | 0.050332 | 165.94 | 165.9867 | 166.04 | 0.050332 |  |  |  |  | 5.9867
1 | 170 | 170 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 1760.8 | 1765.6333 | 1775.1 | 8.199 | 176.08 | 176.5633 | 177.51 | 0.8199 | 176.08 | 176.5633 | 177.51 | 0.8199 |  |  |  |  | 6.5633