## Experiment
Right VL53L0X
Curve definition | Minimum / mean / maximum of separate accepted capture means
schema | 2
created_utc | 2026-10-11T15:20:53.543501+00:00
sensor | laser
sensor_description | Right VL53L0X
simulated | FALSE
collection_mode | open_ended
repeats | 3
samples_per_capture | 10
period_ms | 500
settle_ms | 500
distance_origin | sensor_face
adc_reference_v | 5
adc_reference_source | nominal
firmware_config | {"US_SCALE": "1.015350", "US_OFFSET_CM": "0.709100", "US_TIMEOUT_US": "30000", "US_CALIBRATION_RANGE_CM": "15:150", "IR_PIN": "A6", "IR_MODEL": "GP2Y0A21YK0F", "ADC_REFERENCE": "AVCC", "LASER_PROFILE": "long_range_33ms_single_shot", "DISTANCE_ORIGIN": "sensor_face"}
firmware_version | 1.2.0
setup_notes

## Samples
point_index | target_cm | actual_cm | repeat | capture_id | included | decision | superseded_point | sequence | timestamp_ms | raw | valid | status | device_status | raw_cm | calibrated_cm | voltage
1 | 91 | 91 | 1 | 1 | TRUE | accepted | FALSE | 0 | 56576 | 958 | TRUE | OK | 11 | 95.8 | 95.8
1 | 91 | 91 | 1 | 1 | TRUE | accepted | FALSE | 1 | 57076 | 955 | TRUE | OK | 11 | 95.5 | 95.5
1 | 91 | 91 | 1 | 1 | TRUE | accepted | FALSE | 2 | 57576 | 956 | TRUE | OK | 11 | 95.6 | 95.6
1 | 91 | 91 | 1 | 1 | TRUE | accepted | FALSE | 3 | 58076 | 956 | TRUE | OK | 11 | 95.6 | 95.6
1 | 91 | 91 | 1 | 1 | TRUE | accepted | FALSE | 4 | 58576 | 948 | TRUE | OK | 11 | 94.8 | 94.8
1 | 91 | 91 | 1 | 1 | TRUE | accepted | FALSE | 5 | 59076 | 946 | TRUE | OK | 11 | 94.6 | 94.6
1 | 91 | 91 | 1 | 1 | TRUE | accepted | FALSE | 6 | 59576 | 950 | TRUE | OK | 11 | 95 | 95
1 | 91 | 91 | 1 | 1 | TRUE | accepted | FALSE | 7 | 60076 | 964 | TRUE | OK | 11 | 96.4 | 96.4
1 | 91 | 91 | 1 | 1 | TRUE | accepted | FALSE | 8 | 60576 | 955 | TRUE | OK | 11 | 95.5 | 95.5
1 | 91 | 91 | 1 | 1 | TRUE | accepted | FALSE | 9 | 61076 | 950 | TRUE | OK | 11 | 95 | 95
1 | 91 | 91 | 2 | 2 | TRUE | accepted | FALSE | 0 | 68899 | 945 | TRUE | OK | 11 | 94.5 | 94.5
1 | 91 | 91 | 2 | 2 | TRUE | accepted | FALSE | 1 | 69399 | 958 | TRUE | OK | 11 | 95.8 | 95.8
1 | 91 | 91 | 2 | 2 | TRUE | accepted | FALSE | 2 | 69899 | 966 | TRUE | OK | 11 | 96.6 | 96.6
1 | 91 | 91 | 2 | 2 | TRUE | accepted | FALSE | 3 | 70400 | 960 | TRUE | OK | 11 | 96 | 96
1 | 91 | 91 | 2 | 2 | TRUE | accepted | FALSE | 4 | 70900 | 954 | TRUE | OK | 11 | 95.4 | 95.4
1 | 91 | 91 | 2 | 2 | TRUE | accepted | FALSE | 5 | 71400 | 960 | TRUE | OK | 11 | 96 | 96
1 | 91 | 91 | 2 | 2 | TRUE | accepted | FALSE | 6 | 71900 | 951 | TRUE | OK | 11 | 95.1 | 95.1
1 | 91 | 91 | 2 | 2 | TRUE | accepted | FALSE | 7 | 72400 | 964 | TRUE | OK | 11 | 96.4 | 96.4
1 | 91 | 91 | 2 | 2 | TRUE | accepted | FALSE | 8 | 72900 | 968 | TRUE | OK | 11 | 96.8 | 96.8
1 | 91 | 91 | 2 | 2 | TRUE | accepted | FALSE | 9 | 73400 | 965 | TRUE | OK | 11 | 96.5 | 96.5
1 | 91 | 91 | 3 | 3 | TRUE | accepted | FALSE | 0 | 77680 | 961 | TRUE | OK | 11 | 96.1 | 96.1
1 | 91 | 91 | 3 | 3 | TRUE | accepted | FALSE | 1 | 78180 | 959 | TRUE | OK | 11 | 95.9 | 95.9
1 | 91 | 91 | 3 | 3 | TRUE | accepted | FALSE | 2 | 78680 | 953 | TRUE | OK | 11 | 95.3 | 95.3
1 | 91 | 91 | 3 | 3 | TRUE | accepted | FALSE | 3 | 79180 | 947 | TRUE | OK | 11 | 94.7 | 94.7
1 | 91 | 91 | 3 | 3 | TRUE | accepted | FALSE | 4 | 79680 | 961 | TRUE | OK | 11 | 96.1 | 96.1
1 | 91 | 91 | 3 | 3 | TRUE | accepted | FALSE | 5 | 80180 | 949 | TRUE | OK | 11 | 94.9 | 94.9
1 | 91 | 91 | 3 | 3 | TRUE | accepted | FALSE | 6 | 80680 | 959 | TRUE | OK | 11 | 95.9 | 95.9
1 | 91 | 91 | 3 | 3 | TRUE | accepted | FALSE | 7 | 81180 | 955 | TRUE | OK | 11 | 95.5 | 95.5
1 | 91 | 91 | 3 | 3 | TRUE | accepted | FALSE | 8 | 81680 | 950 | TRUE | OK | 11 | 95 | 95
1 | 91 | 91 | 3 | 3 | TRUE | accepted | FALSE | 9 | 82180 | 964 | TRUE | OK | 11 | 96.4 | 96.4
2 | 70 | 70 | 1 | 4 | TRUE | accepted | FALSE | 0 | 104837 | 726 | TRUE | OK | 11 | 72.6 | 72.6
2 | 70 | 70 | 1 | 4 | TRUE | accepted | FALSE | 1 | 105337 | 723 | TRUE | OK | 11 | 72.3 | 72.3
2 | 70 | 70 | 1 | 4 | TRUE | accepted | FALSE | 2 | 105837 | 721 | TRUE | OK | 11 | 72.1 | 72.1
2 | 70 | 70 | 1 | 4 | TRUE | accepted | FALSE | 3 | 106337 | 717 | TRUE | OK | 11 | 71.7 | 71.7
2 | 70 | 70 | 1 | 4 | TRUE | accepted | FALSE | 4 | 106838 | 724 | TRUE | OK | 11 | 72.4 | 72.4
2 | 70 | 70 | 1 | 4 | TRUE | accepted | FALSE | 5 | 107338 | 722 | TRUE | OK | 11 | 72.2 | 72.2
2 | 70 | 70 | 1 | 4 | TRUE | accepted | FALSE | 6 | 107838 | 722 | TRUE | OK | 11 | 72.2 | 72.2
2 | 70 | 70 | 1 | 4 | TRUE | accepted | FALSE | 7 | 108338 | 721 | TRUE | OK | 11 | 72.1 | 72.1
2 | 70 | 70 | 1 | 4 | TRUE | accepted | FALSE | 8 | 108838 | 716 | TRUE | OK | 11 | 71.6 | 71.6
2 | 70 | 70 | 1 | 4 | TRUE | accepted | FALSE | 9 | 109338 | 717 | TRUE | OK | 11 | 71.7 | 71.7
2 | 70 | 70 | 2 | 5 | TRUE | accepted | FALSE | 0 | 112703 | 717 | TRUE | OK | 11 | 71.7 | 71.7
2 | 70 | 70 | 2 | 5 | TRUE | accepted | FALSE | 1 | 113203 | 724 | TRUE | OK | 11 | 72.4 | 72.4
2 | 70 | 70 | 2 | 5 | TRUE | accepted | FALSE | 2 | 113703 | 716 | TRUE | OK | 11 | 71.6 | 71.6
2 | 70 | 70 | 2 | 5 | TRUE | accepted | FALSE | 3 | 114203 | 719 | TRUE | OK | 11 | 71.9 | 71.9
2 | 70 | 70 | 2 | 5 | TRUE | accepted | FALSE | 4 | 114703 | 713 | TRUE | OK | 11 | 71.3 | 71.3
2 | 70 | 70 | 2 | 5 | TRUE | accepted | FALSE | 5 | 115203 | 715 | TRUE | OK | 11 | 71.5 | 71.5
2 | 70 | 70 | 2 | 5 | TRUE | accepted | FALSE | 6 | 115703 | 717 | TRUE | OK | 11 | 71.7 | 71.7
2 | 70 | 70 | 2 | 5 | TRUE | accepted | FALSE | 7 | 116203 | 719 | TRUE | OK | 11 | 71.9 | 71.9
2 | 70 | 70 | 2 | 5 | TRUE | accepted | FALSE | 8 | 116703 | 721 | TRUE | OK | 11 | 72.1 | 72.1
2 | 70 | 70 | 2 | 5 | TRUE | accepted | FALSE | 9 | 117203 | 721 | TRUE | OK | 11 | 72.1 | 72.1
2 | 70 | 70 | 3 | 6 | TRUE | accepted | FALSE | 0 | 120162 | 721 | TRUE | OK | 11 | 72.1 | 72.1
2 | 70 | 70 | 3 | 6 | TRUE | accepted | FALSE | 1 | 120662 | 718 | TRUE | OK | 11 | 71.8 | 71.8
2 | 70 | 70 | 3 | 6 | TRUE | accepted | FALSE | 2 | 121162 | 717 | TRUE | OK | 11 | 71.7 | 71.7
2 | 70 | 70 | 3 | 6 | TRUE | accepted | FALSE | 3 | 121662 | 726 | TRUE | OK | 11 | 72.6 | 72.6
2 | 70 | 70 | 3 | 6 | TRUE | accepted | FALSE | 4 | 122162 | 717 | TRUE | OK | 11 | 71.7 | 71.7
2 | 70 | 70 | 3 | 6 | TRUE | accepted | FALSE | 5 | 122662 | 718 | TRUE | OK | 11 | 71.8 | 71.8
2 | 70 | 70 | 3 | 6 | TRUE | accepted | FALSE | 6 | 123162 | 726 | TRUE | OK | 11 | 72.6 | 72.6
2 | 70 | 70 | 3 | 6 | TRUE | accepted | FALSE | 7 | 123662 | 722 | TRUE | OK | 11 | 72.2 | 72.2
2 | 70 | 70 | 3 | 6 | TRUE | accepted | FALSE | 8 | 124162 | 721 | TRUE | OK | 11 | 72.1 | 72.1
2 | 70 | 70 | 3 | 6 | TRUE | accepted | FALSE | 9 | 124662 | 716 | TRUE | OK | 11 | 71.6 | 71.6
3 | 60 | 60 | 1 | 7 | TRUE | accepted | FALSE | 0 | 147930 | 622 | TRUE | OK | 11 | 62.2 | 62.2
3 | 60 | 60 | 1 | 7 | TRUE | accepted | FALSE | 1 | 148430 | 615 | TRUE | OK | 11 | 61.5 | 61.5
3 | 60 | 60 | 1 | 7 | TRUE | accepted | FALSE | 2 | 148930 | 617 | TRUE | OK | 11 | 61.7 | 61.7
3 | 60 | 60 | 1 | 7 | TRUE | accepted | FALSE | 3 | 149430 | 623 | TRUE | OK | 11 | 62.3 | 62.3
3 | 60 | 60 | 1 | 7 | TRUE | accepted | FALSE | 4 | 149931 | 622 | TRUE | OK | 11 | 62.2 | 62.2
3 | 60 | 60 | 1 | 7 | TRUE | accepted | FALSE | 5 | 150431 | 625 | TRUE | OK | 11 | 62.5 | 62.5
3 | 60 | 60 | 1 | 7 | TRUE | accepted | FALSE | 6 | 150931 | 626 | TRUE | OK | 11 | 62.6 | 62.6
3 | 60 | 60 | 1 | 7 | TRUE | accepted | FALSE | 7 | 151431 | 614 | TRUE | OK | 11 | 61.4 | 61.4
3 | 60 | 60 | 1 | 7 | TRUE | accepted | FALSE | 8 | 151931 | 625 | TRUE | OK | 11 | 62.5 | 62.5
3 | 60 | 60 | 1 | 7 | TRUE | accepted | FALSE | 9 | 152431 | 618 | TRUE | OK | 11 | 61.8 | 61.8
3 | 60 | 60 | 2 | 8 | TRUE | accepted | FALSE | 0 | 154824 | 612 | TRUE | OK | 11 | 61.2 | 61.2
3 | 60 | 60 | 2 | 8 | TRUE | accepted | FALSE | 1 | 155324 | 620 | TRUE | OK | 11 | 62 | 62
3 | 60 | 60 | 2 | 8 | TRUE | accepted | FALSE | 2 | 155824 | 615 | TRUE | OK | 11 | 61.5 | 61.5
3 | 60 | 60 | 2 | 8 | TRUE | accepted | FALSE | 3 | 156324 | 619 | TRUE | OK | 11 | 61.9 | 61.9
3 | 60 | 60 | 2 | 8 | TRUE | accepted | FALSE | 4 | 156824 | 621 | TRUE | OK | 11 | 62.1 | 62.1
3 | 60 | 60 | 2 | 8 | TRUE | accepted | FALSE | 5 | 157324 | 618 | TRUE | OK | 11 | 61.8 | 61.8
3 | 60 | 60 | 2 | 8 | TRUE | accepted | FALSE | 6 | 157824 | 618 | TRUE | OK | 11 | 61.8 | 61.8
3 | 60 | 60 | 2 | 8 | TRUE | accepted | FALSE | 7 | 158324 | 620 | TRUE | OK | 11 | 62 | 62
3 | 60 | 60 | 2 | 8 | TRUE | accepted | FALSE | 8 | 158824 | 619 | TRUE | OK | 11 | 61.9 | 61.9
3 | 60 | 60 | 2 | 8 | TRUE | accepted | FALSE | 9 | 159324 | 624 | TRUE | OK | 11 | 62.4 | 62.4
3 | 60 | 60 | 3 | 9 | TRUE | accepted | FALSE | 0 | 162099 | 624 | TRUE | OK | 11 | 62.4 | 62.4
3 | 60 | 60 | 3 | 9 | TRUE | accepted | FALSE | 1 | 162599 | 618 | TRUE | OK | 11 | 61.8 | 61.8
3 | 60 | 60 | 3 | 9 | TRUE | accepted | FALSE | 2 | 163099 | 622 | TRUE | OK | 11 | 62.2 | 62.2
3 | 60 | 60 | 3 | 9 | TRUE | accepted | FALSE | 3 | 163599 | 621 | TRUE | OK | 11 | 62.1 | 62.1
3 | 60 | 60 | 3 | 9 | TRUE | accepted | FALSE | 4 | 164099 | 620 | TRUE | OK | 11 | 62 | 62
3 | 60 | 60 | 3 | 9 | TRUE | accepted | FALSE | 5 | 164599 | 623 | TRUE | OK | 11 | 62.3 | 62.3
3 | 60 | 60 | 3 | 9 | TRUE | accepted | FALSE | 6 | 165099 | 616 | TRUE | OK | 11 | 61.6 | 61.6
3 | 60 | 60 | 3 | 9 | TRUE | accepted | FALSE | 7 | 165599 | 618 | TRUE | OK | 11 | 61.8 | 61.8
3 | 60 | 60 | 3 | 9 | TRUE | accepted | FALSE | 8 | 166099 | 624 | TRUE | OK | 11 | 62.4 | 62.4
3 | 60 | 60 | 3 | 9 | TRUE | accepted | FALSE | 9 | 166599 | 624 | TRUE | OK | 11 | 62.4 | 62.4
4 | 50 | 50 | 1 | 10 | TRUE | accepted | FALSE | 0 | 193689 | 509 | TRUE | OK | 11 | 50.9 | 50.9
4 | 50 | 50 | 1 | 10 | TRUE | accepted | FALSE | 1 | 194189 | 508 | TRUE | OK | 11 | 50.8 | 50.8
4 | 50 | 50 | 1 | 10 | TRUE | accepted | FALSE | 2 | 194689 | 513 | TRUE | OK | 11 | 51.3 | 51.3
4 | 50 | 50 | 1 | 10 | TRUE | accepted | FALSE | 3 | 195189 | 516 | TRUE | OK | 11 | 51.6 | 51.6
4 | 50 | 50 | 1 | 10 | TRUE | accepted | FALSE | 4 | 195689 | 513 | TRUE | OK | 11 | 51.3 | 51.3
4 | 50 | 50 | 1 | 10 | TRUE | accepted | FALSE | 5 | 196189 | 513 | TRUE | OK | 11 | 51.3 | 51.3
4 | 50 | 50 | 1 | 10 | TRUE | accepted | FALSE | 6 | 196689 | 508 | TRUE | OK | 11 | 50.8 | 50.8
4 | 50 | 50 | 1 | 10 | TRUE | accepted | FALSE | 7 | 197189 | 514 | TRUE | OK | 11 | 51.4 | 51.4
4 | 50 | 50 | 1 | 10 | TRUE | accepted | FALSE | 8 | 197689 | 508 | TRUE | OK | 11 | 50.8 | 50.8
4 | 50 | 50 | 1 | 10 | TRUE | accepted | FALSE | 9 | 198189 | 505 | TRUE | OK | 11 | 50.5 | 50.5
4 | 50 | 50 | 2 | 11 | TRUE | accepted | FALSE | 0 | 203462 | 516 | TRUE | OK | 11 | 51.6 | 51.6
4 | 50 | 50 | 2 | 11 | TRUE | accepted | FALSE | 1 | 203962 | 511 | TRUE | OK | 11 | 51.1 | 51.1
4 | 50 | 50 | 2 | 11 | TRUE | accepted | FALSE | 2 | 204462 | 512 | TRUE | OK | 11 | 51.2 | 51.2
4 | 50 | 50 | 2 | 11 | TRUE | accepted | FALSE | 3 | 204962 | 513 | TRUE | OK | 11 | 51.3 | 51.3
4 | 50 | 50 | 2 | 11 | TRUE | accepted | FALSE | 4 | 205462 | 515 | TRUE | OK | 11 | 51.5 | 51.5
4 | 50 | 50 | 2 | 11 | TRUE | accepted | FALSE | 5 | 205962 | 513 | TRUE | OK | 11 | 51.3 | 51.3
4 | 50 | 50 | 2 | 11 | TRUE | accepted | FALSE | 6 | 206462 | 513 | TRUE | OK | 11 | 51.3 | 51.3
4 | 50 | 50 | 2 | 11 | TRUE | accepted | FALSE | 7 | 206962 | 512 | TRUE | OK | 11 | 51.2 | 51.2
4 | 50 | 50 | 2 | 11 | TRUE | accepted | FALSE | 8 | 207462 | 510 | TRUE | OK | 11 | 51 | 51
4 | 50 | 50 | 2 | 11 | TRUE | accepted | FALSE | 9 | 207962 | 514 | TRUE | OK | 11 | 51.4 | 51.4
4 | 50 | 50 | 3 | 12 | TRUE | accepted | FALSE | 0 | 213773 | 518 | TRUE | OK | 11 | 51.8 | 51.8
4 | 50 | 50 | 3 | 12 | TRUE | accepted | FALSE | 1 | 214273 | 505 | TRUE | OK | 11 | 50.5 | 50.5
4 | 50 | 50 | 3 | 12 | TRUE | accepted | FALSE | 2 | 214773 | 515 | TRUE | OK | 11 | 51.5 | 51.5
4 | 50 | 50 | 3 | 12 | TRUE | accepted | FALSE | 3 | 215273 | 511 | TRUE | OK | 11 | 51.1 | 51.1
4 | 50 | 50 | 3 | 12 | TRUE | accepted | FALSE | 4 | 215773 | 512 | TRUE | OK | 11 | 51.2 | 51.2
4 | 50 | 50 | 3 | 12 | TRUE | accepted | FALSE | 5 | 216273 | 513 | TRUE | OK | 11 | 51.3 | 51.3
4 | 50 | 50 | 3 | 12 | TRUE | accepted | FALSE | 6 | 216773 | 510 | TRUE | OK | 11 | 51 | 51
4 | 50 | 50 | 3 | 12 | TRUE | accepted | FALSE | 7 | 217273 | 512 | TRUE | OK | 11 | 51.2 | 51.2
4 | 50 | 50 | 3 | 12 | TRUE | accepted | FALSE | 8 | 217773 | 515 | TRUE | OK | 11 | 51.5 | 51.5
4 | 50 | 50 | 3 | 12 | TRUE | accepted | FALSE | 9 | 218273 | 505 | TRUE | OK | 11 | 50.5 | 50.5

## Captures
point_index | point_id | target_cm | actual_cm | repeat | capture_id | decision | included | complete | samples | valid_samples | requested_samples | period_ms | settle_ms | raw_min | raw_mean | raw_max | raw_std | raw_cm_min | raw_cm_mean | raw_cm_max | raw_cm_std | calibrated_cm_min | calibrated_cm_mean | calibrated_cm_max | calibrated_cm_std | voltage_min | voltage_mean | voltage_max | voltage_std
1 | 5595b4d30b314eae9e565bbd887ba0b3 | 91 | 91 | 1 | 1 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 946 | 953.8 | 964 | 5.35 | 94.6 | 95.38 | 96.4 | 0.535 | 94.6 | 95.38 | 96.4 | 0.535
1 | 5595b4d30b314eae9e565bbd887ba0b3 | 91 | 91 | 2 | 2 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 945 | 959.1 | 968 | 7.2946 | 94.5 | 95.91 | 96.8 | 0.72946 | 94.5 | 95.91 | 96.8 | 0.72946
1 | 5595b4d30b314eae9e565bbd887ba0b3 | 91 | 91 | 3 | 3 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 947 | 955.8 | 964 | 5.8462 | 94.7 | 95.58 | 96.4 | 0.58462 | 94.7 | 95.58 | 96.4 | 0.58462
2 | 0a01a6036b054d309489ca9b46dc2c6f | 70 | 70 | 1 | 4 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 716 | 720.9 | 726 | 3.2813 | 71.6 | 72.09 | 72.6 | 0.32813 | 71.6 | 72.09 | 72.6 | 0.32813
2 | 0a01a6036b054d309489ca9b46dc2c6f | 70 | 70 | 2 | 5 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 713 | 718.2 | 724 | 3.2592 | 71.3 | 71.82 | 72.4 | 0.32592 | 71.3 | 71.82 | 72.4 | 0.32592
2 | 0a01a6036b054d309489ca9b46dc2c6f | 70 | 70 | 3 | 6 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 716 | 720.2 | 726 | 3.6454 | 71.6 | 72.02 | 72.6 | 0.36454 | 71.6 | 72.02 | 72.6 | 0.36454
3 | aae7b788c0064bc48fdc2f412e764f6b | 60 | 60 | 1 | 7 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 614 | 620.7 | 626 | 4.3729 | 61.4 | 62.07 | 62.6 | 0.43729 | 61.4 | 62.07 | 62.6 | 0.43729
3 | aae7b788c0064bc48fdc2f412e764f6b | 60 | 60 | 2 | 8 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 612 | 618.6 | 624 | 3.2728 | 61.2 | 61.86 | 62.4 | 0.32728 | 61.2 | 61.86 | 62.4 | 0.32728
3 | aae7b788c0064bc48fdc2f412e764f6b | 60 | 60 | 3 | 9 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 616 | 621 | 624 | 2.9059 | 61.6 | 62.1 | 62.4 | 0.29059 | 61.6 | 62.1 | 62.4 | 0.29059
4 | 5b4c00c8349a411592e2b37611b71919 | 50 | 50 | 1 | 10 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 505 | 510.7 | 516 | 3.5292 | 50.5 | 51.07 | 51.6 | 0.35292 | 50.5 | 51.07 | 51.6 | 0.35292
4 | 5b4c00c8349a411592e2b37611b71919 | 50 | 50 | 2 | 11 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 510 | 512.9 | 516 | 1.792 | 51 | 51.29 | 51.6 | 0.1792 | 51 | 51.29 | 51.6 | 0.1792
4 | 5b4c00c8349a411592e2b37611b71919 | 50 | 50 | 3 | 12 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 505 | 511.6 | 518 | 4.1687 | 50.5 | 51.16 | 51.8 | 0.41687 | 50.5 | 51.16 | 51.8 | 0.41687

## Summary
point_index | target_cm | actual_cm | completed | accepted_captures | usable_captures | valid_samples | total_samples | within_nominal_range | within_us_calibration_range | three_usable_repeats | raw_min | raw_mean | raw_max | raw_std | raw_cm_min | raw_cm_mean | raw_cm_max | raw_cm_std | calibrated_cm_min | calibrated_cm_mean | calibrated_cm_max | calibrated_cm_std | voltage_min | voltage_mean | voltage_max | voltage_std | error_cm
4 | 50 | 50 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 510.7 | 511.7333 | 512.9 | 1.106 | 51.07 | 51.1733 | 51.29 | 0.1106 | 51.07 | 51.1733 | 51.29 | 0.1106 |  |  |  |  | 1.1733
3 | 60 | 60 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 618.6 | 620.1 | 621 | 1.3077 | 61.86 | 62.01 | 62.1 | 0.13077 | 61.86 | 62.01 | 62.1 | 0.13077 |  |  |  |  | 2.01
2 | 70 | 70 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 718.2 | 719.7667 | 720.9 | 1.4012 | 71.82 | 71.9767 | 72.09 | 0.14012 | 71.82 | 71.9767 | 72.09 | 0.14012 |  |  |  |  | 1.9767
1 | 91 | 91 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 953.8 | 956.2333 | 959.1 | 2.6764 | 95.38 | 95.6233 | 95.91 | 0.26764 | 95.38 | 95.6233 | 95.91 | 0.26764 |  |  |  |  | 4.6233