## Experiment
Sharp GP2Y0A21YK0F on A6
Curve definition | Minimum / mean / maximum of separate accepted capture means
schema | 2
created_utc | 2026-10-11T15:12:42.664623+00:00
sensor | ir
sensor_description | Sharp GP2Y0A21YK0F on A6
simulated | FALSE
collection_mode | open_ended
repeats | 3
samples_per_capture | 10
period_ms | 500
settle_ms | 500
distance_origin | sensor_face
adc_reference_v | 4.71
adc_reference_source | user_measured_5V_rail
firmware_config | {"US_SCALE": "1.015350", "US_OFFSET_CM": "0.709100", "US_TIMEOUT_US": "30000", "US_CALIBRATION_RANGE_CM": "15:150", "IR_PIN": "A6", "IR_MODEL": "GP2Y0A21YK0F", "ADC_REFERENCE": "AVCC", "LASER_PROFILE": "long_range_33ms_single_shot", "DISTANCE_ORIGIN": "sensor_face"}
firmware_version | 1.2.0
setup_notes

## Samples
point_index | target_cm | actual_cm | repeat | capture_id | included | decision | superseded_point | sequence | timestamp_ms | raw | valid | status | device_status | raw_cm | calibrated_cm | voltage
1 | 180 | 180 | 1 | 1 | TRUE | accepted | FALSE | 0 | 24945 | 229 | TRUE | OK | -1 |  |  | 1.0543
1 | 180 | 180 | 1 | 1 | TRUE | accepted | FALSE | 1 | 25445 | 224 | TRUE | OK | -1 |  |  | 1.0313
1 | 180 | 180 | 1 | 1 | TRUE | accepted | FALSE | 2 | 25945 | 225 | TRUE | OK | -1 |  |  | 1.0359
1 | 180 | 180 | 1 | 1 | TRUE | accepted | FALSE | 3 | 26445 | 224 | TRUE | OK | -1 |  |  | 1.0313
1 | 180 | 180 | 1 | 1 | TRUE | accepted | FALSE | 4 | 26945 | 208 | TRUE | OK | -1 |  |  | 0.95765
1 | 180 | 180 | 1 | 1 | TRUE | accepted | FALSE | 5 | 27445 | 223 | TRUE | OK | -1 |  |  | 1.0267
1 | 180 | 180 | 1 | 1 | TRUE | accepted | FALSE | 6 | 27945 | 229 | TRUE | OK | -1 |  |  | 1.0543
1 | 180 | 180 | 1 | 1 | TRUE | accepted | FALSE | 7 | 28445 | 224 | TRUE | OK | -1 |  |  | 1.0313
1 | 180 | 180 | 1 | 1 | TRUE | accepted | FALSE | 8 | 28945 | 226 | TRUE | OK | -1 |  |  | 1.0405
1 | 180 | 180 | 1 | 1 | TRUE | accepted | FALSE | 9 | 29445 | 223 | TRUE | OK | -1 |  |  | 1.0267
1 | 180 | 180 | 2 | 2 | TRUE | accepted | FALSE | 0 | 33052 | 227 | TRUE | OK | -1 |  |  | 1.0451
1 | 180 | 180 | 2 | 2 | TRUE | accepted | FALSE | 1 | 33552 | 225 | TRUE | OK | -1 |  |  | 1.0359
1 | 180 | 180 | 2 | 2 | TRUE | accepted | FALSE | 2 | 34052 | 225 | TRUE | OK | -1 |  |  | 1.0359
1 | 180 | 180 | 2 | 2 | TRUE | accepted | FALSE | 3 | 34552 | 224 | TRUE | OK | -1 |  |  | 1.0313
1 | 180 | 180 | 2 | 2 | TRUE | accepted | FALSE | 4 | 35052 | 295 | TRUE | OK | -1 |  |  | 1.3582
1 | 180 | 180 | 2 | 2 | TRUE | accepted | FALSE | 5 | 35552 | 233 | TRUE | OK | -1 |  |  | 1.0728
1 | 180 | 180 | 2 | 2 | TRUE | accepted | FALSE | 6 | 36052 | 228 | TRUE | OK | -1 |  |  | 1.0497
1 | 180 | 180 | 2 | 2 | TRUE | accepted | FALSE | 7 | 36552 | 225 | TRUE | OK | -1 |  |  | 1.0359
1 | 180 | 180 | 2 | 2 | TRUE | accepted | FALSE | 8 | 37052 | 225 | TRUE | OK | -1 |  |  | 1.0359
1 | 180 | 180 | 2 | 2 | TRUE | accepted | FALSE | 9 | 37552 | 224 | TRUE | OK | -1 |  |  | 1.0313
1 | 180 | 180 | 3 | 3 | TRUE | accepted | FALSE | 0 | 40968 | 224 | TRUE | OK | -1 |  |  | 1.0313
1 | 180 | 180 | 3 | 3 | TRUE | accepted | FALSE | 1 | 41468 | 307 | TRUE | OK | -1 |  |  | 1.4135
1 | 180 | 180 | 3 | 3 | TRUE | accepted | FALSE | 2 | 41968 | 231 | TRUE | OK | -1 |  |  | 1.0635
1 | 180 | 180 | 3 | 3 | TRUE | accepted | FALSE | 3 | 42468 | 223 | TRUE | OK | -1 |  |  | 1.0267
1 | 180 | 180 | 3 | 3 | TRUE | accepted | FALSE | 4 | 42968 | 226 | TRUE | OK | -1 |  |  | 1.0405
1 | 180 | 180 | 3 | 3 | TRUE | accepted | FALSE | 5 | 43468 | 223 | TRUE | OK | -1 |  |  | 1.0267
1 | 180 | 180 | 3 | 3 | TRUE | accepted | FALSE | 6 | 43968 | 224 | TRUE | OK | -1 |  |  | 1.0313
1 | 180 | 180 | 3 | 3 | TRUE | accepted | FALSE | 7 | 44468 | 223 | TRUE | OK | -1 |  |  | 1.0267
1 | 180 | 180 | 3 | 3 | TRUE | accepted | FALSE | 8 | 44968 | 231 | TRUE | OK | -1 |  |  | 1.0635
1 | 180 | 180 | 3 | 3 | TRUE | accepted | FALSE | 9 | 45468 | 223 | TRUE | OK | -1 |  |  | 1.0267
2 | 170 | 170 | 1 | 4 | TRUE | accepted | FALSE | 0 | 63554 | 200 | TRUE | OK | -1 |  |  | 0.92082
2 | 170 | 170 | 1 | 4 | TRUE | accepted | FALSE | 1 | 64054 | 215 | TRUE | OK | -1 |  |  | 0.98988
2 | 170 | 170 | 1 | 4 | TRUE | accepted | FALSE | 2 | 64555 | 223 | TRUE | OK | -1 |  |  | 1.0267
2 | 170 | 170 | 1 | 4 | TRUE | accepted | FALSE | 3 | 65055 | 219 | TRUE | OK | -1 |  |  | 1.0083
2 | 170 | 170 | 1 | 4 | TRUE | accepted | FALSE | 4 | 65555 | 217 | TRUE | OK | -1 |  |  | 0.99909
2 | 170 | 170 | 1 | 4 | TRUE | accepted | FALSE | 5 | 66055 | 216 | TRUE | OK | -1 |  |  | 0.99449
2 | 170 | 170 | 1 | 4 | TRUE | accepted | FALSE | 6 | 66555 | 216 | TRUE | OK | -1 |  |  | 0.99449
2 | 170 | 170 | 1 | 4 | TRUE | accepted | FALSE | 7 | 67055 | 277 | TRUE | OK | -1 |  |  | 1.2753
2 | 170 | 170 | 1 | 4 | TRUE | accepted | FALSE | 8 | 67555 | 223 | TRUE | OK | -1 |  |  | 1.0267
2 | 170 | 170 | 1 | 4 | TRUE | accepted | FALSE | 9 | 68055 | 221 | TRUE | OK | -1 |  |  | 1.0175
2 | 170 | 170 | 2 | 5 | TRUE | accepted | FALSE | 0 | 74165 | 215 | TRUE | OK | -1 |  |  | 0.98988
2 | 170 | 170 | 2 | 5 | TRUE | accepted | FALSE | 1 | 74665 | 274 | TRUE | OK | -1 |  |  | 1.2615
2 | 170 | 170 | 2 | 5 | TRUE | accepted | FALSE | 2 | 75165 | 215 | TRUE | OK | -1 |  |  | 0.98988
2 | 170 | 170 | 2 | 5 | TRUE | accepted | FALSE | 3 | 75665 | 221 | TRUE | OK | -1 |  |  | 1.0175
2 | 170 | 170 | 2 | 5 | TRUE | accepted | FALSE | 4 | 76165 | 215 | TRUE | OK | -1 |  |  | 0.98988
2 | 170 | 170 | 2 | 5 | TRUE | accepted | FALSE | 5 | 76665 | 217 | TRUE | OK | -1 |  |  | 0.99909
2 | 170 | 170 | 2 | 5 | TRUE | accepted | FALSE | 6 | 77165 | 215 | TRUE | OK | -1 |  |  | 0.98988
2 | 170 | 170 | 2 | 5 | TRUE | accepted | FALSE | 7 | 77665 | 214 | TRUE | OK | -1 |  |  | 0.98528
2 | 170 | 170 | 2 | 5 | TRUE | accepted | FALSE | 8 | 78166 | 295 | TRUE | OK | -1 |  |  | 1.3582
2 | 170 | 170 | 2 | 5 | TRUE | accepted | FALSE | 9 | 78666 | 222 | TRUE | OK | -1 |  |  | 1.0221
2 | 170 | 170 | 3 | 6 | TRUE | accepted | FALSE | 0 | 81502 | 227 | TRUE | OK | -1 |  |  | 1.0451
2 | 170 | 170 | 3 | 6 | TRUE | accepted | FALSE | 1 | 82002 | 221 | TRUE | OK | -1 |  |  | 1.0175
2 | 170 | 170 | 3 | 6 | TRUE | accepted | FALSE | 2 | 82502 | 218 | TRUE | OK | -1 |  |  | 1.0037
2 | 170 | 170 | 3 | 6 | TRUE | accepted | FALSE | 3 | 83002 | 217 | TRUE | OK | -1 |  |  | 0.99909
2 | 170 | 170 | 3 | 6 | TRUE | accepted | FALSE | 4 | 83502 | 216 | TRUE | OK | -1 |  |  | 0.99449
2 | 170 | 170 | 3 | 6 | TRUE | accepted | FALSE | 5 | 84002 | 216 | TRUE | OK | -1 |  |  | 0.99449
2 | 170 | 170 | 3 | 6 | TRUE | accepted | FALSE | 6 | 84502 | 299 | TRUE | OK | -1 |  |  | 1.3766
2 | 170 | 170 | 3 | 6 | TRUE | accepted | FALSE | 7 | 85002 | 223 | TRUE | OK | -1 |  |  | 1.0267
2 | 170 | 170 | 3 | 6 | TRUE | accepted | FALSE | 8 | 85502 | 219 | TRUE | OK | -1 |  |  | 1.0083
2 | 170 | 170 | 3 | 6 | TRUE | accepted | FALSE | 9 | 86002 | 219 | TRUE | OK | -1 |  |  | 1.0083

## Captures
point_index | point_id | target_cm | actual_cm | repeat | capture_id | decision | included | complete | samples | valid_samples | requested_samples | period_ms | settle_ms | raw_min | raw_mean | raw_max | raw_std | raw_cm_min | raw_cm_mean | raw_cm_max | raw_cm_std | calibrated_cm_min | calibrated_cm_mean | calibrated_cm_max | calibrated_cm_std | voltage_min | voltage_mean | voltage_max | voltage_std
1 | 2693a08b13aa47a8afc23b82e7d56b6e | 180 | 180 | 1 | 1 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 208 | 223.5 | 229 | 5.8737 | [8 empty] | 0.95765 | 1.029 | 1.0543 | 0.027043
1 | 2693a08b13aa47a8afc23b82e7d56b6e | 180 | 180 | 2 | 2 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 224 | 233.1 | 295 | 21.9163 | [8 empty] | 1.0313 | 1.0732 | 1.3582 | 0.1009
1 | 2693a08b13aa47a8afc23b82e7d56b6e | 180 | 180 | 3 | 3 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 223 | 233.5 | 307 | 26.0182 | [8 empty] | 1.0267 | 1.0751 | 1.4135 | 0.11979
2 | 3c5fb70a791a41ed945e870bfd62ac8c | 170 | 170 | 1 | 4 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 200 | 222.7 | 277 | 20.1718 | [8 empty] | 0.92082 | 1.0253 | 1.2753 | 0.092873
2 | 3c5fb70a791a41ed945e870bfd62ac8c | 170 | 170 | 2 | 5 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 214 | 230.3 | 295 | 29.1168 | [8 empty] | 0.98528 | 1.0603 | 1.3582 | 0.13406
2 | 3c5fb70a791a41ed945e870bfd62ac8c | 170 | 170 | 3 | 6 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 216 | 227.5 | 299 | 25.352 | [8 empty] | 0.99449 | 1.0474 | 1.3766 | 0.11672

## Summary
point_index | target_cm | actual_cm | completed | accepted_captures | usable_captures | valid_samples | total_samples | within_nominal_range | within_us_calibration_range | three_usable_repeats | raw_min | raw_mean | raw_max | raw_std | raw_cm_min | raw_cm_mean | raw_cm_max | raw_cm_std | calibrated_cm_min | calibrated_cm_mean | calibrated_cm_max | calibrated_cm_std | voltage_min | voltage_mean | voltage_max | voltage_std | error_cm
2 | 170 | 170 | TRUE | 3 | 3 | 30 | 30 | FALSE |  | TRUE | 222.7 | 226.8333 | 230.3 | 3.8436 | [8 empty] | 1.0253 | 1.0444 | 1.0603 | 0.017696
1 | 180 | 180 | TRUE | 3 | 3 | 30 | 30 | FALSE |  | TRUE | 223.5 | 230.0333 | 233.5 | 5.6616 | [8 empty] | 1.029 | 1.0591 | 1.0751 | 0.026066