## Experiment
Sharp GP2Y0A21YK0F on A6
Curve definition | Minimum / mean / maximum of separate accepted capture means
schema | 2
created_utc | 2026-10-11T15:24:46.019469+00:00
sensor | ir
sensor_description | Sharp GP2Y0A21YK0F on A6
simulated | FALSE
collection_mode | open_ended
repeats | 3
samples_per_capture | 10
period_ms | 500
settle_ms | 500
distance_origin | sensor_face
adc_reference_v | 4.71
adc_reference_source | user_measured_5V_rail
firmware_config | {"US_SCALE": "1.015350", "US_OFFSET_CM": "0.709100", "US_TIMEOUT_US": "30000", "US_CALIBRATION_RANGE_CM": "15:150", "IR_PIN": "A6", "IR_MODEL": "GP2Y0A21YK0F", "ADC_REFERENCE": "AVCC", "LASER_PROFILE": "long_range_33ms_single_shot", "DISTANCE_ORIGIN": "sensor_face"}
firmware_version | 1.2.0
setup_notes

## Samples
point_index | target_cm | actual_cm | repeat | capture_id | included | decision | superseded_point | sequence | timestamp_ms | raw | valid | status | device_status | raw_cm | calibrated_cm | voltage
1 | 80 | 80 | 1 | 1 | TRUE | accepted | FALSE | 0 | 24595 | 159 | TRUE | OK | -1 |  |  | 0.73205
1 | 80 | 80 | 1 | 1 | TRUE | accepted | FALSE | 1 | 25095 | 159 | TRUE | OK | -1 |  |  | 0.73205
1 | 80 | 80 | 1 | 1 | TRUE | accepted | FALSE | 2 | 25595 | 162 | TRUE | OK | -1 |  |  | 0.74587
1 | 80 | 80 | 1 | 1 | TRUE | accepted | FALSE | 3 | 26095 | 239 | TRUE | OK | -1 |  |  | 1.1004
1 | 80 | 80 | 1 | 1 | TRUE | accepted | FALSE | 4 | 26595 | 159 | TRUE | OK | -1 |  |  | 0.73205
1 | 80 | 80 | 1 | 1 | TRUE | accepted | FALSE | 5 | 27095 | 159 | TRUE | OK | -1 |  |  | 0.73205
1 | 80 | 80 | 1 | 1 | TRUE | accepted | FALSE | 6 | 27595 | 162 | TRUE | OK | -1 |  |  | 0.74587
1 | 80 | 80 | 1 | 1 | TRUE | accepted | FALSE | 7 | 28095 | 223 | TRUE | OK | -1 |  |  | 1.0267
1 | 80 | 80 | 1 | 1 | TRUE | accepted | FALSE | 8 | 28595 | 159 | TRUE | OK | -1 |  |  | 0.73205
1 | 80 | 80 | 1 | 1 | TRUE | accepted | FALSE | 9 | 29095 | 160 | TRUE | OK | -1 |  |  | 0.73666
1 | 80 | 80 | 2 | 2 | TRUE | accepted | FALSE | 0 | 34935 | 160 | TRUE | OK | -1 |  |  | 0.73666
1 | 80 | 80 | 2 | 2 | TRUE | accepted | FALSE | 1 | 35435 | 162 | TRUE | OK | -1 |  |  | 0.74587
1 | 80 | 80 | 2 | 2 | TRUE | accepted | FALSE | 2 | 35935 | 223 | TRUE | OK | -1 |  |  | 1.0267
1 | 80 | 80 | 2 | 2 | TRUE | accepted | FALSE | 3 | 36435 | 158 | TRUE | OK | -1 |  |  | 0.72745
1 | 80 | 80 | 2 | 2 | TRUE | accepted | FALSE | 4 | 36935 | 160 | TRUE | OK | -1 |  |  | 0.73666
1 | 80 | 80 | 2 | 2 | TRUE | accepted | FALSE | 5 | 37435 | 163 | TRUE | OK | -1 |  |  | 0.75047
1 | 80 | 80 | 2 | 2 | TRUE | accepted | FALSE | 6 | 37935 | 208 | TRUE | OK | -1 |  |  | 0.95765
1 | 80 | 80 | 2 | 2 | TRUE | accepted | FALSE | 7 | 38435 | 159 | TRUE | OK | -1 |  |  | 0.73205
1 | 80 | 80 | 2 | 2 | TRUE | accepted | FALSE | 8 | 38935 | 160 | TRUE | OK | -1 |  |  | 0.73666
1 | 80 | 80 | 2 | 2 | TRUE | accepted | FALSE | 9 | 39435 | 165 | TRUE | OK | -1 |  |  | 0.75968
1 | 80 | 80 | 3 | 3 | TRUE | accepted | FALSE | 0 | 48527 | 159 | TRUE | OK | -1 |  |  | 0.73205
1 | 80 | 80 | 3 | 3 | TRUE | accepted | FALSE | 1 | 49027 | 158 | TRUE | OK | -1 |  |  | 0.72745
1 | 80 | 80 | 3 | 3 | TRUE | accepted | FALSE | 2 | 49527 | 243 | TRUE | OK | -1 |  |  | 1.1188
1 | 80 | 80 | 3 | 3 | TRUE | accepted | FALSE | 3 | 50027 | 158 | TRUE | OK | -1 |  |  | 0.72745
1 | 80 | 80 | 3 | 3 | TRUE | accepted | FALSE | 4 | 50527 | 159 | TRUE | OK | -1 |  |  | 0.73205
1 | 80 | 80 | 3 | 3 | TRUE | accepted | FALSE | 5 | 51027 | 157 | TRUE | OK | -1 |  |  | 0.72284
1 | 80 | 80 | 3 | 3 | TRUE | accepted | FALSE | 6 | 51527 | 219 | TRUE | OK | -1 |  |  | 1.0083
1 | 80 | 80 | 3 | 3 | TRUE | accepted | FALSE | 7 | 52027 | 158 | TRUE | OK | -1 |  |  | 0.72745
1 | 80 | 80 | 3 | 3 | TRUE | accepted | FALSE | 8 | 52527 | 160 | TRUE | OK | -1 |  |  | 0.73666
1 | 80 | 80 | 3 | 3 | TRUE | accepted | FALSE | 9 | 53027 | 158 | TRUE | OK | -1 |  |  | 0.72745
2 | 75 | 75 | 1 | 4 | TRUE | accepted | FALSE | 0 | 67876 | 154 | TRUE | OK | -1 |  |  | 0.70903
2 | 75 | 75 | 1 | 4 | TRUE | accepted | FALSE | 1 | 68376 | 155 | TRUE | OK | -1 |  |  | 0.71364
2 | 75 | 75 | 1 | 4 | TRUE | accepted | FALSE | 2 | 68876 | 158 | TRUE | OK | -1 |  |  | 0.72745
2 | 75 | 75 | 1 | 4 | TRUE | accepted | FALSE | 3 | 69376 | 239 | TRUE | OK | -1 |  |  | 1.1004
2 | 75 | 75 | 1 | 4 | TRUE | accepted | FALSE | 4 | 69876 | 154 | TRUE | OK | -1 |  |  | 0.70903
2 | 75 | 75 | 1 | 4 | TRUE | accepted | FALSE | 5 | 70376 | 156 | TRUE | OK | -1 |  |  | 0.71824
2 | 75 | 75 | 1 | 4 | TRUE | accepted | FALSE | 6 | 70876 | 158 | TRUE | OK | -1 |  |  | 0.72745
2 | 75 | 75 | 1 | 4 | TRUE | accepted | FALSE | 7 | 71376 | 223 | TRUE | OK | -1 |  |  | 1.0267
2 | 75 | 75 | 1 | 4 | TRUE | accepted | FALSE | 8 | 71876 | 155 | TRUE | OK | -1 |  |  | 0.71364
2 | 75 | 75 | 1 | 4 | TRUE | accepted | FALSE | 9 | 72376 | 156 | TRUE | OK | -1 |  |  | 0.71824
2 | 75 | 75 | 2 | 5 | TRUE | accepted | FALSE | 0 | 74721 | 155 | TRUE | OK | -1 |  |  | 0.71364
2 | 75 | 75 | 2 | 5 | TRUE | accepted | FALSE | 1 | 75222 | 153 | TRUE | OK | -1 |  |  | 0.70443
2 | 75 | 75 | 2 | 5 | TRUE | accepted | FALSE | 2 | 75722 | 165 | TRUE | OK | -1 |  |  | 0.75968
2 | 75 | 75 | 2 | 5 | TRUE | accepted | FALSE | 3 | 76222 | 154 | TRUE | OK | -1 |  |  | 0.70903
2 | 75 | 75 | 2 | 5 | TRUE | accepted | FALSE | 4 | 76722 | 155 | TRUE | OK | -1 |  |  | 0.71364
2 | 75 | 75 | 2 | 5 | TRUE | accepted | FALSE | 5 | 77222 | 154 | TRUE | OK | -1 |  |  | 0.70903
2 | 75 | 75 | 2 | 5 | TRUE | accepted | FALSE | 6 | 77722 | 239 | TRUE | OK | -1 |  |  | 1.1004
2 | 75 | 75 | 2 | 5 | TRUE | accepted | FALSE | 7 | 78222 | 154 | TRUE | OK | -1 |  |  | 0.70903
2 | 75 | 75 | 2 | 5 | TRUE | accepted | FALSE | 8 | 78722 | 155 | TRUE | OK | -1 |  |  | 0.71364
2 | 75 | 75 | 2 | 5 | TRUE | accepted | FALSE | 9 | 79222 | 154 | TRUE | OK | -1 |  |  | 0.70903
2 | 75 | 75 | 3 | 6 | TRUE | accepted | FALSE | 0 | 81240 | 155 | TRUE | OK | -1 |  |  | 0.71364
2 | 75 | 75 | 3 | 6 | TRUE | accepted | FALSE | 1 | 81740 | 157 | TRUE | OK | -1 |  |  | 0.72284
2 | 75 | 75 | 3 | 6 | TRUE | accepted | FALSE | 2 | 82240 | 161 | TRUE | OK | -1 |  |  | 0.74126
2 | 75 | 75 | 3 | 6 | TRUE | accepted | FALSE | 3 | 82740 | 212 | TRUE | OK | -1 |  |  | 0.97607
2 | 75 | 75 | 3 | 6 | TRUE | accepted | FALSE | 4 | 83240 | 154 | TRUE | OK | -1 |  |  | 0.70903
2 | 75 | 75 | 3 | 6 | TRUE | accepted | FALSE | 5 | 83740 | 156 | TRUE | OK | -1 |  |  | 0.71824
2 | 75 | 75 | 3 | 6 | TRUE | accepted | FALSE | 6 | 84240 | 159 | TRUE | OK | -1 |  |  | 0.73205
2 | 75 | 75 | 3 | 6 | TRUE | accepted | FALSE | 7 | 84740 | 128 | TRUE | OK | -1 |  |  | 0.58933
2 | 75 | 75 | 3 | 6 | TRUE | accepted | FALSE | 8 | 85240 | 154 | TRUE | OK | -1 |  |  | 0.70903
2 | 75 | 75 | 3 | 6 | TRUE | accepted | FALSE | 9 | 85740 | 156 | TRUE | OK | -1 |  |  | 0.71824
3 | 70 | 70 | 1 | 7 | TRUE | accepted | FALSE | 0 | 99424 | 154 | TRUE | OK | -1 |  |  | 0.70903
3 | 70 | 70 | 1 | 7 | TRUE | accepted | FALSE | 1 | 99924 | 154 | TRUE | OK | -1 |  |  | 0.70903
3 | 70 | 70 | 1 | 7 | TRUE | accepted | FALSE | 2 | 100424 | 153 | TRUE | OK | -1 |  |  | 0.70443
3 | 70 | 70 | 1 | 7 | TRUE | accepted | FALSE | 3 | 100924 | 159 | TRUE | OK | -1 |  |  | 0.73205
3 | 70 | 70 | 1 | 7 | TRUE | accepted | FALSE | 4 | 101424 | 154 | TRUE | OK | -1 |  |  | 0.70903
3 | 70 | 70 | 1 | 7 | TRUE | accepted | FALSE | 5 | 101924 | 155 | TRUE | OK | -1 |  |  | 0.71364
3 | 70 | 70 | 1 | 7 | TRUE | accepted | FALSE | 6 | 102424 | 153 | TRUE | OK | -1 |  |  | 0.70443
3 | 70 | 70 | 1 | 7 | TRUE | accepted | FALSE | 7 | 102924 | 161 | TRUE | OK | -1 |  |  | 0.74126
3 | 70 | 70 | 1 | 7 | TRUE | accepted | FALSE | 8 | 103424 | 153 | TRUE | OK | -1 |  |  | 0.70443
3 | 70 | 70 | 1 | 7 | TRUE | accepted | FALSE | 9 | 103924 | 155 | TRUE | OK | -1 |  |  | 0.71364
3 | 70 | 70 | 2 | 8 | TRUE | accepted | FALSE | 0 | 107303 | 153 | TRUE | OK | -1 |  |  | 0.70443
3 | 70 | 70 | 2 | 8 | TRUE | accepted | FALSE | 1 | 107803 | 154 | TRUE | OK | -1 |  |  | 0.70903
3 | 70 | 70 | 2 | 8 | TRUE | accepted | FALSE | 2 | 108303 | 154 | TRUE | OK | -1 |  |  | 0.70903
3 | 70 | 70 | 2 | 8 | TRUE | accepted | FALSE | 3 | 108803 | 157 | TRUE | OK | -1 |  |  | 0.72284
3 | 70 | 70 | 2 | 8 | TRUE | accepted | FALSE | 4 | 109303 | 154 | TRUE | OK | -1 |  |  | 0.70903
3 | 70 | 70 | 2 | 8 | TRUE | accepted | FALSE | 5 | 109803 | 152 | TRUE | OK | -1 |  |  | 0.69982
3 | 70 | 70 | 2 | 8 | TRUE | accepted | FALSE | 6 | 110303 | 154 | TRUE | OK | -1 |  |  | 0.70903
3 | 70 | 70 | 2 | 8 | TRUE | accepted | FALSE | 7 | 110803 | 157 | TRUE | OK | -1 |  |  | 0.72284
3 | 70 | 70 | 2 | 8 | TRUE | accepted | FALSE | 8 | 111303 | 154 | TRUE | OK | -1 |  |  | 0.70903
3 | 70 | 70 | 2 | 8 | TRUE | accepted | FALSE | 9 | 111803 | 152 | TRUE | OK | -1 |  |  | 0.69982
3 | 70 | 70 | 3 | 9 | TRUE | accepted | FALSE | 0 | 114772 | 155 | TRUE | OK | -1 |  |  | 0.71364
3 | 70 | 70 | 3 | 9 | TRUE | accepted | FALSE | 1 | 115272 | 156 | TRUE | OK | -1 |  |  | 0.71824
3 | 70 | 70 | 3 | 9 | TRUE | accepted | FALSE | 2 | 115772 | 159 | TRUE | OK | -1 |  |  | 0.73205
3 | 70 | 70 | 3 | 9 | TRUE | accepted | FALSE | 3 | 116272 | 192 | TRUE | OK | -1 |  |  | 0.88399
3 | 70 | 70 | 3 | 9 | TRUE | accepted | FALSE | 4 | 116772 | 154 | TRUE | OK | -1 |  |  | 0.70903
3 | 70 | 70 | 3 | 9 | TRUE | accepted | FALSE | 5 | 117272 | 155 | TRUE | OK | -1 |  |  | 0.71364
3 | 70 | 70 | 3 | 9 | TRUE | accepted | FALSE | 6 | 117772 | 159 | TRUE | OK | -1 |  |  | 0.73205
3 | 70 | 70 | 3 | 9 | TRUE | accepted | FALSE | 7 | 118272 | 204 | TRUE | OK | -1 |  |  | 0.93924
3 | 70 | 70 | 3 | 9 | TRUE | accepted | FALSE | 8 | 118772 | 154 | TRUE | OK | -1 |  |  | 0.70903
3 | 70 | 70 | 3 | 9 | TRUE | accepted | FALSE | 9 | 119272 | 156 | TRUE | OK | -1 |  |  | 0.71824
4 | 65 | 65 | 1 | 10 | TRUE | accepted | FALSE | 0 | 134746 | 157 | TRUE | OK | -1 |  |  | 0.72284
4 | 65 | 65 | 1 | 10 | TRUE | accepted | FALSE | 1 | 135246 | 163 | TRUE | OK | -1 |  |  | 0.75047
4 | 65 | 65 | 1 | 10 | TRUE | accepted | FALSE | 2 | 135746 | 152 | TRUE | OK | -1 |  |  | 0.69982
4 | 65 | 65 | 1 | 10 | TRUE | accepted | FALSE | 3 | 136246 | 155 | TRUE | OK | -1 |  |  | 0.71364
4 | 65 | 65 | 1 | 10 | TRUE | accepted | FALSE | 4 | 136747 | 157 | TRUE | OK | -1 |  |  | 0.72284
4 | 65 | 65 | 1 | 10 | TRUE | accepted | FALSE | 5 | 137247 | 159 | TRUE | OK | -1 |  |  | 0.73205
4 | 65 | 65 | 1 | 10 | TRUE | accepted | FALSE | 6 | 137747 | 128 | TRUE | OK | -1 |  |  | 0.58933
4 | 65 | 65 | 1 | 10 | TRUE | accepted | FALSE | 7 | 138247 | 150 | TRUE | OK | -1 |  |  | 0.69062
4 | 65 | 65 | 1 | 10 | TRUE | accepted | FALSE | 8 | 138747 | 157 | TRUE | OK | -1 |  |  | 0.72284
4 | 65 | 65 | 1 | 10 | TRUE | accepted | FALSE | 9 | 139247 | 159 | TRUE | OK | -1 |  |  | 0.73205
4 | 65 | 65 | 2 | 11 | TRUE | accepted | FALSE | 0 | 140965 | 155 | TRUE | OK | -1 |  |  | 0.71364
4 | 65 | 65 | 2 | 11 | TRUE | accepted | FALSE | 1 | 141465 | 157 | TRUE | OK | -1 |  |  | 0.72284
4 | 65 | 65 | 2 | 11 | TRUE | accepted | FALSE | 2 | 141965 | 163 | TRUE | OK | -1 |  |  | 0.75047
4 | 65 | 65 | 2 | 11 | TRUE | accepted | FALSE | 3 | 142465 | 152 | TRUE | OK | -1 |  |  | 0.69982
4 | 65 | 65 | 2 | 11 | TRUE | accepted | FALSE | 4 | 142965 | 155 | TRUE | OK | -1 |  |  | 0.71364
4 | 65 | 65 | 2 | 11 | TRUE | accepted | FALSE | 5 | 143465 | 157 | TRUE | OK | -1 |  |  | 0.72284
4 | 65 | 65 | 2 | 11 | TRUE | accepted | FALSE | 6 | 143965 | 161 | TRUE | OK | -1 |  |  | 0.74126
4 | 65 | 65 | 2 | 11 | TRUE | accepted | FALSE | 7 | 144465 | 128 | TRUE | OK | -1 |  |  | 0.58933
4 | 65 | 65 | 2 | 11 | TRUE | accepted | FALSE | 8 | 144965 | 155 | TRUE | OK | -1 |  |  | 0.71364
4 | 65 | 65 | 2 | 11 | TRUE | accepted | FALSE | 9 | 145465 | 156 | TRUE | OK | -1 |  |  | 0.71824
4 | 65 | 65 | 3 | 12 | TRUE | accepted | FALSE | 0 | 146959 | 155 | TRUE | OK | -1 |  |  | 0.71364
4 | 65 | 65 | 3 | 12 | TRUE | accepted | FALSE | 1 | 147459 | 156 | TRUE | OK | -1 |  |  | 0.71824
4 | 65 | 65 | 3 | 12 | TRUE | accepted | FALSE | 2 | 147959 | 167 | TRUE | OK | -1 |  |  | 0.76889
4 | 65 | 65 | 3 | 12 | TRUE | accepted | FALSE | 3 | 148459 | 154 | TRUE | OK | -1 |  |  | 0.70903
4 | 65 | 65 | 3 | 12 | TRUE | accepted | FALSE | 4 | 148959 | 155 | TRUE | OK | -1 |  |  | 0.71364
4 | 65 | 65 | 3 | 12 | TRUE | accepted | FALSE | 5 | 149459 | 153 | TRUE | OK | -1 |  |  | 0.70443
4 | 65 | 65 | 3 | 12 | TRUE | accepted | FALSE | 6 | 149959 | 163 | TRUE | OK | -1 |  |  | 0.75047
4 | 65 | 65 | 3 | 12 | TRUE | accepted | FALSE | 7 | 150459 | 154 | TRUE | OK | -1 |  |  | 0.70903
4 | 65 | 65 | 3 | 12 | TRUE | accepted | FALSE | 8 | 150959 | 155 | TRUE | OK | -1 |  |  | 0.71364
4 | 65 | 65 | 3 | 12 | TRUE | accepted | FALSE | 9 | 151459 | 154 | TRUE | OK | -1 |  |  | 0.70903
5 | 60 | 60 | 1 | 13 | TRUE | accepted | FALSE | 0 | 164325 | 162 | TRUE | OK | -1 |  |  | 0.74587
5 | 60 | 60 | 1 | 13 | TRUE | accepted | FALSE | 1 | 164825 | 136 | TRUE | OK | -1 |  |  | 0.62616
5 | 60 | 60 | 1 | 13 | TRUE | accepted | FALSE | 2 | 165325 | 154 | TRUE | OK | -1 |  |  | 0.70903
5 | 60 | 60 | 1 | 13 | TRUE | accepted | FALSE | 3 | 165825 | 156 | TRUE | OK | -1 |  |  | 0.71824
5 | 60 | 60 | 1 | 13 | TRUE | accepted | FALSE | 4 | 166325 | 159 | TRUE | OK | -1 |  |  | 0.73205
5 | 60 | 60 | 1 | 13 | TRUE | accepted | FALSE | 5 | 166825 | 215 | TRUE | OK | -1 |  |  | 0.98988
5 | 60 | 60 | 1 | 13 | TRUE | accepted | FALSE | 6 | 167325 | 154 | TRUE | OK | -1 |  |  | 0.70903
5 | 60 | 60 | 1 | 13 | TRUE | accepted | FALSE | 7 | 167825 | 155 | TRUE | OK | -1 |  |  | 0.71364
5 | 60 | 60 | 1 | 13 | TRUE | accepted | FALSE | 8 | 168325 | 158 | TRUE | OK | -1 |  |  | 0.72745
5 | 60 | 60 | 1 | 13 | TRUE | accepted | FALSE | 9 | 168825 | 171 | TRUE | OK | -1 |  |  | 0.7873
5 | 60 | 60 | 2 | 14 | TRUE | accepted | FALSE | 0 | 172577 | 154 | TRUE | OK | -1 |  |  | 0.70903
5 | 60 | 60 | 2 | 14 | TRUE | accepted | FALSE | 1 | 173077 | 163 | TRUE | OK | -1 |  |  | 0.75047
5 | 60 | 60 | 2 | 14 | TRUE | accepted | FALSE | 2 | 173577 | 154 | TRUE | OK | -1 |  |  | 0.70903
5 | 60 | 60 | 2 | 14 | TRUE | accepted | FALSE | 3 | 174077 | 154 | TRUE | OK | -1 |  |  | 0.70903
5 | 60 | 60 | 2 | 14 | TRUE | accepted | FALSE | 4 | 174577 | 153 | TRUE | OK | -1 |  |  | 0.70443
5 | 60 | 60 | 2 | 14 | TRUE | accepted | FALSE | 5 | 175077 | 159 | TRUE | OK | -1 |  |  | 0.73205
5 | 60 | 60 | 2 | 14 | TRUE | accepted | FALSE | 6 | 175577 | 154 | TRUE | OK | -1 |  |  | 0.70903
5 | 60 | 60 | 2 | 14 | TRUE | accepted | FALSE | 7 | 176077 | 155 | TRUE | OK | -1 |  |  | 0.71364
5 | 60 | 60 | 2 | 14 | TRUE | accepted | FALSE | 8 | 176577 | 154 | TRUE | OK | -1 |  |  | 0.70903
5 | 60 | 60 | 2 | 14 | TRUE | accepted | FALSE | 9 | 177077 | 159 | TRUE | OK | -1 |  |  | 0.73205
5 | 60 | 60 | 3 | 15 | TRUE | accepted | FALSE | 0 | 179041 | 155 | TRUE | OK | -1 |  |  | 0.71364
5 | 60 | 60 | 3 | 15 | TRUE | accepted | FALSE | 1 | 179542 | 158 | TRUE | OK | -1 |  |  | 0.72745
5 | 60 | 60 | 3 | 15 | TRUE | accepted | FALSE | 2 | 180042 | 167 | TRUE | OK | -1 |  |  | 0.76889
5 | 60 | 60 | 3 | 15 | TRUE | accepted | FALSE | 3 | 180542 | 154 | TRUE | OK | -1 |  |  | 0.70903
5 | 60 | 60 | 3 | 15 | TRUE | accepted | FALSE | 4 | 181042 | 155 | TRUE | OK | -1 |  |  | 0.71364
5 | 60 | 60 | 3 | 15 | TRUE | accepted | FALSE | 5 | 181542 | 157 | TRUE | OK | -1 |  |  | 0.72284
5 | 60 | 60 | 3 | 15 | TRUE | accepted | FALSE | 6 | 182042 | 162 | TRUE | OK | -1 |  |  | 0.74587
5 | 60 | 60 | 3 | 15 | TRUE | accepted | FALSE | 7 | 182542 | 184 | TRUE | OK | -1 |  |  | 0.84716
5 | 60 | 60 | 3 | 15 | TRUE | accepted | FALSE | 8 | 183042 | 154 | TRUE | OK | -1 |  |  | 0.70903
5 | 60 | 60 | 3 | 15 | TRUE | accepted | FALSE | 9 | 183542 | 156 | TRUE | OK | -1 |  |  | 0.71824
6 | 55 | 55 | 1 | 16 | TRUE | accepted | FALSE | 0 | 202622 | 155 | TRUE | OK | -1 |  |  | 0.71364
6 | 55 | 55 | 1 | 16 | TRUE | accepted | FALSE | 1 | 203122 | 156 | TRUE | OK | -1 |  |  | 0.71824
6 | 55 | 55 | 1 | 16 | TRUE | accepted | FALSE | 2 | 203622 | 158 | TRUE | OK | -1 |  |  | 0.72745
6 | 55 | 55 | 1 | 16 | TRUE | accepted | FALSE | 3 | 204122 | 235 | TRUE | OK | -1 |  |  | 1.082
6 | 55 | 55 | 1 | 16 | TRUE | accepted | FALSE | 4 | 204622 | 154 | TRUE | OK | -1 |  |  | 0.70903
6 | 55 | 55 | 1 | 16 | TRUE | accepted | FALSE | 5 | 205122 | 155 | TRUE | OK | -1 |  |  | 0.71364
6 | 55 | 55 | 1 | 16 | TRUE | accepted | FALSE | 6 | 205622 | 157 | TRUE | OK | -1 |  |  | 0.72284
6 | 55 | 55 | 1 | 16 | TRUE | accepted | FALSE | 7 | 206123 | 159 | TRUE | OK | -1 |  |  | 0.73205
6 | 55 | 55 | 1 | 16 | TRUE | accepted | FALSE | 8 | 206623 | 196 | TRUE | OK | -1 |  |  | 0.9024
6 | 55 | 55 | 1 | 16 | TRUE | accepted | FALSE | 9 | 207123 | 154 | TRUE | OK | -1 |  |  | 0.70903
6 | 55 | 55 | 2 | 17 | TRUE | accepted | FALSE | 0 | 209895 | 153 | TRUE | OK | -1 |  |  | 0.70443
6 | 55 | 55 | 2 | 17 | TRUE | accepted | FALSE | 1 | 210395 | 155 | TRUE | OK | -1 |  |  | 0.71364
6 | 55 | 55 | 2 | 17 | TRUE | accepted | FALSE | 2 | 210895 | 154 | TRUE | OK | -1 |  |  | 0.70903
6 | 55 | 55 | 2 | 17 | TRUE | accepted | FALSE | 3 | 211395 | 158 | TRUE | OK | -1 |  |  | 0.72745
6 | 55 | 55 | 2 | 17 | TRUE | accepted | FALSE | 4 | 211895 | 153 | TRUE | OK | -1 |  |  | 0.70443
6 | 55 | 55 | 2 | 17 | TRUE | accepted | FALSE | 5 | 212395 | 154 | TRUE | OK | -1 |  |  | 0.70903
6 | 55 | 55 | 2 | 17 | TRUE | accepted | FALSE | 6 | 212895 | 154 | TRUE | OK | -1 |  |  | 0.70903
6 | 55 | 55 | 2 | 17 | TRUE | accepted | FALSE | 7 | 213395 | 157 | TRUE | OK | -1 |  |  | 0.72284
6 | 55 | 55 | 2 | 17 | TRUE | accepted | FALSE | 8 | 213895 | 153 | TRUE | OK | -1 |  |  | 0.70443
6 | 55 | 55 | 2 | 17 | TRUE | accepted | FALSE | 9 | 214395 | 180 | TRUE | OK | -1 |  |  | 0.82874
6 | 55 | 55 | 3 | 18 | TRUE | accepted | FALSE | 0 | 218651 | 154 | TRUE | OK | -1 |  |  | 0.70903
6 | 55 | 55 | 3 | 18 | TRUE | accepted | FALSE | 1 | 219151 | 128 | TRUE | OK | -1 |  |  | 0.58933
6 | 55 | 55 | 3 | 18 | TRUE | accepted | FALSE | 2 | 219651 | 154 | TRUE | OK | -1 |  |  | 0.70903
6 | 55 | 55 | 3 | 18 | TRUE | accepted | FALSE | 3 | 220151 | 155 | TRUE | OK | -1 |  |  | 0.71364
6 | 55 | 55 | 3 | 18 | TRUE | accepted | FALSE | 4 | 220651 | 153 | TRUE | OK | -1 |  |  | 0.70443
6 | 55 | 55 | 3 | 18 | TRUE | accepted | FALSE | 5 | 221151 | 237 | TRUE | OK | -1 |  |  | 1.0912
6 | 55 | 55 | 3 | 18 | TRUE | accepted | FALSE | 6 | 221651 | 154 | TRUE | OK | -1 |  |  | 0.70903
6 | 55 | 55 | 3 | 18 | TRUE | accepted | FALSE | 7 | 222151 | 155 | TRUE | OK | -1 |  |  | 0.71364
6 | 55 | 55 | 3 | 18 | TRUE | accepted | FALSE | 8 | 222651 | 154 | TRUE | OK | -1 |  |  | 0.70903
6 | 55 | 55 | 3 | 18 | TRUE | accepted | FALSE | 9 | 223151 | 165 | TRUE | OK | -1 |  |  | 0.75968
7 | 50 | 50 | 1 | 19 | TRUE | accepted | FALSE | 0 | 238722 | 210 | TRUE | OK | -1 |  |  | 0.96686
7 | 50 | 50 | 1 | 19 | TRUE | accepted | FALSE | 1 | 239222 | 158 | TRUE | OK | -1 |  |  | 0.72745
7 | 50 | 50 | 1 | 19 | TRUE | accepted | FALSE | 2 | 239722 | 159 | TRUE | OK | -1 |  |  | 0.73205
7 | 50 | 50 | 1 | 19 | TRUE | accepted | FALSE | 3 | 240222 | 162 | TRUE | OK | -1 |  |  | 0.74587
7 | 50 | 50 | 1 | 19 | TRUE | accepted | FALSE | 4 | 240722 | 169 | TRUE | OK | -1 |  |  | 0.77809
7 | 50 | 50 | 1 | 19 | TRUE | accepted | FALSE | 5 | 241222 | 158 | TRUE | OK | -1 |  |  | 0.72745
7 | 50 | 50 | 1 | 19 | TRUE | accepted | FALSE | 6 | 241722 | 155 | TRUE | OK | -1 |  |  | 0.71364
7 | 50 | 50 | 1 | 19 | TRUE | accepted | FALSE | 7 | 242222 | 156 | TRUE | OK | -1 |  |  | 0.71824
7 | 50 | 50 | 1 | 19 | TRUE | accepted | FALSE | 8 | 242722 | 159 | TRUE | OK | -1 |  |  | 0.73205
7 | 50 | 50 | 1 | 19 | TRUE | accepted | FALSE | 9 | 243222 | 217 | TRUE | OK | -1 |  |  | 0.99909
7 | 50 | 50 | 2 | 20 | TRUE | accepted | FALSE | 0 | 244820 | 159 | TRUE | OK | -1 |  |  | 0.73205
7 | 50 | 50 | 2 | 20 | TRUE | accepted | FALSE | 1 | 245320 | 160 | TRUE | OK | -1 |  |  | 0.73666
7 | 50 | 50 | 2 | 20 | TRUE | accepted | FALSE | 2 | 245820 | 159 | TRUE | OK | -1 |  |  | 0.73205
7 | 50 | 50 | 2 | 20 | TRUE | accepted | FALSE | 3 | 246320 | 219 | TRUE | OK | -1 |  |  | 1.0083
7 | 50 | 50 | 2 | 20 | TRUE | accepted | FALSE | 4 | 246820 | 159 | TRUE | OK | -1 |  |  | 0.73205
7 | 50 | 50 | 2 | 20 | TRUE | accepted | FALSE | 5 | 247320 | 160 | TRUE | OK | -1 |  |  | 0.73666
7 | 50 | 50 | 2 | 20 | TRUE | accepted | FALSE | 6 | 247820 | 162 | TRUE | OK | -1 |  |  | 0.74587
7 | 50 | 50 | 2 | 20 | TRUE | accepted | FALSE | 7 | 248320 | 167 | TRUE | OK | -1 |  |  | 0.76889
7 | 50 | 50 | 2 | 20 | TRUE | accepted | FALSE | 8 | 248820 | 136 | TRUE | OK | -1 |  |  | 0.62616
7 | 50 | 50 | 2 | 20 | TRUE | accepted | FALSE | 9 | 249320 | 159 | TRUE | OK | -1 |  |  | 0.73205
7 | 50 | 50 | 3 | 21 | TRUE | accepted | FALSE | 0 | 251365 | 158 | TRUE | OK | -1 |  |  | 0.72745
7 | 50 | 50 | 3 | 21 | TRUE | accepted | FALSE | 1 | 251865 | 159 | TRUE | OK | -1 |  |  | 0.73205
7 | 50 | 50 | 3 | 21 | TRUE | accepted | FALSE | 2 | 252365 | 157 | TRUE | OK | -1 |  |  | 0.72284
7 | 50 | 50 | 3 | 21 | TRUE | accepted | FALSE | 3 | 252865 | 163 | TRUE | OK | -1 |  |  | 0.75047
7 | 50 | 50 | 3 | 21 | TRUE | accepted | FALSE | 4 | 253365 | 158 | TRUE | OK | -1 |  |  | 0.72745
7 | 50 | 50 | 3 | 21 | TRUE | accepted | FALSE | 5 | 253865 | 159 | TRUE | OK | -1 |  |  | 0.73205
7 | 50 | 50 | 3 | 21 | TRUE | accepted | FALSE | 6 | 254365 | 158 | TRUE | OK | -1 |  |  | 0.72745
7 | 50 | 50 | 3 | 21 | TRUE | accepted | FALSE | 7 | 254865 | 156 | TRUE | OK | -1 |  |  | 0.71824
7 | 50 | 50 | 3 | 21 | TRUE | accepted | FALSE | 8 | 255365 | 158 | TRUE | OK | -1 |  |  | 0.72745
7 | 50 | 50 | 3 | 21 | TRUE | accepted | FALSE | 9 | 255865 | 200 | TRUE | OK | -1 |  |  | 0.92082
8 | 45 | 45 | 1 | 22 | TRUE | accepted | FALSE | 0 | 270827 | 164 | TRUE | OK | -1 |  |  | 0.75507
8 | 45 | 45 | 1 | 22 | TRUE | accepted | FALSE | 1 | 271327 | 162 | TRUE | OK | -1 |  |  | 0.74587
8 | 45 | 45 | 1 | 22 | TRUE | accepted | FALSE | 2 | 271827 | 247 | TRUE | OK | -1 |  |  | 1.1372
8 | 45 | 45 | 1 | 22 | TRUE | accepted | FALSE | 3 | 272327 | 158 | TRUE | OK | -1 |  |  | 0.72745
8 | 45 | 45 | 1 | 22 | TRUE | accepted | FALSE | 4 | 272827 | 163 | TRUE | OK | -1 |  |  | 0.75047
8 | 45 | 45 | 1 | 22 | TRUE | accepted | FALSE | 5 | 273327 | 162 | TRUE | OK | -1 |  |  | 0.74587
8 | 45 | 45 | 1 | 22 | TRUE | accepted | FALSE | 6 | 273827 | 169 | TRUE | OK | -1 |  |  | 0.77809
8 | 45 | 45 | 1 | 22 | TRUE | accepted | FALSE | 7 | 274327 | 162 | TRUE | OK | -1 |  |  | 0.74587
8 | 45 | 45 | 1 | 22 | TRUE | accepted | FALSE | 8 | 274827 | 159 | TRUE | OK | -1 |  |  | 0.73205
8 | 45 | 45 | 1 | 22 | TRUE | accepted | FALSE | 9 | 275328 | 162 | TRUE | OK | -1 |  |  | 0.74587
8 | 45 | 45 | 2 | 23 | TRUE | accepted | FALSE | 0 | 277784 | 164 | TRUE | OK | -1 |  |  | 0.75507
8 | 45 | 45 | 2 | 23 | TRUE | accepted | FALSE | 1 | 278284 | 163 | TRUE | OK | -1 |  |  | 0.75047
8 | 45 | 45 | 2 | 23 | TRUE | accepted | FALSE | 2 | 278784 | 212 | TRUE | OK | -1 |  |  | 0.97607
8 | 45 | 45 | 2 | 23 | TRUE | accepted | FALSE | 3 | 279284 | 162 | TRUE | OK | -1 |  |  | 0.74587
8 | 45 | 45 | 2 | 23 | TRUE | accepted | FALSE | 4 | 279784 | 164 | TRUE | OK | -1 |  |  | 0.75507
8 | 45 | 45 | 2 | 23 | TRUE | accepted | FALSE | 5 | 280284 | 162 | TRUE | OK | -1 |  |  | 0.74587
8 | 45 | 45 | 2 | 23 | TRUE | accepted | FALSE | 6 | 280784 | 173 | TRUE | OK | -1 |  |  | 0.79651
8 | 45 | 45 | 2 | 23 | TRUE | accepted | FALSE | 7 | 281284 | 162 | TRUE | OK | -1 |  |  | 0.74587
8 | 45 | 45 | 2 | 23 | TRUE | accepted | FALSE | 8 | 281784 | 164 | TRUE | OK | -1 |  |  | 0.75507
8 | 45 | 45 | 2 | 23 | TRUE | accepted | FALSE | 9 | 282284 | 162 | TRUE | OK | -1 |  |  | 0.74587
8 | 45 | 45 | 3 | 24 | TRUE | accepted | FALSE | 0 | 289170 | 163 | TRUE | OK | -1 |  |  | 0.75047
8 | 45 | 45 | 3 | 24 | TRUE | accepted | FALSE | 1 | 289670 | 164 | TRUE | OK | -1 |  |  | 0.75507
8 | 45 | 45 | 3 | 24 | TRUE | accepted | FALSE | 2 | 290170 | 167 | TRUE | OK | -1 |  |  | 0.76889
8 | 45 | 45 | 3 | 24 | TRUE | accepted | FALSE | 3 | 290670 | 246 | TRUE | OK | -1 |  |  | 1.1326
8 | 45 | 45 | 3 | 24 | TRUE | accepted | FALSE | 4 | 291170 | 163 | TRUE | OK | -1 |  |  | 0.75047
8 | 45 | 45 | 3 | 24 | TRUE | accepted | FALSE | 5 | 291670 | 163 | TRUE | OK | -1 |  |  | 0.75047
8 | 45 | 45 | 3 | 24 | TRUE | accepted | FALSE | 6 | 292170 | 166 | TRUE | OK | -1 |  |  | 0.76428
8 | 45 | 45 | 3 | 24 | TRUE | accepted | FALSE | 7 | 292670 | 171 | TRUE | OK | -1 |  |  | 0.7873
8 | 45 | 45 | 3 | 24 | TRUE | accepted | FALSE | 8 | 293170 | 136 | TRUE | OK | -1 |  |  | 0.62616
8 | 45 | 45 | 3 | 24 | TRUE | accepted | FALSE | 9 | 293670 | 163 | TRUE | OK | -1 |  |  | 0.75047
9 | 40 | 40 | 1 | 25 | TRUE | accepted | FALSE | 0 | 308492 | 171 | TRUE | OK | -1 |  |  | 0.7873
9 | 40 | 40 | 1 | 25 | TRUE | accepted | FALSE | 1 | 308992 | 171 | TRUE | OK | -1 |  |  | 0.7873
9 | 40 | 40 | 1 | 25 | TRUE | accepted | FALSE | 2 | 309492 | 169 | TRUE | OK | -1 |  |  | 0.77809
9 | 40 | 40 | 1 | 25 | TRUE | accepted | FALSE | 3 | 309992 | 174 | TRUE | OK | -1 |  |  | 0.80111
9 | 40 | 40 | 1 | 25 | TRUE | accepted | FALSE | 4 | 310492 | 144 | TRUE | OK | -1 |  |  | 0.66299
9 | 40 | 40 | 1 | 25 | TRUE | accepted | FALSE | 5 | 310992 | 167 | TRUE | OK | -1 |  |  | 0.76889
9 | 40 | 40 | 1 | 25 | TRUE | accepted | FALSE | 6 | 311492 | 173 | TRUE | OK | -1 |  |  | 0.79651
9 | 40 | 40 | 1 | 25 | TRUE | accepted | FALSE | 7 | 311992 | 175 | TRUE | OK | -1 |  |  | 0.80572
9 | 40 | 40 | 1 | 25 | TRUE | accepted | FALSE | 8 | 312492 | 239 | TRUE | OK | -1 |  |  | 1.1004
9 | 40 | 40 | 1 | 25 | TRUE | accepted | FALSE | 9 | 312992 | 171 | TRUE | OK | -1 |  |  | 0.7873
9 | 40 | 40 | 2 | 26 | TRUE | accepted | FALSE | 0 | 315760 | 171 | TRUE | OK | -1 |  |  | 0.7873
9 | 40 | 40 | 2 | 26 | TRUE | accepted | FALSE | 1 | 316260 | 171 | TRUE | OK | -1 |  |  | 0.7873
9 | 40 | 40 | 2 | 26 | TRUE | accepted | FALSE | 2 | 316760 | 171 | TRUE | OK | -1 |  |  | 0.7873
9 | 40 | 40 | 2 | 26 | TRUE | accepted | FALSE | 3 | 317260 | 172 | TRUE | OK | -1 |  |  | 0.79191
9 | 40 | 40 | 2 | 26 | TRUE | accepted | FALSE | 4 | 317760 | 167 | TRUE | OK | -1 |  |  | 0.76889
9 | 40 | 40 | 2 | 26 | TRUE | accepted | FALSE | 5 | 318260 | 171 | TRUE | OK | -1 |  |  | 0.7873
9 | 40 | 40 | 2 | 26 | TRUE | accepted | FALSE | 6 | 318760 | 170 | TRUE | OK | -1 |  |  | 0.7827
9 | 40 | 40 | 2 | 26 | TRUE | accepted | FALSE | 7 | 319260 | 174 | TRUE | OK | -1 |  |  | 0.80111
9 | 40 | 40 | 2 | 26 | TRUE | accepted | FALSE | 8 | 319760 | 170 | TRUE | OK | -1 |  |  | 0.7827
9 | 40 | 40 | 2 | 26 | TRUE | accepted | FALSE | 9 | 320260 | 160 | TRUE | OK | -1 |  |  | 0.73666
9 | 40 | 40 | 3 | 27 | TRUE | accepted | FALSE | 0 | 322957 | 166 | TRUE | OK | -1 |  |  | 0.76428
9 | 40 | 40 | 3 | 27 | TRUE | accepted | FALSE | 1 | 323457 | 177 | TRUE | OK | -1 |  |  | 0.81493
9 | 40 | 40 | 3 | 27 | TRUE | accepted | FALSE | 2 | 323957 | 170 | TRUE | OK | -1 |  |  | 0.7827
9 | 40 | 40 | 3 | 27 | TRUE | accepted | FALSE | 3 | 324457 | 171 | TRUE | OK | -1 |  |  | 0.7873
9 | 40 | 40 | 3 | 27 | TRUE | accepted | FALSE | 4 | 324957 | 167 | TRUE | OK | -1 |  |  | 0.76889
9 | 40 | 40 | 3 | 27 | TRUE | accepted | FALSE | 5 | 325457 | 172 | TRUE | OK | -1 |  |  | 0.79191
9 | 40 | 40 | 3 | 27 | TRUE | accepted | FALSE | 6 | 325957 | 171 | TRUE | OK | -1 |  |  | 0.7873
9 | 40 | 40 | 3 | 27 | TRUE | accepted | FALSE | 7 | 326457 | 171 | TRUE | OK | -1 |  |  | 0.7873
9 | 40 | 40 | 3 | 27 | TRUE | accepted | FALSE | 8 | 326957 | 170 | TRUE | OK | -1 |  |  | 0.7827
9 | 40 | 40 | 3 | 27 | TRUE | accepted | FALSE | 9 | 327457 | 174 | TRUE | OK | -1 |  |  | 0.80111
10 | 35 | 35 | 1 | 28 | TRUE | accepted | FALSE | 0 | 341982 | 186 | TRUE | OK | -1 |  |  | 0.85636
10 | 35 | 35 | 1 | 28 | TRUE | accepted | FALSE | 1 | 342482 | 189 | TRUE | OK | -1 |  |  | 0.87018
10 | 35 | 35 | 1 | 28 | TRUE | accepted | FALSE | 2 | 342982 | 232 | TRUE | OK | -1 |  |  | 1.0682
10 | 35 | 35 | 1 | 28 | TRUE | accepted | FALSE | 3 | 343482 | 183 | TRUE | OK | -1 |  |  | 0.84255
10 | 35 | 35 | 1 | 28 | TRUE | accepted | FALSE | 4 | 343982 | 185 | TRUE | OK | -1 |  |  | 0.85176
10 | 35 | 35 | 1 | 28 | TRUE | accepted | FALSE | 5 | 344482 | 187 | TRUE | OK | -1 |  |  | 0.86097
10 | 35 | 35 | 1 | 28 | TRUE | accepted | FALSE | 6 | 344982 | 255 | TRUE | OK | -1 |  |  | 1.174
10 | 35 | 35 | 1 | 28 | TRUE | accepted | FALSE | 7 | 345482 | 183 | TRUE | OK | -1 |  |  | 0.84255
10 | 35 | 35 | 1 | 28 | TRUE | accepted | FALSE | 8 | 345982 | 184 | TRUE | OK | -1 |  |  | 0.84716
10 | 35 | 35 | 1 | 28 | TRUE | accepted | FALSE | 9 | 346482 | 186 | TRUE | OK | -1 |  |  | 0.85636
10 | 35 | 35 | 2 | 29 | TRUE | accepted | FALSE | 0 | 348392 | 186 | TRUE | OK | -1 |  |  | 0.85636
10 | 35 | 35 | 2 | 29 | TRUE | accepted | FALSE | 1 | 348892 | 193 | TRUE | OK | -1 |  |  | 0.88859
10 | 35 | 35 | 2 | 29 | TRUE | accepted | FALSE | 2 | 349392 | 216 | TRUE | OK | -1 |  |  | 0.99449
10 | 35 | 35 | 2 | 29 | TRUE | accepted | FALSE | 3 | 349892 | 183 | TRUE | OK | -1 |  |  | 0.84255
10 | 35 | 35 | 2 | 29 | TRUE | accepted | FALSE | 4 | 350392 | 185 | TRUE | OK | -1 |  |  | 0.85176
10 | 35 | 35 | 2 | 29 | TRUE | accepted | FALSE | 5 | 350892 | 188 | TRUE | OK | -1 |  |  | 0.86557
10 | 35 | 35 | 2 | 29 | TRUE | accepted | FALSE | 6 | 351392 | 271 | TRUE | OK | -1 |  |  | 1.2477
10 | 35 | 35 | 2 | 29 | TRUE | accepted | FALSE | 7 | 351892 | 183 | TRUE | OK | -1 |  |  | 0.84255
10 | 35 | 35 | 2 | 29 | TRUE | accepted | FALSE | 8 | 352392 | 184 | TRUE | OK | -1 |  |  | 0.84716
10 | 35 | 35 | 2 | 29 | TRUE | accepted | FALSE | 9 | 352892 | 187 | TRUE | OK | -1 |  |  | 0.86097
10 | 35 | 35 | 3 | 30 | TRUE | accepted | FALSE | 0 | 360415 | 184 | TRUE | OK | -1 |  |  | 0.84716
10 | 35 | 35 | 3 | 30 | TRUE | accepted | FALSE | 1 | 360915 | 183 | TRUE | OK | -1 |  |  | 0.84255
10 | 35 | 35 | 3 | 30 | TRUE | accepted | FALSE | 2 | 361415 | 191 | TRUE | OK | -1 |  |  | 0.87938
10 | 35 | 35 | 3 | 30 | TRUE | accepted | FALSE | 3 | 361915 | 183 | TRUE | OK | -1 |  |  | 0.84255
10 | 35 | 35 | 3 | 30 | TRUE | accepted | FALSE | 4 | 362415 | 183 | TRUE | OK | -1 |  |  | 0.84255
10 | 35 | 35 | 3 | 30 | TRUE | accepted | FALSE | 5 | 362915 | 183 | TRUE | OK | -1 |  |  | 0.84255
10 | 35 | 35 | 3 | 30 | TRUE | accepted | FALSE | 6 | 363415 | 187 | TRUE | OK | -1 |  |  | 0.86097
10 | 35 | 35 | 3 | 30 | TRUE | accepted | FALSE | 7 | 363915 | 183 | TRUE | OK | -1 |  |  | 0.84255
10 | 35 | 35 | 3 | 30 | TRUE | accepted | FALSE | 8 | 364416 | 183 | TRUE | OK | -1 |  |  | 0.84255
10 | 35 | 35 | 3 | 30 | TRUE | accepted | FALSE | 9 | 364916 | 182 | TRUE | OK | -1 |  |  | 0.83795
11 | 30 | 30 | 1 | 31 | TRUE | accepted | FALSE | 0 | 385906 | 202 | TRUE | OK | -1 |  |  | 0.93003
11 | 30 | 30 | 1 | 31 | TRUE | accepted | FALSE | 1 | 386406 | 207 | TRUE | OK | -1 |  |  | 0.95305
11 | 30 | 30 | 1 | 31 | TRUE | accepted | FALSE | 2 | 386906 | 176 | TRUE | OK | -1 |  |  | 0.81032
11 | 30 | 30 | 1 | 31 | TRUE | accepted | FALSE | 3 | 387406 | 199 | TRUE | OK | -1 |  |  | 0.91622
11 | 30 | 30 | 1 | 31 | TRUE | accepted | FALSE | 4 | 387906 | 201 | TRUE | OK | -1 |  |  | 0.92543
11 | 30 | 30 | 1 | 31 | TRUE | accepted | FALSE | 5 | 388406 | 207 | TRUE | OK | -1 |  |  | 0.95305
11 | 30 | 30 | 1 | 31 | TRUE | accepted | FALSE | 6 | 388907 | 256 | TRUE | OK | -1 |  |  | 1.1787
11 | 30 | 30 | 1 | 31 | TRUE | accepted | FALSE | 7 | 389407 | 200 | TRUE | OK | -1 |  |  | 0.92082
11 | 30 | 30 | 1 | 31 | TRUE | accepted | FALSE | 8 | 389907 | 201 | TRUE | OK | -1 |  |  | 0.92543
11 | 30 | 30 | 1 | 31 | TRUE | accepted | FALSE | 9 | 390407 | 207 | TRUE | OK | -1 |  |  | 0.95305
11 | 30 | 30 | 2 | 32 | TRUE | accepted | FALSE | 0 | 393229 | 201 | TRUE | OK | -1 |  |  | 0.92543
11 | 30 | 30 | 2 | 32 | TRUE | accepted | FALSE | 1 | 393729 | 204 | TRUE | OK | -1 |  |  | 0.93924
11 | 30 | 30 | 2 | 32 | TRUE | accepted | FALSE | 2 | 394229 | 199 | TRUE | OK | -1 |  |  | 0.91622
11 | 30 | 30 | 2 | 32 | TRUE | accepted | FALSE | 3 | 394729 | 200 | TRUE | OK | -1 |  |  | 0.92082
11 | 30 | 30 | 2 | 32 | TRUE | accepted | FALSE | 4 | 395229 | 201 | TRUE | OK | -1 |  |  | 0.92543
11 | 30 | 30 | 2 | 32 | TRUE | accepted | FALSE | 5 | 395729 | 204 | TRUE | OK | -1 |  |  | 0.93924
11 | 30 | 30 | 2 | 32 | TRUE | accepted | FALSE | 6 | 396229 | 200 | TRUE | OK | -1 |  |  | 0.92082
11 | 30 | 30 | 2 | 32 | TRUE | accepted | FALSE | 7 | 396729 | 200 | TRUE | OK | -1 |  |  | 0.92082
11 | 30 | 30 | 2 | 32 | TRUE | accepted | FALSE | 8 | 397229 | 201 | TRUE | OK | -1 |  |  | 0.92543
11 | 30 | 30 | 2 | 32 | TRUE | accepted | FALSE | 9 | 397729 | 203 | TRUE | OK | -1 |  |  | 0.93463
11 | 30 | 30 | 3 | 33 | TRUE | accepted | FALSE | 0 | 400038 | 200 | TRUE | OK | -1 |  |  | 0.92082
11 | 30 | 30 | 3 | 33 | TRUE | accepted | FALSE | 1 | 400538 | 203 | TRUE | OK | -1 |  |  | 0.93463
11 | 30 | 30 | 3 | 33 | TRUE | accepted | FALSE | 2 | 401038 | 215 | TRUE | OK | -1 |  |  | 0.98988
11 | 30 | 30 | 3 | 33 | TRUE | accepted | FALSE | 3 | 401538 | 200 | TRUE | OK | -1 |  |  | 0.92082
11 | 30 | 30 | 3 | 33 | TRUE | accepted | FALSE | 4 | 402038 | 200 | TRUE | OK | -1 |  |  | 0.92082
11 | 30 | 30 | 3 | 33 | TRUE | accepted | FALSE | 5 | 402538 | 203 | TRUE | OK | -1 |  |  | 0.93463
11 | 30 | 30 | 3 | 33 | TRUE | accepted | FALSE | 6 | 403038 | 213 | TRUE | OK | -1 |  |  | 0.98067
11 | 30 | 30 | 3 | 33 | TRUE | accepted | FALSE | 7 | 403538 | 192 | TRUE | OK | -1 |  |  | 0.88399
11 | 30 | 30 | 3 | 33 | TRUE | accepted | FALSE | 8 | 404038 | 200 | TRUE | OK | -1 |  |  | 0.92082
11 | 30 | 30 | 3 | 33 | TRUE | accepted | FALSE | 9 | 404538 | 202 | TRUE | OK | -1 |  |  | 0.93003
12 | 25 | 25 | 1 | 34 | TRUE | accepted | FALSE | 0 | 425778 | 231 | TRUE | OK | -1 |  |  | 1.0635
12 | 25 | 25 | 1 | 34 | TRUE | accepted | FALSE | 1 | 426278 | 239 | TRUE | OK | -1 |  |  | 1.1004
12 | 25 | 25 | 1 | 34 | TRUE | accepted | FALSE | 2 | 426778 | 228 | TRUE | OK | -1 |  |  | 1.0497
12 | 25 | 25 | 1 | 34 | TRUE | accepted | FALSE | 3 | 427278 | 229 | TRUE | OK | -1 |  |  | 1.0543
12 | 25 | 25 | 1 | 34 | TRUE | accepted | FALSE | 4 | 427778 | 232 | TRUE | OK | -1 |  |  | 1.0682
12 | 25 | 25 | 1 | 34 | TRUE | accepted | FALSE | 5 | 428278 | 261 | TRUE | OK | -1 |  |  | 1.2017
12 | 25 | 25 | 1 | 34 | TRUE | accepted | FALSE | 6 | 428778 | 228 | TRUE | OK | -1 |  |  | 1.0497
12 | 25 | 25 | 1 | 34 | TRUE | accepted | FALSE | 7 | 429278 | 230 | TRUE | OK | -1 |  |  | 1.0589
12 | 25 | 25 | 1 | 34 | TRUE | accepted | FALSE | 8 | 429778 | 232 | TRUE | OK | -1 |  |  | 1.0682
12 | 25 | 25 | 1 | 34 | TRUE | accepted | FALSE | 9 | 430278 | 303 | TRUE | OK | -1 |  |  | 1.395
12 | 25 | 25 | 2 | 35 | TRUE | accepted | FALSE | 0 | 433071 | 227 | TRUE | OK | -1 |  |  | 1.0451
12 | 25 | 25 | 2 | 35 | TRUE | accepted | FALSE | 1 | 433571 | 233 | TRUE | OK | -1 |  |  | 1.0728
12 | 25 | 25 | 2 | 35 | TRUE | accepted | FALSE | 2 | 434071 | 228 | TRUE | OK | -1 |  |  | 1.0497
12 | 25 | 25 | 2 | 35 | TRUE | accepted | FALSE | 3 | 434571 | 228 | TRUE | OK | -1 |  |  | 1.0497
12 | 25 | 25 | 2 | 35 | TRUE | accepted | FALSE | 4 | 435072 | 227 | TRUE | OK | -1 |  |  | 1.0451
12 | 25 | 25 | 2 | 35 | TRUE | accepted | FALSE | 5 | 435572 | 233 | TRUE | OK | -1 |  |  | 1.0728
12 | 25 | 25 | 2 | 35 | TRUE | accepted | FALSE | 6 | 436072 | 227 | TRUE | OK | -1 |  |  | 1.0451
12 | 25 | 25 | 2 | 35 | TRUE | accepted | FALSE | 7 | 436572 | 229 | TRUE | OK | -1 |  |  | 1.0543
12 | 25 | 25 | 2 | 35 | TRUE | accepted | FALSE | 8 | 437072 | 227 | TRUE | OK | -1 |  |  | 1.0451
12 | 25 | 25 | 2 | 35 | TRUE | accepted | FALSE | 9 | 437572 | 235 | TRUE | OK | -1 |  |  | 1.082
12 | 25 | 25 | 3 | 36 | TRUE | accepted | FALSE | 0 | 442087 | 236 | TRUE | OK | -1 |  |  | 1.0866
12 | 25 | 25 | 3 | 36 | TRUE | accepted | FALSE | 1 | 442587 | 228 | TRUE | OK | -1 |  |  | 1.0497
12 | 25 | 25 | 3 | 36 | TRUE | accepted | FALSE | 2 | 443087 | 229 | TRUE | OK | -1 |  |  | 1.0543
12 | 25 | 25 | 3 | 36 | TRUE | accepted | FALSE | 3 | 443587 | 227 | TRUE | OK | -1 |  |  | 1.0451
12 | 25 | 25 | 3 | 36 | TRUE | accepted | FALSE | 4 | 444087 | 242 | TRUE | OK | -1 |  |  | 1.1142
12 | 25 | 25 | 3 | 36 | TRUE | accepted | FALSE | 5 | 444587 | 228 | TRUE | OK | -1 |  |  | 1.0497
12 | 25 | 25 | 3 | 36 | TRUE | accepted | FALSE | 6 | 445087 | 229 | TRUE | OK | -1 |  |  | 1.0543
12 | 25 | 25 | 3 | 36 | TRUE | accepted | FALSE | 7 | 445587 | 229 | TRUE | OK | -1 |  |  | 1.0543
12 | 25 | 25 | 3 | 36 | TRUE | accepted | FALSE | 8 | 446087 | 314 | TRUE | OK | -1 |  |  | 1.4457
12 | 25 | 25 | 3 | 36 | TRUE | accepted | FALSE | 9 | 446587 | 228 | TRUE | OK | -1 |  |  | 1.0497
13 | 20 | 20 | 1 | 37 | TRUE | accepted | FALSE | 0 | 463964 | 263 | TRUE | OK | -1 |  |  | 1.2109
13 | 20 | 20 | 1 | 37 | TRUE | accepted | FALSE | 1 | 464464 | 264 | TRUE | OK | -1 |  |  | 1.2155
13 | 20 | 20 | 1 | 37 | TRUE | accepted | FALSE | 2 | 464964 | 275 | TRUE | OK | -1 |  |  | 1.2661
13 | 20 | 20 | 1 | 37 | TRUE | accepted | FALSE | 3 | 465464 | 261 | TRUE | OK | -1 |  |  | 1.2017
13 | 20 | 20 | 1 | 37 | TRUE | accepted | FALSE | 4 | 465964 | 263 | TRUE | OK | -1 |  |  | 1.2109
13 | 20 | 20 | 1 | 37 | TRUE | accepted | FALSE | 5 | 466464 | 267 | TRUE | OK | -1 |  |  | 1.2293
13 | 20 | 20 | 1 | 37 | TRUE | accepted | FALSE | 6 | 466964 | 343 | TRUE | OK | -1 |  |  | 1.5792
13 | 20 | 20 | 1 | 37 | TRUE | accepted | FALSE | 7 | 467464 | 262 | TRUE | OK | -1 |  |  | 1.2063
13 | 20 | 20 | 1 | 37 | TRUE | accepted | FALSE | 8 | 467964 | 265 | TRUE | OK | -1 |  |  | 1.2201
13 | 20 | 20 | 1 | 37 | TRUE | accepted | FALSE | 9 | 468464 | 270 | TRUE | OK | -1 |  |  | 1.2431
13 | 20 | 20 | 2 | 38 | TRUE | accepted | FALSE | 0 | 471159 | 265 | TRUE | OK | -1 |  |  | 1.2201
13 | 20 | 20 | 2 | 38 | TRUE | accepted | FALSE | 1 | 471659 | 278 | TRUE | OK | -1 |  |  | 1.2799
13 | 20 | 20 | 2 | 38 | TRUE | accepted | FALSE | 2 | 472159 | 261 | TRUE | OK | -1 |  |  | 1.2017
13 | 20 | 20 | 2 | 38 | TRUE | accepted | FALSE | 3 | 472659 | 263 | TRUE | OK | -1 |  |  | 1.2109
13 | 20 | 20 | 2 | 38 | TRUE | accepted | FALSE | 4 | 473159 | 267 | TRUE | OK | -1 |  |  | 1.2293
13 | 20 | 20 | 2 | 38 | TRUE | accepted | FALSE | 5 | 473659 | 333 | TRUE | OK | -1 |  |  | 1.5332
13 | 20 | 20 | 2 | 38 | TRUE | accepted | FALSE | 6 | 474159 | 262 | TRUE | OK | -1 |  |  | 1.2063
13 | 20 | 20 | 2 | 38 | TRUE | accepted | FALSE | 7 | 474659 | 264 | TRUE | OK | -1 |  |  | 1.2155
13 | 20 | 20 | 2 | 38 | TRUE | accepted | FALSE | 8 | 475159 | 271 | TRUE | OK | -1 |  |  | 1.2477
13 | 20 | 20 | 2 | 38 | TRUE | accepted | FALSE | 9 | 475659 | 256 | TRUE | OK | -1 |  |  | 1.1787
13 | 20 | 20 | 3 | 39 | TRUE | accepted | FALSE | 0 | 477818 | 263 | TRUE | OK | -1 |  |  | 1.2109
13 | 20 | 20 | 3 | 39 | TRUE | accepted | FALSE | 1 | 478318 | 267 | TRUE | OK | -1 |  |  | 1.2293
13 | 20 | 20 | 3 | 39 | TRUE | accepted | FALSE | 2 | 478818 | 242 | TRUE | OK | -1 |  |  | 1.1142
13 | 20 | 20 | 3 | 39 | TRUE | accepted | FALSE | 3 | 479318 | 262 | TRUE | OK | -1 |  |  | 1.2063
13 | 20 | 20 | 3 | 39 | TRUE | accepted | FALSE | 4 | 479818 | 264 | TRUE | OK | -1 |  |  | 1.2155
13 | 20 | 20 | 3 | 39 | TRUE | accepted | FALSE | 5 | 480318 | 276 | TRUE | OK | -1 |  |  | 1.2707
13 | 20 | 20 | 3 | 39 | TRUE | accepted | FALSE | 6 | 480818 | 261 | TRUE | OK | -1 |  |  | 1.2017
13 | 20 | 20 | 3 | 39 | TRUE | accepted | FALSE | 7 | 481318 | 263 | TRUE | OK | -1 |  |  | 1.2109
13 | 20 | 20 | 3 | 39 | TRUE | accepted | FALSE | 8 | 481818 | 267 | TRUE | OK | -1 |  |  | 1.2293
13 | 20 | 20 | 3 | 39 | TRUE | accepted | FALSE | 9 | 482318 | 335 | TRUE | OK | -1 |  |  | 1.5424
14 | 15 | 15 | 1 | 40 | TRUE | accepted | FALSE | 0 | 499089 | 330 | TRUE | OK | -1 |  |  | 1.5194
14 | 15 | 15 | 1 | 40 | TRUE | accepted | FALSE | 1 | 499589 | 327 | TRUE | OK | -1 |  |  | 1.5055
14 | 15 | 15 | 1 | 40 | TRUE | accepted | FALSE | 2 | 500089 | 314 | TRUE | OK | -1 |  |  | 1.4457
14 | 15 | 15 | 1 | 40 | TRUE | accepted | FALSE | 3 | 500589 | 327 | TRUE | OK | -1 |  |  | 1.5055
14 | 15 | 15 | 1 | 40 | TRUE | accepted | FALSE | 4 | 501089 | 332 | TRUE | OK | -1 |  |  | 1.5286
14 | 15 | 15 | 1 | 40 | TRUE | accepted | FALSE | 5 | 501590 | 327 | TRUE | OK | -1 |  |  | 1.5055
14 | 15 | 15 | 1 | 40 | TRUE | accepted | FALSE | 6 | 502090 | 320 | TRUE | OK | -1 |  |  | 1.4733
14 | 15 | 15 | 1 | 40 | TRUE | accepted | FALSE | 7 | 502590 | 327 | TRUE | OK | -1 |  |  | 1.5055
14 | 15 | 15 | 1 | 40 | TRUE | accepted | FALSE | 8 | 503090 | 333 | TRUE | OK | -1 |  |  | 1.5332
14 | 15 | 15 | 1 | 40 | TRUE | accepted | FALSE | 9 | 503590 | 327 | TRUE | OK | -1 |  |  | 1.5055
14 | 15 | 15 | 2 | 41 | TRUE | accepted | FALSE | 0 | 506332 | 331 | TRUE | OK | -1 |  |  | 1.524
14 | 15 | 15 | 2 | 41 | TRUE | accepted | FALSE | 1 | 506832 | 327 | TRUE | OK | -1 |  |  | 1.5055
14 | 15 | 15 | 2 | 41 | TRUE | accepted | FALSE | 2 | 507332 | 328 | TRUE | OK | -1 |  |  | 1.5101
14 | 15 | 15 | 2 | 41 | TRUE | accepted | FALSE | 3 | 507832 | 327 | TRUE | OK | -1 |  |  | 1.5055
14 | 15 | 15 | 2 | 41 | TRUE | accepted | FALSE | 4 | 508332 | 332 | TRUE | OK | -1 |  |  | 1.5286
14 | 15 | 15 | 2 | 41 | TRUE | accepted | FALSE | 5 | 508832 | 327 | TRUE | OK | -1 |  |  | 1.5055
14 | 15 | 15 | 2 | 41 | TRUE | accepted | FALSE | 6 | 509332 | 328 | TRUE | OK | -1 |  |  | 1.5101
14 | 15 | 15 | 2 | 41 | TRUE | accepted | FALSE | 7 | 509832 | 327 | TRUE | OK | -1 |  |  | 1.5055
14 | 15 | 15 | 2 | 41 | TRUE | accepted | FALSE | 8 | 510332 | 335 | TRUE | OK | -1 |  |  | 1.5424
14 | 15 | 15 | 2 | 41 | TRUE | accepted | FALSE | 9 | 510832 | 327 | TRUE | OK | -1 |  |  | 1.5055
14 | 15 | 15 | 3 | 42 | TRUE | accepted | FALSE | 0 | 514451 | 320 | TRUE | OK | -1 |  |  | 1.4733
14 | 15 | 15 | 3 | 42 | TRUE | accepted | FALSE | 1 | 514951 | 327 | TRUE | OK | -1 |  |  | 1.5055
14 | 15 | 15 | 3 | 42 | TRUE | accepted | FALSE | 2 | 515451 | 331 | TRUE | OK | -1 |  |  | 1.524
14 | 15 | 15 | 3 | 42 | TRUE | accepted | FALSE | 3 | 515951 | 327 | TRUE | OK | -1 |  |  | 1.5055
14 | 15 | 15 | 3 | 42 | TRUE | accepted | FALSE | 4 | 516451 | 328 | TRUE | OK | -1 |  |  | 1.5101
14 | 15 | 15 | 3 | 42 | TRUE | accepted | FALSE | 5 | 516951 | 327 | TRUE | OK | -1 |  |  | 1.5055
14 | 15 | 15 | 3 | 42 | TRUE | accepted | FALSE | 6 | 517451 | 332 | TRUE | OK | -1 |  |  | 1.5286
14 | 15 | 15 | 3 | 42 | TRUE | accepted | FALSE | 7 | 517951 | 327 | TRUE | OK | -1 |  |  | 1.5055
14 | 15 | 15 | 3 | 42 | TRUE | accepted | FALSE | 8 | 518451 | 328 | TRUE | OK | -1 |  |  | 1.5101
14 | 15 | 15 | 3 | 42 | TRUE | accepted | FALSE | 9 | 518951 | 326 | TRUE | OK | -1 |  |  | 1.5009
15 | 10 | 10 | 1 | 43 | TRUE | accepted | FALSE | 0 | 539307 | 434 | TRUE | OK | -1 |  |  | 1.9982
15 | 10 | 10 | 1 | 43 | TRUE | accepted | FALSE | 1 | 539807 | 440 | TRUE | OK | -1 |  |  | 2.0258
15 | 10 | 10 | 1 | 43 | TRUE | accepted | FALSE | 2 | 540307 | 433 | TRUE | OK | -1 |  |  | 1.9936
15 | 10 | 10 | 1 | 43 | TRUE | accepted | FALSE | 3 | 540807 | 435 | TRUE | OK | -1 |  |  | 2.0028
15 | 10 | 10 | 1 | 43 | TRUE | accepted | FALSE | 4 | 541307 | 434 | TRUE | OK | -1 |  |  | 1.9982
15 | 10 | 10 | 1 | 43 | TRUE | accepted | FALSE | 5 | 541807 | 451 | TRUE | OK | -1 |  |  | 2.0765
15 | 10 | 10 | 1 | 43 | TRUE | accepted | FALSE | 6 | 542307 | 437 | TRUE | OK | -1 |  |  | 2.012
15 | 10 | 10 | 1 | 43 | TRUE | accepted | FALSE | 7 | 542807 | 437 | TRUE | OK | -1 |  |  | 2.012
15 | 10 | 10 | 1 | 43 | TRUE | accepted | FALSE | 8 | 543307 | 434 | TRUE | OK | -1 |  |  | 1.9982
15 | 10 | 10 | 1 | 43 | TRUE | accepted | FALSE | 9 | 543807 | 504 | TRUE | OK | -1 |  |  | 2.3205
15 | 10 | 10 | 2 | 44 | TRUE | accepted | FALSE | 0 | 548403 | 437 | TRUE | OK | -1 |  |  | 2.012
15 | 10 | 10 | 2 | 44 | TRUE | accepted | FALSE | 1 | 548903 | 443 | TRUE | OK | -1 |  |  | 2.0396
15 | 10 | 10 | 2 | 44 | TRUE | accepted | FALSE | 2 | 549403 | 503 | TRUE | OK | -1 |  |  | 2.3159
15 | 10 | 10 | 2 | 44 | TRUE | accepted | FALSE | 3 | 549903 | 435 | TRUE | OK | -1 |  |  | 2.0028
15 | 10 | 10 | 2 | 44 | TRUE | accepted | FALSE | 4 | 550403 | 439 | TRUE | OK | -1 |  |  | 2.0212
15 | 10 | 10 | 2 | 44 | TRUE | accepted | FALSE | 5 | 550903 | 456 | TRUE | OK | -1 |  |  | 2.0995
15 | 10 | 10 | 2 | 44 | TRUE | accepted | FALSE | 6 | 551403 | 434 | TRUE | OK | -1 |  |  | 1.9982
15 | 10 | 10 | 2 | 44 | TRUE | accepted | FALSE | 7 | 551903 | 438 | TRUE | OK | -1 |  |  | 2.0166
15 | 10 | 10 | 2 | 44 | TRUE | accepted | FALSE | 8 | 552403 | 445 | TRUE | OK | -1 |  |  | 2.0488
15 | 10 | 10 | 2 | 44 | TRUE | accepted | FALSE | 9 | 552903 | 430 | TRUE | OK | -1 |  |  | 1.9798
15 | 10 | 10 | 3 | 45 | TRUE | accepted | FALSE | 0 | 556396 | 435 | TRUE | OK | -1 |  |  | 2.0028
15 | 10 | 10 | 3 | 45 | TRUE | accepted | FALSE | 1 | 556896 | 440 | TRUE | OK | -1 |  |  | 2.0258
15 | 10 | 10 | 3 | 45 | TRUE | accepted | FALSE | 2 | 557396 | 463 | TRUE | OK | -1 |  |  | 2.1317
15 | 10 | 10 | 3 | 45 | TRUE | accepted | FALSE | 3 | 557896 | 435 | TRUE | OK | -1 |  |  | 2.0028
15 | 10 | 10 | 3 | 45 | TRUE | accepted | FALSE | 4 | 558396 | 438 | TRUE | OK | -1 |  |  | 2.0166
15 | 10 | 10 | 3 | 45 | TRUE | accepted | FALSE | 5 | 558896 | 447 | TRUE | OK | -1 |  |  | 2.058
15 | 10 | 10 | 3 | 45 | TRUE | accepted | FALSE | 6 | 559396 | 429 | TRUE | OK | -1 |  |  | 1.9752
15 | 10 | 10 | 3 | 45 | TRUE | accepted | FALSE | 7 | 559896 | 436 | TRUE | OK | -1 |  |  | 2.0074
15 | 10 | 10 | 3 | 45 | TRUE | accepted | FALSE | 8 | 560396 | 447 | TRUE | OK | -1 |  |  | 2.058
15 | 10 | 10 | 3 | 45 | TRUE | accepted | FALSE | 9 | 560896 | 521 | TRUE | OK | -1 |  |  | 2.3987

## Captures
point_index | point_id | target_cm | actual_cm | repeat | capture_id | decision | included | complete | samples | valid_samples | requested_samples | period_ms | settle_ms | raw_min | raw_mean | raw_max | raw_std | raw_cm_min | raw_cm_mean | raw_cm_max | raw_cm_std | calibrated_cm_min | calibrated_cm_mean | calibrated_cm_max | calibrated_cm_std | voltage_min | voltage_mean | voltage_max | voltage_std
1 | 26563bbdc4e3448c8814ec2b7c6b7e1b | 80 | 80 | 1 | 1 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 159 | 174.1 | 239 | 30.2488 | [8 empty] | 0.73205 | 0.80157 | 1.1004 | 0.13927
1 | 26563bbdc4e3448c8814ec2b7c6b7e1b | 80 | 80 | 2 | 2 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 158 | 171.8 | 223 | 23.3895 | [8 empty] | 0.72745 | 0.79099 | 1.0267 | 0.10769
1 | 26563bbdc4e3448c8814ec2b7c6b7e1b | 80 | 80 | 3 | 3 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 157 | 172.9 | 243 | 31.15 | [8 empty] | 0.72284 | 0.79605 | 1.1188 | 0.14342
2 | cfbb6dd1614e495393df592379491d8d | 75 | 75 | 1 | 4 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 154 | 170.8 | 239 | 31.9819 | [8 empty] | 0.70903 | 0.78638 | 1.1004 | 0.14725
2 | cfbb6dd1614e495393df592379491d8d | 75 | 75 | 2 | 5 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 153 | 163.8 | 239 | 26.645 | [8 empty] | 0.70443 | 0.75415 | 1.1004 | 0.12268
2 | cfbb6dd1614e495393df592379491d8d | 75 | 75 | 3 | 6 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 128 | 159.2 | 212 | 20.7139 | [8 empty] | 0.58933 | 0.73297 | 0.97607 | 0.095369
3 | 1606dc170809456b84123f664923462c | 70 | 70 | 1 | 7 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 153 | 155.1 | 161 | 2.7264 | [8 empty] | 0.70443 | 0.7141 | 0.74126 | 0.012553
3 | 1606dc170809456b84123f664923462c | 70 | 70 | 2 | 8 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 152 | 154.1 | 157 | 1.7288 | [8 empty] | 0.69982 | 0.70949 | 0.72284 | 0.0079598
3 | 1606dc170809456b84123f664923462c | 70 | 70 | 3 | 9 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 154 | 164.4 | 204 | 18.0197 | [8 empty] | 0.70903 | 0.75691 | 0.93924 | 0.082965
4 | 9b00a9c312e247f988b051b23d32784f | 65 | 65 | 1 | 10 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 128 | 153.7 | 163 | 9.7417 | [8 empty] | 0.58933 | 0.70765 | 0.75047 | 0.044852
4 | 9b00a9c312e247f988b051b23d32784f | 65 | 65 | 2 | 11 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 128 | 153.9 | 163 | 9.6315 | [8 empty] | 0.58933 | 0.70857 | 0.75047 | 0.044345
4 | 9b00a9c312e247f988b051b23d32784f | 65 | 65 | 3 | 12 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 153 | 156.6 | 167 | 4.5995 | [8 empty] | 0.70443 | 0.721 | 0.76889 | 0.021177
5 | 95ee1ebedaca4daa9f67a41862703694 | 60 | 60 | 1 | 13 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 136 | 162 | 215 | 20.5589 | [8 empty] | 0.62616 | 0.74587 | 0.98988 | 0.094655
5 | 95ee1ebedaca4daa9f67a41862703694 | 60 | 60 | 2 | 14 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 153 | 155.9 | 163 | 3.2813 | [8 empty] | 0.70443 | 0.71778 | 0.75047 | 0.015107
5 | 95ee1ebedaca4daa9f67a41862703694 | 60 | 60 | 3 | 15 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 154 | 160.2 | 184 | 9.3071 | [8 empty] | 0.70903 | 0.73758 | 0.84716 | 0.042851
6 | 641e589e2cc640e587ae798dc52691e0 | 55 | 55 | 1 | 16 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 154 | 167.9 | 235 | 26.7683 | [8 empty] | 0.70903 | 0.77303 | 1.082 | 0.12324
6 | 641e589e2cc640e587ae798dc52691e0 | 55 | 55 | 2 | 17 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 153 | 157.1 | 180 | 8.2253 | [8 empty] | 0.70443 | 0.7233 | 0.82874 | 0.03787
6 | 641e589e2cc640e587ae798dc52691e0 | 55 | 55 | 3 | 18 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 128 | 160.9 | 237 | 28.3096 | [8 empty] | 0.58933 | 0.7408 | 1.0912 | 0.13034
7 | 03feb3a243134fb8b3db466c60990d5e | 50 | 50 | 1 | 19 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 155 | 170.3 | 217 | 23.1519 | [8 empty] | 0.71364 | 0.78408 | 0.99909 | 0.10659
7 | 03feb3a243134fb8b3db466c60990d5e | 50 | 50 | 2 | 20 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 136 | 164 | 219 | 20.9603 | [8 empty] | 0.62616 | 0.75507 | 1.0083 | 0.096503
7 | 03feb3a243134fb8b3db466c60990d5e | 50 | 50 | 3 | 21 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 156 | 162.6 | 200 | 13.2682 | [8 empty] | 0.71824 | 0.74863 | 0.92082 | 0.061088
8 | d6278c3d44e44cb78f65b13fbf606bd3 | 45 | 45 | 1 | 22 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 158 | 170.8 | 247 | 26.9353 | [8 empty] | 0.72745 | 0.78638 | 1.1372 | 0.12401
8 | d6278c3d44e44cb78f65b13fbf606bd3 | 45 | 45 | 2 | 23 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 162 | 168.8 | 212 | 15.5335 | [8 empty] | 0.74587 | 0.77717 | 0.97607 | 0.071518
8 | d6278c3d44e44cb78f65b13fbf606bd3 | 45 | 45 | 3 | 24 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 136 | 170.2 | 246 | 28.2638 | [8 empty] | 0.62616 | 0.78362 | 1.1326 | 0.13013
9 | c6592ba1f3834131b3c28687e5c9f64f | 40 | 40 | 1 | 25 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 144 | 175.4 | 239 | 24.0564 | [8 empty] | 0.66299 | 0.80756 | 1.1004 | 0.11076
9 | c6592ba1f3834131b3c28687e5c9f64f | 40 | 40 | 2 | 26 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 160 | 169.7 | 174 | 3.8312 | [8 empty] | 0.73666 | 0.78132 | 0.80111 | 0.017639
9 | c6592ba1f3834131b3c28687e5c9f64f | 40 | 40 | 3 | 27 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 166 | 170.9 | 177 | 3.1429 | [8 empty] | 0.76428 | 0.78684 | 0.81493 | 0.01447
10 | 92062813783144dcb89ac860112e9456 | 35 | 35 | 1 | 28 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 183 | 197 | 255 | 25.1661 | [8 empty] | 0.84255 | 0.90701 | 1.174 | 0.11587
10 | 92062813783144dcb89ac860112e9456 | 35 | 35 | 2 | 29 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 183 | 197.6 | 271 | 27.6011 | [8 empty] | 0.84255 | 0.90977 | 1.2477 | 0.12708
10 | 92062813783144dcb89ac860112e9456 | 35 | 35 | 3 | 30 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 182 | 184.2 | 191 | 2.7406 | [8 empty] | 0.83795 | 0.84808 | 0.87938 | 0.012618
11 | 06d149f983704028814f03faa3384fcd | 30 | 30 | 1 | 31 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 176 | 205.6 | 256 | 19.8673 | [8 empty] | 0.81032 | 0.9466 | 1.1787 | 0.091471
11 | 06d149f983704028814f03faa3384fcd | 30 | 30 | 2 | 32 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 199 | 201.3 | 204 | 1.767 | [8 empty] | 0.91622 | 0.92681 | 0.93924 | 0.0081354
11 | 06d149f983704028814f03faa3384fcd | 30 | 30 | 3 | 33 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 192 | 202.8 | 215 | 6.68 | [8 empty] | 0.88399 | 0.93371 | 0.98988 | 0.030755
12 | 26724f022ada413288ddbc9d06e8b149 | 25 | 25 | 1 | 34 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 228 | 241.3 | 303 | 23.833 | [8 empty] | 1.0497 | 1.111 | 1.395 | 0.10973
12 | 26724f022ada413288ddbc9d06e8b149 | 25 | 25 | 2 | 35 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 227 | 229.4 | 235 | 3.0623 | [8 empty] | 1.0451 | 1.0562 | 1.082 | 0.014099
12 | 26724f022ada413288ddbc9d06e8b149 | 25 | 25 | 3 | 36 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 227 | 239 | 314 | 26.7706 | [8 empty] | 1.0451 | 1.1004 | 1.4457 | 0.12325
13 | 60021723d7a84a1cbd820e960d2564b9 | 20 | 20 | 1 | 37 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 261 | 273.3 | 343 | 24.8509 | [8 empty] | 1.2017 | 1.2583 | 1.5792 | 0.11442
13 | 60021723d7a84a1cbd820e960d2564b9 | 20 | 20 | 2 | 38 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 256 | 272 | 333 | 22.2461 | [8 empty] | 1.1787 | 1.2523 | 1.5332 | 0.10242
13 | 60021723d7a84a1cbd820e960d2564b9 | 20 | 20 | 3 | 39 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 242 | 270 | 335 | 24.363 | [8 empty] | 1.1142 | 1.2431 | 1.5424 | 0.11217
14 | 575f5ebbcc6441d086351e6dda0368d1 | 15 | 15 | 1 | 40 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 314 | 326.4 | 333 | 5.6214 | [8 empty] | 1.4457 | 1.5028 | 1.5332 | 0.025881
14 | 575f5ebbcc6441d086351e6dda0368d1 | 15 | 15 | 2 | 41 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 327 | 328.9 | 335 | 2.8067 | [8 empty] | 1.5055 | 1.5143 | 1.5424 | 0.012923
14 | 575f5ebbcc6441d086351e6dda0368d1 | 15 | 15 | 3 | 42 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 320 | 327.3 | 332 | 3.199 | [8 empty] | 1.4733 | 1.5069 | 1.5286 | 0.014728
15 | 4621bf4a57464b0685da5f5f3580bb35 | 10 | 10 | 1 | 43 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 433 | 443.9 | 504 | 21.7687 | [8 empty] | 1.9936 | 2.0438 | 2.3205 | 0.10023
15 | 4621bf4a57464b0685da5f5f3580bb35 | 10 | 10 | 2 | 44 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 430 | 446 | 503 | 21.276 | [8 empty] | 1.9798 | 2.0534 | 2.3159 | 0.097957
15 | 4621bf4a57464b0685da5f5f3580bb35 | 10 | 10 | 3 | 45 | accepted | TRUE | TRUE | 10 | 10 | 10 | 500 | 500 | 429 | 449.1 | 521 | 26.9792 | [8 empty] | 1.9752 | 2.0677 | 2.3987 | 0.12422

## Summary
point_index | target_cm | actual_cm | completed | accepted_captures | usable_captures | valid_samples | total_samples | within_nominal_range | within_us_calibration_range | three_usable_repeats | raw_min | raw_mean | raw_max | raw_std | raw_cm_min | raw_cm_mean | raw_cm_max | raw_cm_std | calibrated_cm_min | calibrated_cm_mean | calibrated_cm_max | calibrated_cm_std | voltage_min | voltage_mean | voltage_max | voltage_std | error_cm
15 | 10 | 10 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 443.9 | 446.3333 | 449.1 | 2.616 | [8 empty] | 2.0438 | 2.055 | 2.0677 | 0.012044
14 | 15 | 15 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 326.4 | 327.5333 | 328.9 | 1.2662 | [8 empty] | 1.5028 | 1.508 | 1.5143 | 0.0058298
13 | 20 | 20 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 270 | 271.7667 | 273.3 | 1.6623 | [8 empty] | 1.2431 | 1.2512 | 1.2583 | 0.0076535
12 | 25 | 25 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 229.4 | 236.5667 | 241.3 | 6.3122 | [8 empty] | 1.0562 | 1.0892 | 1.111 | 0.029062
11 | 30 | 30 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 201.3 | 203.2333 | 205.6 | 2.1825 | [8 empty] | 0.92681 | 0.93571 | 0.9466 | 0.010048
10 | 35 | 35 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 184.2 | 192.9333 | 197.6 | 7.5692 | [8 empty] | 0.84808 | 0.88829 | 0.90977 | 0.03485
9 | 40 | 40 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 169.7 | 172 | 175.4 | 3.005 | [8 empty] | 0.78132 | 0.79191 | 0.80756 | 0.013835
8 | 45 | 45 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 168.8 | 169.9333 | 170.8 | 1.0263 | [8 empty] | 0.77717 | 0.78239 | 0.78638 | 0.0047253
7 | 50 | 50 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 162.6 | 165.6333 | 170.3 | 4.1016 | [8 empty] | 0.74863 | 0.76259 | 0.78408 | 0.018884
6 | 55 | 55 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 157.1 | 161.9667 | 167.9 | 5.4784 | [8 empty] | 0.7233 | 0.74571 | 0.77303 | 0.025223
5 | 60 | 60 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 155.9 | 159.3667 | 162 | 3.1342 | [8 empty] | 0.71778 | 0.73374 | 0.74587 | 0.01443
4 | 65 | 65 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 153.7 | 154.7333 | 156.6 | 1.6197 | [8 empty] | 0.70765 | 0.71241 | 0.721 | 0.0074571
3 | 70 | 70 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 154.1 | 157.8667 | 164.4 | 5.6801 | [8 empty] | 0.70949 | 0.72683 | 0.75691 | 0.026152
2 | 75 | 75 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 159.2 | 164.6 | 170.8 | 5.8412 | [8 empty] | 0.73297 | 0.75784 | 0.78638 | 0.026894
1 | 80 | 80 | TRUE | 3 | 3 | 30 | 30 | TRUE |  | TRUE | 171.8 | 172.9333 | 174.1 | 1.1504 | [8 empty] | 0.79099 | 0.7962 | 0.80157 | 0.0052964